ASSESSMENT OF THE POSSIBILITIES OF BUILDING INTEGRATED PV SYSTEMS OF 1 kW ELECTRICITY GENERATION IN BANJA LUKA
T. Pavlović1, D. Milosavljević1, I. Radonjić1, L. Pantić1 and D. Pirsl2
1University of Niš, Faculty of Sciences and Mathematics, Department of Physics, Višegradska 33, 18000 

2Faculty of Sport and Physical Education, University of Nis, Carnojevica 10a, 18000 Nis, Republic of Serbia

Sažetak: U radu su date analiza i procena mogućnosti primene PV sistema od 1 kW integrisanih u objektima (BIPV sistema) u Banjoj Luci. Posebna pažnja je posvećena analizi sunčevog zračenja koje pada na 1m2 površine postavljene pod horizontalnim, optimalnim i vertikalnim uglom u odnosu na horizontalnu ravan i količini električne energije koja se u toku godine dobija pomoću BIPV sistema od 1 kW sa solarnim modulima od monokristalnog silicijuma i tankoslojnim CdTe i CIS solarnim modulima postavljenim u horizontalnom, optimalnom i vertikalnom položaju u odnosu na horizontalnu ravan. Za izračunavanje energetske efikasnosti BIPV sistema korišćen je PVGIS program.

Ključne reči: solarna energija; BIPV sistemi; PVGIS.
Abstract: The paper focuses on the analysis and assessment of the possibilities of building integrated PV (BIPV) systems of 1 kW electricity generation in Banja Luka in the Republic of Srpska. Average monthly sum of global solar irradiation per square meter received by the horizontal, optimal and vertical inclinated and south-oriented solar modules of the BIPV system of 1kW and total for year electricity production from the BIPV system of 1 kW with horizontal, optimal and vertical inclinated and south-oriented solar modules of different materials for Banja Luka, obtained by PVGIS are given. In addition, comparison of total for year electricity production of BIPV system of 1kW with horizontal, optimal and vertical inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka is given. The research estimated the proportion of BIPV systems power generation according to different types of PV modules and installation methods. The data could serve as a useful reference for the application of BIPV systems in buildings.
Key words: solar energy, solar cells, building integrated PV systems, PVGIS
1. INTRODUCTION
Energy, which is the main agenda of our world, is crucially important for the humanity. Solar energy can assume a vital place in the energy system of a given country because it represents a renewable and inexhaustable source of energy. Sun energy is from the point of the environment, clean energy and the energy technologies in exploitation do not contaminate the environment. Solar energy is obviously environmentally advantageous in comparison to any other energy source, it is the milestone of any serious sustainable development program. It does not deplete natural resources, does not cause CO2 or other gaseous emission into air, nor does it generate liquid or solid waste products [1,2,3]. 
One of the most popular techniques of solar energy generation is the installation of photovoltaic (PV) systems using sunlight to generate electrical power. The electricity from photovoltaic cells can be used for a wide range of applications, from power supplies for small consumer products, to large power stations feeding electricity into the grid. The paper [2] states that the world photovoltaic industry has shown an average growth rate of 49,5% over the past 5 years. 
In order to enhance the sustainable development of the cities in Republic of Srpska electricity could be generated by means of BIPV system in hotels, health centers, and spas, private households, and other housing objects. The use of BIPV system would considerably enhance the increase of the energy indipendence, sustainable development appeal of the cities in Republic of Srpska. 

The paper emphasises the environmental importance of the use of PV systems for the electricity generation. Special attention is drawn to the BIPV systems on the residential and some other objects for electricity generation. This paper also gives estimations of the possibilities of building integrated PV systems of 1 kW electricity generation in Banja Luka using on-line PVGIS calculator. The data could serve as a useful reference for the application of BIPV systems in buildings in Banja Luka. The figures and table can serve as guidelines for the basic necessary data for solar radiation, electricity production and design of on grid BIPV systems in Banja Luka.

2. BUILDING INTEGRATED PV SYSTEM (BIPV SYSTEM)
In contemporary architecture solar cells are increasingly used as the roof and facade elements that embelish and at the same time generate the electrical energy for the given object and the net grid as well. Thus block of flats can be turned into small scale generators and distributers of the electrical energy, which is widely useful. Solar cells as the source of electrical energy are being increasingly used in buildings so as to maximally reduce the consumption of the electrical energy generated by power plants and also to reduce the greenhouse gas emission. They are also used in schools and in government objects for the education of the students population and the citizens to use the solar cells for the electricity generation. Contemporary architecture objects with the solar cells are energy independent and environment friendly [4], [5] and [6].
The PV system means a system by which the solar irradiation is converted into the electrical energy and is distributed to the direct and/or alternating current consumers. PV system can function independently of the electric power network (off grid) or it can be connected to it (on grid). Depending on the components that comprise it, off grid PV system can supply the consumers with DC current or AC current. Off grid PV system that gives consumers DC current is composed of solar cells, batteries and batteries charge controllers. Off grid PV system that provides consumers with AC current consists of solar cells, battery charge controllers, batteries and DC to AC inverter. On grid PV system consists of solar cells, inverter, monitoring system, distribution boxes, switches and related connections. On grid PV systems represent one of the ways to decentralize the electric power network grid. The electrical energy  is generated by these systems nearer to the locations in demand for the electricity and not only by thermo power plants, nuclear power plants or huge hydro power plants. Over time these systems will reduce the need to increase the capacity of the transmitting and distributive lines [7], [8], [9], [10] and [11].
The BIPV system (off grid or on grid BIPV system) means a PV system where solar modules are instaled on the object itself. Solar modules can be installed on the existing roof or the facade but they can directly substitute the roof or the facade of the object. Besides, solar modules can be used as shades in the objects as a protection from the sun radiation intake. To achieve the maximal energy efficiency solar modules are mostly inclined towards the south [4], [5] and [8].
The paper [9] claims that the advantage of integrated photovoltaics over more common non-integrated systems is that the initial cost can be offset by reducing normal construction costs of building materials and labor for parts of the building replaced by BIPV modules. These advantages make BIPV one of the fastest growing segments of the photovoltaic industry [12].
Schematic of some possible installation modes of the solar modules on the object is given in Figure 1.
[image: image1.png]Roof integrated semitransparent BIPV modules

BIPV modules integrated with the existing roof

Semitransparent BIPV modules integrated
into standard curtain wall

=W

e\

Spandrel BIPV modules

“'-\-s‘L;-Im

e ——
v

2 E —

-

o N

S
!

BIPV modules used as sun shading devices

N
- ‘Kl".“f“‘ p—

Curtain wall BIPV modules for ventilation

GRID
= || ==
(0] @
— ——
] 1 1
UTILITY METERING DC to AC

INVERTER

Schematic of some possible installation modes of the solar modules on the object





Figure 1. Schematic of some possible installation modes of the solar modules on the object [8]
PV systems mostly use solar modules made of monocrystalline and polycrystalline silicon, and modules made of thin film materials such as amorphous silicon, CdTe and Copper-Indium-Diselenide (CIS, CuInSe2). Efficiency of the commercial monocrystalline silicon solar cells is 15%, of polycrystalline silicon is around 12%, of amorphous silicon is around 5% and from CdTe and CIS is around 8%. Monocrystalline and polycrystalline silicon solar modules are more suitable for the areas with predominantly direct sun radiation, while solar modules of thin film are more suitable for the areas with predominantly diffuse sun radiation [7], [9], [12], [13] and [14]. 
From architectural, technical and financial  aspects, BIPV systems have following  characteristics:

· Do not requre separate additional land and can be used in dense populated urban settlements,

· Do not requre additional infrastructural installations,

· Provide electricity during peak demand and in this manner lower the workload of the grid,

· Can completely or partially provide electricity for any given building,

· Can substitute conventional construction materials,

· Enhance new aesthetic abilities in innovative ways, 

· Can be connected to maintainance, control and  functioning of other installations and systems in the building, 

· Can reduce costs of electricity generating.

Since facade photovoltaic modules can  substitute conventional construction materials difference in price between the solar elements per unit of the surface and materials that they can substitute,  is of vital importance. Thus price per unit of the surface of facade photovoltaic system connected to the distribution grid, is almost the same as the price of high quality facade materials such as marble or decorative stone, in this way practical additional benefits of electricity generation by  photovoltaic systems  is that its price is almost null [8].

3. PVGIS

PVGIS (Photovoltaic Geographical Information System–PVGIS © European Communities, 2001–2008) is a part of the SOLAREC action aimed at contributing to the implementation of renewable energy in the EU. SOLAREC is an internally funded project on PV solar energy for the 7th Framework Programme. PVGIS provides data for the analysis of the technical, environmental and socio-economic factors of solar PV electricity generation in Europe and supports systems for EU countries solar energy decision-makings.

In practice PVGIS on-line calculator is used for the estimation of solar irradiation that falls on the horizontal plane or a plane tilted with some angle in relation to the horizontal plane, ratio of diffuse to global solar irradiation, optimal tilting angle of PV module and reflector of solar irradiation and temperature for any given location in Europe and North Africa. These data are very important when doing calculations of the profitability of BIPV systems.
PVGIS methodology comprises solar radiation data, PV module surface inclination and orientation and shadowing effect of the local terrain features (e.g. when the direct irradiation component is shadowed by the mountains), thus PVGIS represents immensely important PV implementation assessment tool that estimates dynamics of correlations between solar radiation, climate, atmosphere, the earth's surface and the PV technology used. Several fast web applications enable an easy estimation of the PV electricity generation potential for selected specific locations in Europe.
In this paper PVGIS- CMSAF is used. The PVGIS-CMSAF has been recently introduced which uses the new databases for the solar radiation data provided by the Climate Monitoring Satellite Application Facility (CMSAF) from the period 1998-2010 [7], [9],[13],[14],[15], [16], [17], [18], [19] and [20]. 
4. RESULTS AND DISCUSSION
In this section analyses of average monthly sum of global irradiation per square meter received by the modules of the BIPV system of 1 kW with horizontal, optimal and vertical inclinated and south-oriented solar modules and electricity generated by BIPV systems of 1kW with monocrystalline silicon, CdTe and CIS solar modules in Banja Luka, processed by the PVGIS-CMSAF, are given.
The paper [13] states that yearly average ratio of diffuse and global solar radiation in Banja Luka is around 0,49; the optimal angle of solar modules in BIPV systems is 33; that solar irradiation on optimally inclined plane yields annually 4000 Wh/m2 and is 13% higher than the solar irradiation on horizontal plane and is 52% higher than the solar irradiation on vertical plane.
Comparison of average monthly sum of global irradiation per square meter received by the modules of the BIPV system of 1 kW with horizontal, optimal and vertical inclinated and south-oriented solar modules obtained by PVGIS-CMSAF, for Banja Luka, is given in Figure 2.
[image: image2.jpg]200
o
=
0%
i o= LAY
W/
717 \
i 4 &
100 = —
— 3

2

N

N
1

o [

TN
e

o
)
——

Jen Febh Mser Apr My Jun Jul Aug Sep Oct Hov Dec

1 ——Horizontal inclinated and south-oriented solar modules
2 ——Optimal inclinated and south-oriented solar modules
3 —Vertical inclinated and south-oriented solar modules





Figure 2. Comparison of average monthly sum of global irradiation per square meter received by the modules of the BIPV system of 1 kW with horizontal, optimal and vertical inclinated and south-oriented solar modules obtained by PVGIS-CMSAF, for Banja Luka
Figure 2 shows that: 

1. Total for year sum of global irradiation per square meter received by the horizontal inclined and south-oriented BIPV systems of 1kW is 1290 kWh/m2,
2. Total for year sum of global irradiation per square meter received by the optimal inclined and south-oriented BIPV systems of 1kW is 1460 kWh/m2,
3. Total for year sum of global irradiation per square meter received by the vertical inclined and south-oriented BIPV systems of 1kW is 952 kWh/m2 and

4. In Banja Luka BIPV systems of 1kW with optimal inclined and south-oriented solar modules intake 13,2% more solar irradiation compared to BIPV system of 1kW with horizontal inclinated and south-oriented solar modules and 53,4% more solar irradiation compared to BIPV system of 1kW with vertical inclinated and south-oriented solar modules, and BIPV systems of 1kW with horizontal inclinated and south-oriented solar modules intake 35,5% more solar irradiation compared to BIPV system of 1 kW with vertical inclinated and south-oriented solar modules.

Average monthly electricity production from the BIPV system of 1kW with different materials of horizontal, optimal and vertical inclinated and south-oriented solar modules obtained by PVGIS-CMSAF, is given in Table 1.

Table 1. Average monthly electricity production from the BIPV system of 1 kW with different materials of horizontal, optimal and vertical inclinated and south-oriented solar modules obtained by PVGIS-CMSAF* [28]
	Month
	Average electricity production from the BIPV system of 1 kW with south-oriented monocrystalline silicon solar modules

(kWh)
	Average electricity production from the BIPV system  of 1 kW with south-oriented CdTe solar modules

(kWh)
	Average electricity production from the BIPV system of 1 kW with south-oriented CIS solar modules

(kWh)

	
	inclination of modules is 0°
	inclination of modules is 33°
	inclination of modules is 90°
	inclination of modules is 0°
	inclination of modules is 33°
	inclination of modules is 90°
	inclination of modules is 0°
	inclination of modules is 33°
	inclination of modules is 90°

	Jan
	27,8
	42,4
	41,3
	31,0
	46,0
	44,7
	28,1
	43,0
	42,1

	Feb
	41,1
	57,3
	52,4
	45,5
	62,5
	57,0
	41,4
	58,3
	53,2

	Mar
	74,0
	90,7
	71,5
	82,6
	100
	79,4
	75,0
	92,9
	72,7

	Apr
	96,7
	104
	64,7
	109
	116
	73,9
	98,9
	107
	65,8

	May
	119
	118
	58,3
	135
	133
	68,6
	123
	121
	58,7

	Jun
	125
	118
	51,0
	143
	135
	61,1
	129
	122
	50,9

	Jul
	134
	129
	57,7
	153
	148
	68,8
	138
	134
	57,6

	Aug
	117
	123
	68,5
	135
	140
	80,5
	121
	128
	69,3

	Sep
	80,4
	94,5
	68,7
	92,0
	107
	78,8
	81,9
	97,4
	70,0

	Oct
	57,0
	78,4
	69,7
	64,9
	87,8
	78,3
	57,5
	80,5
	71,3

	Nov
	32,7
	52,1
	51,7
	37,0
	57,5
	57,0
	32,8
	52,9
	52,7

	Dec
	24,3
	36,4
	35,0
	27,5
	39,6
	38,0
	24,7
	36,9
	35,7


*For the monocrystalline silicon estimates PVGIS has based the calculations on data from a number of different PV modules measured indoors. The data from all the modules have been combined and used to make an estimate for an "average" crystalline PV module. The results show that there is not a significant difference in the behaviour of monocrystalline and polycrystalline modules. The spread in values between modules have a standard deviation of 1,25%, meaning that with 90% probability the deviation of a given module from the estimated value will be less than 2%. The estimate is only valid for "classic" monocrystalline silicon and not for the new types of heterojunction modules that have come on the market in the last few years. For CIS modules the estimate is based on outdoor measurements performed in Ispra on three different modules from two different manufacturers. The modules were measured over a four months period during spring and summer. All the modules are rather new, produced in 2006/07, and should therefore be representative of the current state of the technology

Estimated losses in BIPV systems of 1 kW in Banja Luka obtained by PVGIS-CMSAF are given in Table 2.
Table 2. Estimated losses in BIPV systems of 1kW in Banja Luka obtained by PVGIS-CMSAF [28]
	Types of solar modules
	Estimated losses due to temperature (using local ambient temperature) on:

(%)
	Estimated loss due to angular reflectance

effects on solar modules:

(%)
	Other losses (cables, inverter etc.):

(%)
	Combined PV system

losses on:

(%)

	c-Si 

solar 

modules
	inclination of modules is 0° and orientation is 0°
	12,1
	3,8
	14
	27,3

	
	inclination of modules is 33° and orientation is 0°
	14,0
	2,7
	14
	28,1

	
	inclination of modules is 90° and orientation is 0°
	10,5
	5,1
	14
	27,0

	CdTe 

solar

 modules
	inclination of modules is 0° and orientation is 0°
	0,7
	3,8
	14
	17,8

	
	inclination of modules is  33° and orientation is 0°
	3,8
	2,7
	14
	19,5

	
	inclination of modules is 90° and orientation is 0°
	-1,1
	5,1
	14
	17,5

	CIS

 solar 

modules
	inclination of modules is 0° and orientation is 0°
	10,2
	3,8
	14
	25,7

	
	inclination of modules is  33° and orientation is 0°
	11,6
	2,7
	14
	26,0

	
	inclination of modules is 90° and orientation is 0°
	9,4
	5,1
	14
	26,0


**The estimated system losses are all the losses in the system, which cause the power actually delivered to the electricity grid to be lower than the power produced by the PV modules. There are several causes for this loss, such as losses in cables, power inverters, dirt (sometimes snow) on the modules and so on. PVGIS has given a default value of 14%. Due to a really high-efficiency inverter, default value of 14% may be reduce a little [28].
Comparison of average monthly electricity production of BIPV system of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka is shown in Figure 3.

[image: image3.jpg]kinh

1 —&—c Sj solzr modules
2 —4—CdTe sdar modJles

120 1
3 =*=CIS solar moddes
160
>y
Y i
e
sl
140 — B ~
y il K I ot A X,
,/ ™ S \\
120 e | 3¢
7 177
4
Z LY
1m0 7 \\
LY
S S
1, \\
@ -f N
Vd AN
Z N
Z \\\\
1)
19 i\\
77 N
= Y
20 e NS
_‘f’/ N
e
2
0
Jan Feb Mar Ape May Jun Jul Aug Sep Oct Now Dec





Figure 3. Comparison of average monthly electricity production of BIPV system of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka
Figure 3 shows that in Banja Luka total for year electricity production by the BIPV systems of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon is 930 kWh, with CdTe solar modules it is 1060 kWh and with CIS solar modules it is 951 kWh.
Comparison of average monthly electricity production of BIPV system of 1kW with optimal inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka is shown in Figure 4.

[image: image4.jpg]1 =fl=c. S solar moddes
2 == _dTe solar moddes

3 =+=CIS sclzr modues

| 1 1 et T 0 | AN N 1 0]
1 0001 | e— | 0 1 @ ONNTIN 00

I N N A N R S S\ . VN S E—
! 1 000l et 0 | 1 NN N O
[N A I N I S A V.U S
[ R o P77 ol I N I NN S R





Figure 4. Comparison of average monthly electricity production of BIPV system of 1kW with optimal inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka
Figure 4 shows that total for year electricity production by the BIPV systems of 1 kW with optimal inclinated and south-oriented solar modules of monocrystalline silicon is 1040 kWh, with CdTe solar modules it is 1170 kWh and with CIS solar modules it is 1070 kWh.
Comparison of average monthly electricity production of BIPV system of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka is shown in Figure 5.

[image: image5.jpg]1 == c.S5i sclar modules
2 == CdTe sclar modules

(N A A S S S S S 3 == ClS sclarmoddes

. 1 rr rr o 0l @ ez I 001 00O
! 1 A~ ' ! 1 1 | g Tty
! s o~ e N ]
(N N A WS U S S S Y
[ A U .. R A 4 I . N
I N A - . U R Y A U - are—— . . I
I A A " . S A Y — - —— S e, (VL Y B
I Y B S b . N LA ol R .V
I T P S N T . U oA " AN W .\ . ——
I B A ‘SN R - S . - A S S " . U





Figure 5. Comparison of average monthly electricity production of BIPV system of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka
Figure 5 shows that total for year electricity production by the BIPV systems of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon is 691 kWh, with CdTe solar modules it is 786 kWh and with CIS solar modules it is 700 kWh.

Comparison of total for year electricity production of BIPV system of 1kW with horizontal, optimal and vertical inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka is shown in figure 6.
[image: image6.jpg]1200

1000

800

600

400

200

F
’
2
o
Z
Z
Z
ﬁ
Z
Z
;

c-Si solar modules

j

»
)

-
:
:

CdTe solar modules

CIS solar modules

1@ Horizontal inclinated and
south-oriented solar modules

: @ Optimal inclinated and
south-oriented solar modules

saVertical inclinated and
south-oriented solar modules




Figure 6. Comparison of total for year electricity production of BIPV system of 1kW with horizontal, optimal and vertical inclinated and south-oriented solar modules of monocrystalline silicon, CdTe and CIS in Banja Luka

Figure 6 shows that:
1. In Banja Luka by means of BIPV system of 1kW with horizontal inclinated and south-oriented CdTe solar modules 13,98% more electrical energy is generated compared to BIPV system of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon and 11,46% more electrical energy is generated than in the case of BIPV systems of 1kW with horizontal inclinated and south-oriented CIS solar modules. By BIPV system of 1kW with horizontal inclinated and south-oriented CIS solar modules 2,26% more electrical energy is generated compared to BIPV system of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon.
2. In Banja Luka by means of BIPV system of 1kW with optimal inclinated and south-oriented CdTe solar modules 12,5% more electrical energy is generated compared to BIPV system of 1kW with optimal inclinated and south-oriented solar modules of monocrystalline silicon and 9,35% more electrical energy is generated than in the case of BIPV systems of 1kW with optimal inclinated and south-oriented CIS solar modules. By BIPV system of 1kW with optimally inclinated and south-oriented CIS solar modules 2,89 % more electrical energy is generated compared to BIPV system of 1kW with optimal inclinated and south-oriented solar modules of monocrystalline silicon.
3. In Banja Luka by means of BIPV system of 1kW with vertical inclinated and south-oriented CdTe solar modules 13,75% more electrical energy is generated compared to BIPV system of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon and 12,29% more electrical energy is generated than in the case of BIPV systems of 1kW with vertical inclinated and south-oriented CIS solar modules. By BIPV system of 1kW with vertical inclinated and south-oriented CIS solar modules 1,3% more electrical energy is generated compared to BIPV system of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon.
5. CONCLUSION
In the light of all afore mentioned one can conclude that:

· In contemporary architecture solar cells are increasingly used as the roof and facade elements that embelish and at the same time generate the electrical energy for the given object and the net grid as well,
· The advantage of integrated photovoltaics over more common non-integrated systems is that the initial cost can be offset by reducing normal construction costs of building materials and labor for parts of the building replaced by BIPV modules,
· PVGIS provides data for the analysis of the technical, environmental and socio-economic factors of solar PV electricity generation in Europe and supports systems for EU countries solar energy decision-makings,
· Total for year sum of global irradiation per square meter received by the horizontal inclined and south-oriented BIPV systems of 1kW is 1290 kWh/m2 in Banja Luka,
· Total for year sum of global irradiation per square meter received by the optimal inclined and south-oriented BIPV systems of 1kW is 1460 kWh/m2 in Banja Luka,
· Total for year sum of global irradiation per square meter received by the vertical inclined and south-oriented BIPV systems of 1kW is 952 kWh/m2 in Banja Luka,
· In Banja Luka BIPV systems of 1kW with optimal inclined and south-oriented solar modules intake 13,2% more solar irradiation compared to BIPV system of 1kW with horizontal inclinated and south-oriented solar modules and 53,4% more solar irradiation compared to BIPV system of 1kW with vertical inclinated and south-oriented solar modules, and BIPV systems of 1kW with horizontal inclinated and south-oriented solar modules intake 35,5% more solar irradiation compared to BIPV system of 1 kW with vertical inclinated and south-oriented solar modules,
· Irrespectable of the type of BIPV systems most electrical energy is generated if CdTe modules are used in Banja Luka,
· Total for year electricity production by the BIPV systems of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon is 930 kWh, with CdTe solar modules it is 1060 kWh and with CIS solar modules it is 951 kWh in Banja Luka, 

· Total for year electricity production by the BIPV systems of 1 kW with optimally inclinated and south-oriented solar modules of monocrystalline silicon is 1040 kWh, with CdTe solar modules it is 1170 kWh and with CIS solar modules it is 1070 kWh in Banja Luka, 

· Total for year electricity production by the BIPV systems of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon is 691 kWh, with CdTe solar modules it's 786 kWh and with CIS solar modules it's 700 kWh in Banja Luka,
· In Banja Luka by means of BIPV system of 1kW with horizontal inclinated and south-oriented CdTe solar modules 13,98% more electrical energy is generated compared to BIPV system of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon and 11,46% more electrical energy is generated than in the case of BIPV systems of 1kW with horizontal inclinated and south-oriented CIS solar modules. By BIPV system of 1kW with horizontal inclinated and south-oriented CIS solar modules 2,26% more electrical energy is generated compared to BIPV system of 1kW with horizontal inclinated and south-oriented solar modules of monocrystalline silicon,
· In Banja Luka by means of BIPV system of 1kW with optimal inclinated and south-oriented CdTe solar modules 12,5% more electrical energy is generated compared to BIPV system of 1kW with optimal inclinated and south-oriented solar modules of monocrystalline silicon and 9,35% more electrical energy is generated than in the case of BIPV systems of 1kW with optimal inclinated and south-oriented CIS solar modules. By BIPV system of 1kW with optimally inclinated and south-oriented CIS solar modules 2,89 % more electrical energy is generated compared to BIPV system of 1kW with optimal inclinated and south-oriented solar modules of monocrystalline silicon and
· In Banja Luka by means of BIPV system of 1kW with vertical inclinated and south-oriented CdTe solar modules 13,75% more electrical energy is generated compared to BIPV system of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon and 12,29% more electrical energy is generated than in the case of BIPV systems of 1kW with vertical inclinated and south-oriented CIS solar modules. By BIPV system of 1kW with vertical inclinated and south-oriented CIS solar modules 1,3% more electrical energy is generated compared to BIPV system of 1kW with vertical inclinated and south-oriented solar modules of monocrystalline silicon.
6. ACKNOWLEDGEMENT:

This paper was done with the financial support of the projects TR 33009 approved by the Ministry of Education and Science of the Republic of Serbia.

7. REFERENCES

[1] A. Evans, V. Strezov, T. J. Evans, Assessment of sustainability indicators for renewable energy technologies, Renewable and Sustainable Energy Reviews, 13 (2009), 5, pp. 1082-1088.

[2] F. Dincer, The analysis on photovoltaic electricity generation status, potential and policies of the leading countries in solar energy, Renewable and Sustainable Energy Reviews, 15 (2011), 1, pp. 713-720.

[3] K. H. Solangi, M. R. Islam, R. Saidur, N. A. Rahim, H. Fayaz, A review on global solar energy policy, Renewable and Sustainable Energy Reviews, 15 (2011), 4, pp. 2149-2163.

[4] M. Pucar, Bioclimate architecture, Institute of Urbanism and Architecture of Serbia, Belgrade, 2006. (in Serbian). 

[5] V. Kosorić, Active solar systems- application in the covers of the energy efficient buildings, Građevinska knjiga, Belgrade, 2007. (in Serbian).

[6] T. Pavlović, D. Milosavljević, Application of solar cells in modern architecture, Proceedings of Internatonal Scientific Conference, Book 14 "CONTEMPORARY MATERIALS  2010", Department of Natural - Mathematical and Technical Sciences, Academy of sciences and arts of the Republic of Srpska 2011, Banja Luka, Republic of Srpska, pp. 103-113 (ISBN 978-99938-21-30-1).
[7] T. Pavlović, D. Milosavljević, D. Mirjanić, I. Radonjić, L. Pantić and D. Pirsl, Analyses of PV systems of 1kW electricity generation in Bosnia and Herzegovina, Contemporary Materials (Renewable energy sources), II-2, 2011, pp. 123-138, doi:10.5767/anurs.cmat.110202.en.123P, UDK 620.92:621.313.5.025.4.

[8] LIBER PERPETUUM, The Book On Renewable Energy Potentials Of Serbia And Montenegro, OSCE Mission to Serbia and Montenegro, Economic and Environmental department, Novi Sad, 2004 (ISBN 86-903283-8-6).
[9] T. Pavlović, D. Milosavljević, A. Radivojević, M. Pavlović, Comparison and assessment of electricity generation capacity for different types of PV solar plants of 1MW In Soko Banja, Serbia, Thermal Science, 15 (2011), 3, pp. 605-618, DOI:10.2298/TSCI110322065P.

[10] T. Pavlović, B. Čabrić, Physics and techniqes of solar energy, Građevinska knjiga, Belgrade, 2006 (in serbian).
[11]J. M. Radosavljević, T. M. Pavlović, M. R. Lambić, Solar energy and sustainable development, Građevinska knjiga, Belgrade, 2010. (in serbian)

[12] C. Peng, Y. Huang, Z. Wu, Building-integrated photovoltaics (BIPV) in architectural design in China, Energy and Buildings, 43 (2011), pp. 3592-3598.

[13] T. Pavlović, D. Milosavljević, I. Radonjić, L. Pantić and A. Radivojević, Application  of  solar  cells  of  different  materials  in  PV solar  plants  of  1MW  in  Banjaluka, Contemporary Materials (Renewable energy sources), II-2, 2011, pp. 155-163, doi:10.5767/anurs.cmat.110202.en.155P, UDK 620.92:523.9(497.6 BANJA LUKA).

[14] http://www.pvresources.com/en/solarcells.php
[15] D. Djurdjevic, Perspectives and assessments of solar PV power engineering in the Republic of Serbia, Renewable and Sustainable Energy Reviews, 15 (2011), 5, pp. 2431-2446.

[16] PVGIS © European Communities; 2001–2008. Available online at: http://re.jrc.ec.europa.eu/pvgis/apps3/pvest.php
[17] http://sunbird.jrc.it/pvgis/apps/pvest.php?europe=

[18] M. Šúri, T. A. Huld, E. D. Dunlop, PV-GIS: A Web-based Solar Radiation Database for the Calculation of PV Potential in Europe, International Journal of Sustainable Energy, 24 (2005), 2, pp. 55-67.

[19] T. Pavlović, I. Radonjić, D. Milosavljević, L. Pantić, A review of concentrating solar power plants in the world and their potential use in Serbia, Renewable and Sustainable energy Review, 16 (2012), 6, pp. 3891-3902, doi:10.1016/j.rser.2012.03.042.  

[20] T. Pavlović, I. Radonjić, D. Milosavljević, L. Pantić, D. Pirsl, Application of contemporary materials for the production of solar concentrators in solar thermal power plants, Thermal Science, (2012), No.4, (in press)
8. AUTHORS’ AFFILIATION: 
Tomislav M. Pavlović, University of Niš, Faculty of sciences and mathematics, Department of Physics, Višegradska 33, 18 000 Niš, Republic of Serbia, Email: pavlovic@pmf.ni.ac.rs
Dragana D. Milosavljević, University of Niš, Faculty of sciences and mathematics, Department of Physics, Višegradska 33, 18 000 Niš, Republic of Serbia, Email: dragana82nis@yahoo.com

Ivana S. Radonjić, University of Niš, Faculty of Sciences and Mathematics, Department of Physics, Višegradska 33, 18 000 Niš, Republic of Serbia , Email: r_ivana_fizika@yahoo.com

Lana S. Pantić, University of Niš, Faculty of Sciences and Mathematics, Department of Physics, Višegradska 33, 18 000 Niš, Republic of Serbia, Email: lana@pan.rs
Danica Piršl, University of Niš, Faculty of Sport and Physical Education, Carnojevica 10a, 18000 Nis, Republic of Serbia, Email:danicapirsl@yahoo.com
PAGE  
10

