Igor Andreevski, Gligor Kanevče, Ljubica Kanevče, Aleksandar Markoski, Sevde Stavreva  
Development and application of regulatory dispersion model for air pollution assessment

[image: image1.jpg]


[image: image5.emf]0


100


200


300


400


500


600


700


Germijan


La`ec


Kremenica


Brod


Bistrica


Gneotino


Bukovo


Ribarci


Logovardi


Bitola


Novaci


D. Orizari


REK BITOLA


Aglarci


Kukure~ani


Mogila


Radobor


Dedebalci


Budakovo


Dobromiri


Kanatlarci


Topol~ani


-15000


-10000


-5000


0


5000


-15000


-10000


-5000


0


5000


10000


15000


20000




0

100

200

300

400

500

600

700

Germijan La`ec

Kremenica

Brod

Bistrica

Gneotino

Bukovo

Ribarci

Logovardi

Bitola

Novaci

D. Orizari REK BITOLA

Aglarci

Kukure~ani

Mogila

Radobor Dedebalci

Budakovo

Dobromiri

Kanatlarci

Topol~ani

-15000 -10000 -5000 0 5000

-15000

-10000

-5000

0

5000

10000

15000

20000


DEVELOPMENT AND APPLICATION OF REGULATORY DISPERSION MODEL FOR AIR POLLUTION ASSESSMENT 
Igor Andreevski
, Gligor Kanevče
, Ljubica Kanevče
, Aleksandar Markoski
, Sevde Stavreva

Abstract: Today, we are witnessing increased environmental pollution, including ambient air, on local, regional and global scale. The existing air pollution from industrial facilities or thermo plants, as well as potential pollution scenarios in normal or accident conditions can be simulated in a relatively simple and efficient way using computer dispersion models. Dispersion models used today are different in many aspects. In this paper, the dispersion models categories suitable for application in conditions and in solving problems of local air pollution in Macedonia are considered. Also regulatory model MADAM development is presented.
Keywords: air pollution, regulatory dispersion model, dispersion simulation.
1. INTRODUCTION 
Dispersion models are used to calculate pollutants ground level concentrations based on the information and data about the emission source characteristics, the pollutants nature, structure of the surrounding environment and meteorological conditions. Dispersion models are widely used to simulate different pollution scenarios, in a current moment, in the past and future. Besides the application for scientific and research purposes, many dispersion models are commonly used for regulatory requirements, air quality assessments and in order to establish critical pollution scenarios.
2. DISPERSION MODELS CATEGORIZATION 
Today, there are number of dispersion models which are developed and used worldwide. They all have certain characteristics such as: the hypothesis on which are based, the minimum amount of data necessary for their application, the coverage degree of atmospheric and dispersion processes, calculation accuracy, the application area etc.

Knowing the model’s characteristics, algorithms used and the results obtained by applying them is important in terms of determining which algorithms can be modified, or which parts of some model are better than those from other models and may be adapted for use in other models with sufficient accuracy.
A number of authors and agencies offer different ways for dispersion models categorization, but due to the wide range of features, every model can simultaneously belong to different groups.
U.S. Environmental Protection Agency categorizes dispersion models on several grounds. They can be divided into four groups: Gaussian, Numerical, Statistical and Physical models. Also, according to USEPA, there are models with special purposes such as models for ozone, carbon monoxide, nitrogen dioxide, particulate matter and others.

Lately, models are more commonly categorized as models from old and new generation ("new generation models") [1]. This categorization is made according to the period in which they were formed, but also based on the period when theoretical foundations on which they are based were established.

Dispersion models are used for different purposes, but likely they have major application in regulatory processes. The models for legislation needs are used to achieve two main goals, as tool for predicting air pollution condition and to provide detailed interpolation concentration’s maps between the measured data using receptors monitoring stations.
The regulatory models results are used in making decision for allowable emissions levels, in the design phase for new industrial buildings and roads to assess their impact on ambient air quality.
Generally, regulatory models should provide information about the spatial distribution of pollutants concentrations when high episodic concentrations occurred, and data on the expected mean concentrations for a longer time period.
As regulatory dispersion models are usually used classical and modified Gauss-ian models.
The models of Gaussian type are widely used, easy to apply and all their positive and negative characteristics are well defined. They are based on the assumption that the pollutants dispersion at various distances from the source is based on the Gaussian distribution in horizontal and vertical direction and formulation is derived assuming stationary conditions.
Older generation Gaussian models who have found largest application are R91, ISCST3 and others, while as a modified Gaussian models or new generation models are commonly used ADMS, AERMOD, OML and others. Several Gaussian dispersion models are developed by the individual activities of different research groups, among which are included: HPDM, RTARC, Safe-Air, IFDM, etc.

Top of Form

Particularly interesting for our analysis, in terms of applying some algorithms from its original source code for present conditions in the Republic of Macedonia, is Danish regulatory model OML. 
OML model is a new generation Gaussian dispersion model that can be applied in rural or urban conditions, within the local spatial scale up to 20 [km] from the emission source. The latest official version of this model was published in 2001 [2], while during 2007 revised research version was issued [3], which is still subject to analysis and is not proposed for official use.
The new generation models, as OML, continuously descript atmosphere stability using quantities such as heat flux sensitive HSF, Monin-Obukhov length L, the mixing layer height hm, and in a quite complex and detailed way calculate dispersion coefficients (y and (z . Also these models are using contemporary features such as plume partial penetration.
3. REGULATORY DISPERSION MODEL МАDAM
Model MADAM (MAcedonian Dispersion Atmospheric Model) belongs to Gaussian models, and is developed to be adopted as a regulatory model in the Republic of Macedonia [4], [5], [6]. 
It is widely used in determining the existing level of air pollution, in the case of emission from thermal power plants and other industrial sources in our country. Also, this model is used for simulation of various air pollution scenarios, in normal and accident operating conditions and various external influences (meteorological, terrain configuration, etc.).

[image: image4.emf]0


30


50


70


100


150


250


500


1000


1500


Germijan


La`ec


Kremenica


Brod


Bistrica


Gneotino


Bukovo


Ribarci


Logovardi


Bitola


Novaci


D. Orizari


REK BITOLA


Aglarci


Kukure~ani


Mogila


Radobor


Dedebalci


Budakovo


Dobromiri


Kanatlarci


Topol~ani


-15000


-10000


-5000


0


5000


-15000


-10000


-5000


0


5000


10000


15000


20000




0

30

50

70

100

150

250

500

1000

1500

Germijan La`ec

Kremenica

Brod

Bistrica

Gneotino

Bukovo

Ribarci

Logovardi

Bitola

Novaci

D. Orizari REK BITOLA

Aglarci

Kukure~ani

Mogila

Radobor Dedebalci

Budakovo

Dobromiri

Kanatlarci

Topol~ani

-15000 -10000 -5000 0 5000

-15000

-10000

-5000

0

5000

10000

15000

20000

             SHAPE  \* MERGEFORMAT 


                     

Fig.1     First highest short-term (1 hour) SO2 [µg/m3] ground level concentrations
We can see on figures 1 and 2 two examples of calculated ground level concentrations in the case of emission from Thermal power plant Bitola, which satisfies over 70% of the Macedonia electricity needs. The first picture shows the SO2 concentration during normal power plant operation, while second picture simulates scenario of possible contamination with particular matters in accident conditions, when ES filter of plant units Bitola 1 and 2 works with 50% of its capacity.

In recent years MADAM was subject to a numerous analysis and corrections in its algorithms, in order to achieve better performance under the specific conditions of its application in Macedonia.
                  SHAPE  \* MERGEFORMAT 



Fig.2     Highest short-term (1 hour) particular matter (PM) [µg/m3] ground level concentrations when ES filter of units Bitola 1 and 2 works with 50% of its capacity
Thus the following corrections ​​in its algorithms were made:

· The model MADAM algorithm is adopted to handle cases when wind speed is lower than 1 [m/s] [7], unlike other Gaussian models who cannot give a realistic picture of pollution in low wind speeds conditions. 
· Atmosphere conditions and classification from the model OML is applied, which removes shortcomings from in-continuous description using stability classes [6]. 
· Unlike the previous calculating method of the dispersion coefficients (y and (z, based on the Pasquill-Gifford equations, the new MADAM variant solutions are using expressions from the model OML [6]. 
· The algorithm for plume partial penetration from model OML is applied in model MADAM variant solution v.3, [6].
· Inverse calculations methods are applied in several variant solutions of regulatory model MADAM. Determining new values ​​of certain influential parameters in variant solutions v.1 and v.3 of model MADAM was analyzed.  Researches were conducted using experimental databases from MVKit (Model Validation Kit) [8]. The latest available model MADAM version v.4 was developed as a result of new defined values ​​of some specific analyzed parameters.

The indicators derived on the basis of the implemented evaluation procedures (BOOT procedure, [9]), of the characteristics of the original model variant v.1 and the final version v.4, together with data from comparison of these results with the evaluations results of some world-known and widely used models, are given in Table 1.

Table 1. – Model evaluation results using BOOT procedure - database Kincaid SF6, Q3

	
	Меаn
	Sigma
	Bias
	NMSE
	R
	FAC2
	FB

	Measurment
	54.34
	40.25
	0.00
	0.00
	1.00
	1.00
	0.00

	MADAM v.1
	35
	45.15
	19.54
	1.42
	0.374
	0.476
	0.438

	MADAM v.4
	44
	47.54
	9.92
	0.94
	0.444
	0.536
	0.201

	HPDM
	44.84
	38.55
	9.50
	0.75
	0.44
	0.57
	0.19

	IFDM
	29.42
	26.03
	24.92
	2.00
	-0.13
	0.42
	0.60

	INPUFF
	34.61
	26.76
	19.72
	1.29
	0.14
	0.50
	0.44

	OML
	47.45
	45.48
	6.89
	1.24
	0.15
	0.55
	0.14

	AERPOL
	42.05
	31.90
	11.64
	1.09
	0.13
	0.57
	0.24

	Safe-Air
	34.89
	31.50
	19.45
	1.52
	0.04
	0.39
	0.44

	ISCST3
	30.00
	60.00
	24.30
	2.80
	0.26
	0.28
	0.58

	AERMOD
	21.80
	21.80
	32.60
	2.10
	0.40
	0.29
	0.86

	ADMS3
	51.70
	34.70
	2.70
	0.57
	0.45
	0.67
	0.05

	ADMS4
	48.50
	31.50
	5.90
	0.60
	0.45
	0.68
	0.11


These data provide a realistic basis to determine that due to the innovation of the model algorithms, by introducing new solutions and implementing the results of applied inverse procedures, we have made progress in the model MADAM performances, so it can be included among the group of models with solid performance according the criteria defined by [10].
Namely, from these verifications data can be seen that the model reaches values ​​for the data fraction within a factor of two compared to the measured concentrations greater than 50%, FAC2> 0.5, and fractional deviation (FB(<0.3, while random, stochastic data scatter represented by the value of the normalized intermediate-square error NMSE is less than 1.5, [10].
4. CONCLUSION 
Development and improvement of dispersion models performances are goals that inspire all scientific and research groups in this area.
Generally, experiences regarding the introduction of new algorithms and methods for the calculation of certain influential factors and the inverse procedure application in dispersion models are positive.
Namely, the results from the application of these modifications in the regulatory model MADAM showed that it is possible to use them as an option for improving the model performances. This statement is evident from the results of the evaluation procedure, but level of success depends on more subjective and objective circumstances.
LITERATURE 
[1] Schnelle K.B. and Dey P.R. (1999): Atmospheric Dispersion Modeling Compliance Guide. McGraw-Hill, New York.
[2] Berkowicz R., Olesen H.R. and Løfstrøm P. (2001): OML: An Operational Atmospheric Dispersion Model. NERI, January.
[3] Olesen H.R., Berkowicz R. and Løfstrøm P. (2007): OML: Review of model formulation. National Environmental Research Institute, University of Aarhus. - NERI Technical Report 609, 130 pp. (electronic).
[4] Kanevce L., Kanevce G., Markoski A. and Trombev G. (2000): Intercomparison of Different Models for Estimation of the Bitola Power Plant Air Quality Impact. International Conference of Balkan Environmental Association (BENA) on Transboundary Pollution, Bucharest, November 23-26.
[5] Kanevce G.H. and Kanevce L.P. (2006): Dispersion modeling for regulatory applications. Thermal Science, Vol. 10, No.2, pp.141 – 154.
[6] Аndreevski I. (2008): “Inverse concept application in dispersion models development and verification”, PhD thesis, Faculty of Technical Sciences - Bitola, Bitola, Macedonia, July.
[7] Аndreevski I., (2002): Planetary boundary layer modeling and pollutants dispersion modeling at small wind velocities, Master thesis, Faculty of Technical Sciences - Bitola, Bitola, Macedonia, December.
[8] Model Validation Kit. HARMO, MVKit, from http://www.harmo.de/kit, accessed on 2009-10-06.
[9] Chang J.C. and Hanna S.R. (2005): Technical Descriptions and User's Guide for the BOOT Statistical Model Evaluation Software Package, Version 2.0. July 10th.
[10] Chang J.C. and Hanna S.R. (2004): Air quality model performance evaluation. Meteorol. and Atmos. Phys., 87, 167-196.
OVDJE ĆE DOĆI LOGO





SO2


[g/m3]





[m]








[m]





 Čestice (PM)


    [g/m3]





[m]





[m]








� Asist.Prof.,PhD, Igor Andreevski, Macedonia, Faculty of Technical Sciences, igor.andreevski@uklo.edu.mk


� Academici, Gligor Kanevče, Macedonia,Macedonian Academi of Science and Art, kanevce@sonet.com.mk 


� Prof., PhD, Ljubica Kanevče, Macedonia, Faculty of Technical Sciences, kanevce@sonet.com.mk


� Prof.,PhD,Aleksandar Markoski,Macedonia,Fac. of Technical Sciences,aleksandar.markoski@ uklo.edu.mk


� Ass. MSc., Sevde Stavreva, Macedonia, Faculty of Technical Sciences, sevde.stavreva@uklo.edu.mk





2
3

