PRIJAVA

Međunarodna naučna konferencija“Savremeni materijali 2013“
TRETMAN TEHNOLOŠKIH VODA IZ PROCESA POLIRANJA POSUĐA

Đukić,V.1, Jakupović,E.2
1,2Panevropski univerzitet APEIRON Banja Luka, Fakultet zdravstvenih nauka Banja Luka
U cilju smanjenja rizika tehnološkog procesa poliranja posuđa na životnu sredinu, vrši se analiza i određivanje kritičnih mjesta s obzirom na minimizaciju otpadnih materija i oslobođene energije, odnosno spriječavanje degradacije i ugrožavanja životne sredine. Analiza se vrši u odnosu na ulazne elemente tehnološkog procesa i izlazne elemente (karakteristične oblike otpadne materije), na osnovu čega se vrši procjena uticaja na životnu sredinu. Na osnovu toga donosi se zaključak da li je potrebno izvršiti realizaciju tehnološkog procesa ili primjeniti neke druge mjere, kao npr. tretman otpadnih voda ili drugih zagađujućih materija.

Prečišćavanje otpadnih voda predstavlja jednu od najracionalnijih mjera u domenu zaštite voda od zagađenja. Zato je jedan od najvažnijih zadataka u oblasti zaštite voda izgradnja i optimalno funkcionisanje postrojenja za prečišćavanje otpadnih voda. Prilikom izrade rada „Tretman otpadnih voda iz procesa poliranja posuđa“, aktivnosti su bile usmjerene na istraživanje karakteristika otpadnih voda i predlog  tretmana otpadnih voda.

Ključne riječi: otpadne vode, tretman, poliranje posuđa.
 TREATMENT OF WASTEWATER  FROM THE PROCESS OF POLISHING THE DISHES
Đukić,V.1, Jakupović,E.2
Pan-European University Banja Luka, Faculty of Health Care
To reduce the risk of technological process of polishing dishes on the environment, performed the analysis and determination of critical points with respect to the minimization of waste and energy released, or prevent degradation and environmental threats. The analysis is carried out in relation to the inputs of the technological process and output elements (characteristic forms of waste materials), based on which the estimate of the impact on the environment. On the basis of this decision is the conclusion that it is necessary to the realization of the technological process and apply other measures, such as. wastewater or other pollutants.
Wastewater treatment is one of the most rational measures in the field of water protection from pollution. Therefore, one of the most important tasks in the field of water construction and optimal functioning of the treatment plant wastewater. During the manufacture of "Treatment of wastewater from the process of polishing the dishes", activities are focused on the study of the characteristics of waste water and waste water treatment proposal.
Key words: wastewater, treatmen, polishing the dishes.
