Filip Zdraveski, Dimitri Kozinakov
Analysis of point-supported-glass wall systems under wind load

[image: image1.jpg]



Analysis of point supported-glass wall system under wind load
F.Zdraveski
, D.Kozinakov

Summary: Pre-tensioned point supported glass walls are widely used in modern architecture today. This paper deals with the stability of glass support structure to predict the collapse behavior of the same. All windows in their corners are connected to spider arm thus transferring the wind force on the bowstring structure. The results of the analysis provide load-displacement relationship and influence of the pretension forces as well as temperature effect on the stability of support structure.
Key words: fem analysis; point supported glass walls; stability; pre-tension system, temperature effects.
1. INTRODUCTION
Fig. 1 represents the structure used for the stability analysis in this paper. The main components of the support structure are: TR-F (B) – Tension Rod-Front (Back), SP – Strut pipe, VR – Vertical Rod and HR – Horizontal Rod.
	[image: image2.png]>





	[image: image3.png]




	Fig.1: System used for the analysis
	Fig.2: Functions of structure


TR-F and TR-B form “front” and “back” arch of the so called “bow and arrow” system. The crossed bows are hold strained with the elements marked as SP on Fig.1. They play the role of “arrow” in the system. TR-F and TR-B can only take tension forces, while SP can be exposed to compression forces.

Two arches crossed set take the pressure difference which exists between outside and inside of the window panels. The force from the windows is transferred through the “arrows” to one of the arches, front or back one.

VR or DLR – Dead Load Rod (element for receving dead load) is set vertically and close to the window panels. The reason why VR is set near the window panels is to eliminate the bending moment caused by dead load and the distance from the panels to the support points.
The elements on Fig. 1 designated as HR are used to give stability of support structure in A-A plane. They do the role of “stabilizers” of the support structure in the horizontal plane.

On Fig. 2 are shown functions [1, 2, 3, 4] that support structure should perform. The structure needs to resist to transversal forces F1 or F2, axial forces marked as G, resists with bending stiffness MB-B, resists with torsion stiffness HCA-A.
	[image: image4.png]o

Trangular Option

%y = Element x-axis f ESYS is not supplied.
Element x-axis £ESYS is supplied.





	[image: image5.png]



	[image: image6.png]Tension-Only (Cable) Option Compression-Only (Gap) Option





	Fig.3: SHELL63
	Fig.4: BEAM188
	Fig.5: LINK10


Generally speaking, glass support system should perform the same way as simple beam with two point support providing transversal, axial, bending and torsion stiffness.

2. MODELING THE SYSTEM
In order to perform the FEM analysis it’s necessary to select the material properties of the elements constituting the support structure. They are given in Table 1.
Next important step is defining the type of finite elements that will be used for building the model. It is very important because it will affect structure behavior. The elements which are selected are:

· SHELL63 – this element simulates glass panel behavior (Fig.3). Acts as membrane which can take bending. This element has six degrees of freedom at each node;
· BEAM188 – this element is suitable for analysis of slender to thin beam structures. It’s linear element with two nodes (Fig. 4) and it has six degrees of freedom at each node. It is used for modeling the spider and the arrow of the support structure;
· LINK10 – this element can perform only tension or compression (Fig. 5). It is used for modeling the arches, front and back, as well as the horizontal stabilizers.

After material and physical properties are defined and finite elements are selected, support structure of the glass curtain wall is ready to be analysed. The whole support structure is modeled in Ansys (Fig. 6a).
	Table 1: Selected material and physical properties

	Window Panel
	Eglass=72 000 N/mm2;
μ=0,3; αT=0.6 x 10-5/○C;

δ=12 mm; ρ=2,52 x 10-6 kg/mm3;

m=50 kg/panel; Rp0,2=Rm=80 N/mm2;

	Strut Pipe
	Esteel=200 000 N/mm2;
μ=0,3; αT=1.8 x 10-5/○C;

Ø=20 mm→A=314 mm2;

Izz=7853,98 mm4; ρ=7,83 x 10-6 kg/mm3;

m=0,0025 kg/mm; Rp0,2≈300 N/mm2;

	Tension Rod
	Esteel=200 000 N/mm2;
μ=0,3; αT=1.8 x 10-5/○C;

Ø=13 mm→A=133 mm2;

ρ=7,83 x 10-6 kg/mm3;

m=0,001 kg/mm; Rp0,2≈300 N/mm2;
σpre-stress =10 N/mm2; ε=0,00005;

	Vertical Rod
	Esteel=200 000 N/mm2; 

μ=0,3; αT=1.8 x 10-5/○C;

Ø=10 mm→A=78,5 mm2;
ρ=7,83 x 10-6 kg/mm3;

m=0,0006 kg/mm; Rp0,2≈300N/mm2;
σpre-stress=10 N/mm2; ε=0,00005;

	Horizontal Rod
	Esteel=200 000 N/mm2;
μ=0,3; αT=1.8 x 10-5/○C;

Ø=6 mm→A=28 mm2;
ρ=7,83 x 10-6 kg/mm3;

m=0,00022 kg/mm; Rp0,2≈300N/mm2;
σpre-stress =10 N/mm2; ε=0,00005;


	[image: image7.png]1
ELEMENTS

ANSYS

JUN 10 2009
12:57:45





	[image: image8.png]T ANSYS

JUN 10 2009
14:56:18

LINE STRESS

Ls1
. 633881
5

10.271






	Fig.6a: Completed FEM model
	Fig.6b: Pre-tensioned struc. with 10MPa

	[image: image9.png]LINE STRESS

STEP=1

Lsl
807415

ELEM=371

ANSYS

JUN 10 2009
13:51:41





	[image: image10.png]ANSYS

LINE STRESS
JUN 10 2009

STE 14:21:32
sUB
TIME=1
11 181
MIN =-1.264
ELEM=223
0.957
71

8.612 13.55 18.488

-1.264 3.674
1.205 6.143 11.081 16.019 20.957






	Fig.7: System with 100N at each arrow
	Fig.8: System with 330N at each arrow


3. ANALYSIS OF THE SYSTEM UNDER EXTERNAL FORCE

The goal of the analysis is determination of the capacity of the support structure with pre-tension of 10MPa (Fig. 6b) to receive lateral load or maximal load that each “arrow” can take without causing loss of stability of the system. At the beginning each arrow is loaded with force of 100N. The force is increased step by step considering the condition σ<Rp0,2 until the system becomes unstable.
Fig. 6b, 7 and 8 show that increasing the load from 100N till 330N causes TR-B to become additionally stressed, while TR-F is relaxing. When the force at each arrow reaches 350 or 360N the system losses stability and causes rigid body motion. The undefined motion of the support structure is explained on Fig. 9.
	[image: image11.png]



	[image: image12.png]LINE STRESS

MAX =50.063
ELEM=26257

-2.535

3.309

Jun

ANSYS

10 2009

15:02:48






	Fig.9: Support structure losing stability
	Fig.10: TR=40, VR=50, HR=20 МPa


Glass support structure (Fig. 9) is losing stability when the nodes I and J become free to move. In this case, TR-F is completely relaxed from tension and practically doesn’t participate in the support of the glass wall.
4. ANALYSIS OF THE SYSTEM WITH MODIFICATIONS
The system on Fig. 6 is modified in order to receive provisional wind load of 100 kg/m2 [5]. The area of window panel is 1.2 m2. The force that one arrow will take is approx. equal to 100 kg/m2 x 1.2m2 = 144 kg or 1440 N.
Considering that the analysis is linear, we can calculate the necessary pre-tension of the arches TR-F and TR-B, knowing that 350N is the boundary force which can be applied before system losses stability. Therefore, 1440/350 ≈ 4 meaning 4 times larger pre-tension than the one for the primary system with 10MPa. The first adopted modification is pre-tension of the arches equal to 40 MPa.
	[image: image13.png]1
NODAL SOLUTION

STEP=1

ANSYS

JUN 10 2009
15:19:33

SUB =1
TIME=1
SEQV (avG)
DMX =.312511
SMN =.004758
SMK =2.282
.004758 029





	[image: image14.png]ANSYS

JUN 10 2009
15:07:03

LINE STRESS

MAX =59.209
ELEM=26269






	Fig.11: Stresses from dead load
	Fig.12: Stresses from dead load


Each VR takes the dead load of five panels (1panel=50kg). Total force that each VR receives from dead load is 5 x 50 kg x 10 m/s2 = 2500N. According to Tab. 1 for VR cross section is equal to 78.5 mm2. The force of 2500N reduced to cross section of VR is normal stress of the element equal to 40MPa. For safety reasons (earthquake and anti-lock) this value is increased for 10MPa. Second adopted modification is 50 MPa pre-tension of VR elements.

Horizontal stabilizers-HR is assumed to be pre-tensioned with the force that can eventually show up in the plane of the façade. According to Tab. 1 the cross section of HR is 28 mm2. It is supposed that the force in A-A plane cannot be larger than 50 kg. In order to prevent front HR to stay stressed, it is adopted 20 MPa pre-tension of HR.

The changes of the initial system are shown on Fig. 10 and 11. Fig. 10 shows only the support system without the panels attached. Fig. 11 and 12 shows the general system under dead load with and without panels shown.

It can be noticed from Fig. 12 that the most loaded VR elements are the one on the top of the structure – 59 MPa. The lowest are less stressed. They should always carry minimum tension in order to maintain the stability of the system.

When the glass supported structure is subject to wind load of 100 kg/m2 and dead load of all elements we get the results shown on Fig. 13. Support system is on edge to become instable. The tension stress in the front arches TR-F maintains value from 3 to 13,5MPa.

The stress distribution of the wind panels is shown on Fig. 14. Maximal value of the stress appears around the connection point with the spider arm with value of 17.4 MPa, while the average value is between 6 to 10 MPa. The thickness of the window panel is acceptable, it can be subject for further optimization, but it is used as it is in following analysis.

	[image: image15.png]LINE STRESS

Lsl
6.786
6596
MAX =86.601
ELEM=26301

-6.786

76.224

ANSYS

JUN 10 2009
15:29:27

86.601





	[image: image16.png]NODAL SOLUTION

sTE
suB
TIME
SEQV (avG) o

DMX =7.367 B
SMN =. 164866
SME =17.437

-164866 4.003 7.842 11.68
2.084 5.922 9.761

13.599

ANSYS

JUN 10 2009
15:31:48

15.518
17.437






	Fig.13: Stress in support structure
	Fig.14: Stress distribution in panels

	[image: image17.png]ANSYS

JUN 10 2009

NODAL SOLUTION

STE 15:33:49
sUB
TIHE
ux (AVG)
RSY;
DX =7.367
SHN =-7.367
SMK =.34144
-7.367 -.51507

-6.511 -4.798 -3.085 -1.372 .34144





	[image: image18.png]ANSYS

LINE STRESS
JUN 12 2009

STE 15:10:26
suB
TIME=1
LSl Lsl
MIN =-8.586
ELEM=26398
9.44
6301






	Fig.15: Total displace. in wind direction
	Fig.16: Modified support structure


On Fig. 15 is shown total displacement of the glass curtain system. Maximal displacement is on the middle of the system and is equal to 7mm. The deflection of each panel is different and is in the range of 3-4mm (we can calculate deflection as difference between absolute displacements). It should be noticed that above analyzed structure is usable only for pre-defined referent temperature. The referent temperature at which properties (Tab.1) are defined is approximately 23 до 25○C and the system can be considered stable for this temperature.

The structure is enhanced by changing the sections of the arches from Ø= 13mm to Ø=20mm (А=314mm2). The results for wind load of 100 kg/m2 are shown on Fig. 16. The normal stress in TR-B is decreased from 86.6 to 59.4MPa and the stress in TR-F is increased to value of 21.6 to 60MPa. The support structure now is stiffer and displacements are smaller. The last modification shows that small change in dimensions significantly contributes the stability of the system.
5. ANALYSIS OF THE SYSTEM INCLUDING TEMPERATURE EFFECT

Physical and mechanical properties of elements are given at nominal temperature. Above and below this temperature properties have different values.
	[image: image19.png]ANSYS

LINE STRESS

s i _ _ JUN 16 2009

STEP=1 e . : E 8 15:47:32
SUB
TIME=
151 151 1 . K .
MIN =-14.954 & B 5 - 3
ELEM=26398 -
MAX =102.578
ELEM=26313

- >

1
.
N
-14.954 11.164 37.282 63.401 89.519

-1.895 24.223 50.341 76.46 102.578





	[image: image20.png]ANSYS

JUN 11 2009
16:44:02

LINE STRESS

[ e T |

-17.548 13.226 43.999 74.772 105.545
-2.161 28.612 59.386 90.159 120.932






	Fig.17: Pre-tension 100MPa*(nom.temp)
	Fig.18: DL and wind load*(nom. temp)

	[image: image21.png]E ANSYS

LINE STRESS

JUN 11 2009
17:24:59

—

-4.218 4.967 14.152 FEREER] 32.522
.374924 9.56 18.745 27.93 37.115





	[image: image22.png]LINE STRESS

STE
suB
TIM
LSl LSl
MIN =-6.794

6398
47.141
ELEM=26301

ANSYS

JUN 11 2009
16:22:27

-.801198 11.188 23.17 35.156 47.141






	Fig.19: Dead load *(hig. temp)
	Fig.20: DL and wind load *(hig. temp)


In summer, temperature is higher than the nominal and steel elements extent causing pre-tension stress to decrease. Opposite to this case, in winter the elements are shrinking and add additional tension to the original pre-tension stress.

Support structure of the glass curtain wall is inside the building. It is exposed to sun radiation because windows are transparent and this radiation transforms in to heat [6, 7]. The infrared spectrum from the sun radiation completely transforms in to heat and it is up to the panels to filter this part of the light.
In winter, panels should work as good isolators keeping the heat inside the building and keeping the structure at nominal temperature. Generally it is very important to know exact working conditions of the structure in order to design support structure [8,9]. 

The model given on Fig. 16 will be exposed to equal heating in summer for +20○C, and cooling in winter for -20○C from the nominal temperature of 23 to 25○C. The model will expand and shrink with stress change σ = Е x αT x ΔT [10].
Finally, the design condition for the support structure is that allowed stress should be smaller than 1/1.5 from RP0,2 [10]. It is above economy savings of material.
5.1 SUMMER MODEL ANALYSIS
The model for simulation at high and low temperature is shown on Fig. 17 and 18. Compared to the referent model (Fig. 16), the difference consists in pre-tension value of the TR, VR and HR elements at nominal temperature. It is increased to 100 MPa.
At higher temperatures (Fig. 20), the support elements are relaxed compared to nominal temperature (Fig. 18). The value of the stress in TR-F is equal to 11 MPa, while in the back 47 MPa. The analysis of the summer model shows that at higher temperatures TR-F elements have relaxed from 90 to 11MPa tension, while TR-B stress decreased from 120 to 47 Mpa (Fig. 18, 20).
	[image: image23.png]ANSYS

JUN 16 2008

NODAL $OLUTION
STEP=1

17:15:39
SUB =1

TIME=1

SEQV. {RVG)

DMX =4.955 & '\ 7€§jﬂ[n rn

SMN =.227815 s XX f

SMX =15.451 4 CJ

227815
1. 8 15.451





	[image: image24.png]NODAL SOLUTION ANSYS

JUN 11 2009

STER 1 16:34: 40
sUB

TIHE

ux (AVG) 5

RSYS

DMX =4.894

SHN =-4.893

SHX =.508306

51884
-1.293 -3.093 -1.892 -.652075 .508306






	Fig.21: Stress distri. in panels*(hig. temp)
	Fig.22: Total disp. in wind dir.*(hig. temp)


This is acceptable from stress point of view, but affects the stability of the structure. The higher temperatures lower the capacity of the glass support structure to stay stable.
If Fig. 14 is compared with Fig. 21 we can see that stresses in the window panels are lower in the last case. This is because the last model is generally stiffer than the one on Fig. 14 and has smaller displacements (Fig. 22). The additional stiffness comes from the increased pre-tension.

5.2 WINTER MODEL ANALYSIS
Lower temperature increases pre-tension stress which is shown on Fig. 23 from value of 100MPa to value of 160-180 MPa. Decreased temperature makes support structure stiffer.
Analysis at nominal temperature (Fig. 18) show that normal stress in TR-F is equal to 90 MPa and at TR-B is 120 MPa when the system is under dead and wind load. Analysis at lower temperature (Fig. 24) shows that this values increases. The stress in TR-F is increases to 150 MPa and at TR-B is 195MPa. The stress distribution (Von Misses) of the window panels (Fig. 25) is similar to the one at higher temperature. The maximal value is equal to 15.5 MPa.
	[image: image25.png]LINE STRESS

ANSYS

) — JUN 11 2009
17:36:19
1
1 .
>
¥
-25.725 20.285 66.295 112.305 158.315
-2.72 43.29 89. 135.31 181.32





	[image: image26.png]LINE STRESS

ELEM=26301

ANSYS

JUN 11 2009
17:06:18

-28.301"

-3.521

120.382°

1
145.162

CER

942
194.723






	Fig.23: Dead load *(low. temp)
	Fig.24: DL and wind load *(low. temp)

	[image: image27.png]NODAL SOLUTION _ ANSYS

JUN 11 2009

17:09:10
SUB =1
TIME=1
SEQV (avG)
DMK =5.017
SMN =.228733
SMX =15.491
[ — ]
228733 3.62 7.012 10.403 13.795
1.925 5.316 8.708 12.099 15.491





	[image: image28.png]ANSYS

JUN 11 2009
17:12:52

NODAL SOLUTION
STE

-4.408 -3.177 -1.951 724588 .501835






	Fig.25: Stress distri. in panels*(low. temp)
	Fig.26: Total disp. in wind dir.*(low. temp)


Fig. 26 shows maximal displacement (5mm) of the structure. Maximal displacement of panels is 3mm. The displacement at higher temperature is 4.8 mm and at lower temperature is 5mm. It looks contradictory, but there is logical explanation.
Lower temperature causes shrinking of elements. Therefore, is affecting the arrows with higher compression force. This force is initiating deformation of the arrows and shifting the façade wall towards inside. This initial displacement is added on the total displacement with the wind load. At higher temperatures, initial displacement is in opposite direction, from the support structure towards the panels. In summer, total displacement is equal to absolute displacement from the wind minus initial displacement from the temperature.

6. CONCLUSION
Conclusion can be summarized as : TR-F and TR-B form arches that receive the wind force or force that comes from pressure difference between outside and inside of the building; HR elements work as horizontal stabilizers of the support structure and they take the lateral load which is in plane with the glass curtain wall; VR or DLR take dead load from the window panels and they should be set near the window in order to avoid the effect of bending; All stresses in the support structure should be lower than the value 1/1.5 from the yield stress RP0,2 in order to be on the save side; There should be minimum pre-tension at higher temperatures in the relaxed elements (i.e. arches) in order to prevent losing stability; The level of minimum pre-tension at full load should be subject for optimization.
REFERENCES
[1] Mick Eekhout (1990), Product Development in Glass Structures, 010 Publishers, Rotterdam
[2] Mick Eekhout (1996), Stressed Glass, Zappi or Product Development for the Nai, Nai Publishers, Rotterdam

[3] Mick Eekhout (1996),Tubular Structures in Architecture, Cidect, Zurich
[4] Mick Eekhout (1998), Frameless Glazing, 010 Publishers, Rotterdam
[5] Eurocode EN 1991–1–4 Wind action on structures
[6] A. Compagno (1995), Intelligent Glass Facades: Material, Practice, Artemis Zurich
[7] Koffel, W.E., Memari, A.M., Rittenhouse, T., Dawson, H. and Ettouney, M. (2005), Curtainwalls in Modern Buildings, Structure Magazine, January 2005, pp 32-35
[8] AMSTOCK, J.S. (1997), Handbook of Glass in Construction, McGraw-Hill , New York
[9] BUTTON, D. and PYE, B. (1993), Glass In Building: Guide to Modern Architectural Glass Performance, Butterworth Architecture, Oxford
[10] SCHITTICH, C. and STAIB, G. (1999), Glass Construction Manual, Birkhauser-Publishersfor Architecture, Basel
LOGO WILL BE HERE








� MSc, Filip Zdraveski, Skopje, Faculty of mechanical engineering, filipzdraveski@mf.edu.mk


� PhD, Dimitri Kozinakov, Skopje, Faculty of mechanical engineering, dimitri.kozinakov@mf.edu.mk





2
3

