Saša Prodanović, Novak Nedić
Analysis of possibilities for disturbance rejection in the decoupled multivariable process

[image: image1.jpg]



ANALYSIS OF POSSIBILITIES FOR DISTURBANCE REJECTION IN THE DECOUPLED MULTIVARIABLE PROCESS
Saša Prodanović
, Novak Nedić

Summary: Proper behavior of multivariable process isn't guaranteed only through the disabling influence of its mutual coupling (interaction), but also compensation of disturbance has very important role. Investigation of disturbance that can be rejected by previously decoupled 2x2 process has been presented in this paper. Considered flow tank, as a multivariable process, was controlled using PI controllers. The aim was to determine limit of disturbance intensity under whose influence system can operate correctly, and in that way additionally check validity of designed decoupler, i.e. chosen non-conventional control. General expression for periodic rising signal that can be introduced into process in order to present array of disturbances has been derived, too. Investigation was supported by simulations.
Key words: disturbance, non-conventional control, PI controller, flow tank
1. INTRODUCTION
Numerous researches have been presented the advantages of non-conventional control system containing decoupler in its controller over approach where mutual coupling wasn't taken into consideration. In one of them [1], control system of level and temperature in 2x2 flow tank has been investigated. Analysis of interaction among its inputs and outputs was carried out using theory given in [2] and decoupler has been designed like in [3]. Previously, process was modeled in [4] using physical laws and experiential data. Parameters of PI controller were determined based on principles given in [5] without need for repeating relay feedback test like in [6]. Beside reference tracking, researched and confirmed in [1], another very significant indicator of control quality is process ability to reject disturbances that occur during its operating. That is the main subject of this research. Here will be considered four cases of disturbance, that should serve to determine limits of its intensity which system can compensate.
2. PROCESS AND ITS MODEL
Various types of plants in the chemical, pharmaceutical, food and other industries contain some kind of flow tanks where two fluids are mixed in order to obtain their blend. Flow tank with water as a fluid that come through the two valves, 1 and 2, whose temperatures are t1=15°C and t2=70°C, respectively, was researched. Water is mixed on the constant number of revolutions. One or more properties of final fluid through the outlet valve 3 (on/off type, flow rate Q3) can be controlled. Demand for temperature control comes from production technology. Level in the tank should be maintained on the specified value in order to provide proper mixing of components. Therefore, in present 2x2 process, inputs are flow rates (Q1 or Q2) through the valves 1 and 2. Outputs are level h and temperature t. Reference values are taken to be 1m for level, and 30°C for temperature. Mathematical model for this type of flow tank, derived in [4], is expressed with following transfer function matrix:

[image: image2.wmf](

)

(

)

(

)

(

)

(

)

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

+

+

+

=

ú

û

ù

ê

ë

é

=

-

-

s

L

s

L

e

s

T

K

e

s

T

K

Ts

K

Ts

K

s

g

s

g

s

g

s

g

s

G

2

1

1

1

1

1

2

2

1

1

22

21

12

11




    (1)
where: gij(s) – elements of transfer function matrix, K, K1 and K2 – gains, T, T1 and T2 – time constants, L1 and L2 – delay times.

3. ANALYSIS OF DISTURBANCE
Analysis of process behaviour in the presence of disturbance is extension in checking of control strategy for considered flow tank. Square shape of disturbance was taken and it is assumed that they appear in the steady state. To enhance efficiency of test, the disturbances were introduced sequentially with defined period and in rising order of their intensity (more precisely, its absolute value). Whereas disturbances aren't measured, the feedback control is obvious here. General form of used disturbance is expressed by equation (2).

[image: image3.wmf](

)

(

)

(

)

(

)

[

]

(

)

(

)

(

)

(

)

[

]

(

)

ï

ï

ï

î

ï

ï

ï

í

ì

+

-

+

=

+

-

+

-

+

Î

-

+

=

¥

+

+

+

+

-

+

Î

=

=

Δt

i

t

t

t

i

Δt

i

t

t

i

t

t

t

i

i

t

t

t

i

n

t

t

j

t

t

Δt

j

t

t

t

t

d

1

   

,

 

,0

   

1

 

,

1

        

,

1

  

,

 

0,

 

,

U

 

 

,

1

U

 

0,

        

0,

p

0

p

0

p

0

p

0

p

0

p

0

p

0

n

1

j

0

,   
[image: image4.wmf]n

 

,...,

 

,

i

2

1

=

   
    (2)
where are: t0 – time of introducing of the first disturbance, tp – period between starts of the adjacent disturbances, Δt – disturbance duration, i – disturbance intensity, di –ordinal number of disturbance, n – number of iterations. The meanings of values in equation (2) are shown in Fig. 1.a). The part b) of this figure shows opposite direction of disturbance influence. Hence, this form can be used to determine limits of disturbance intensity. It offers opportunities for researching wide range of their intensity, but then they have to be scaled. 
[image: image5.emf]400 500 600 700 800 900 1000 1100 1200

0

1

2

3

4

Time (s)

Intensity

d1

d2

d3

d4

D

t

i

t

o

p

t

   [image: image6.emf]400 500 600 700 800 900 1000 1100 1200

-4

-3

-2

-1

0

Time (s)

Intensity

d2

d3 d4

d1


      a)                                                              b)
Fig. 1 Array of square disturbance: a) positive direction, b) negative direction
In this survey following values have been chosen: t0=500 s, tp=200 s, Δt=10 s, n=4. Boundary for acceptable intensity are 10% of overshoot and undershoot. Analysis was performed through the considering process responses in presence of disturbance. That was realised using simulations, which need block diagram of entire control system shown in Fig. 2. This block diagram, except disturbance, was formed in [1,4], where I/P transducer is current-pneumatic transducer and  U and Xi are manipulated and controlled variable, respectively.
[image: image7.png]> PFits)

L

Set paint h

PI Controller 1

>l PIg

Set point t ’—'

PI Controller 2

Ry

Transport
Delay 3

Qut1 >
Scoped
Disturbance
Gain3
ut [: Lafs 0.1
-
-{ 6 >| 5 + — 63st1
Add2
T
(UPYTransducer 1 Valve 1 Gaind g
F.I,w
[ 01
g 83s+1
Add3 o
Gain2
>+ 0.15
g L
r 105+
A o Transport
Delay 1
u2
P+ 04
of: o> - g
105+
(P)Transducer 2 Valve 2 e — Tt
Delay 2

Xit=h

Xia=t

Scope

Scopeh

Scope t




Fig. 2 Block diagram of the control system of level and temperature                              in decoupled flow tank with introduced disturbance
3.1 First case – increasing of level and temperature (h+,t+)
Hot water on temperature of 100°C is adding into tank with flow rate which scaled values is between (1–4). Exact ratio between disturbance and its scaled value can be determined experimentally. That implies its scheduling till equalization of process responses obtained from simulations with its real equivalent, whereupon it can be related with certain value i in equation (2). Effects of disturbance on the process outputs depend on terms in transfer function matrix, too. But for completing definition of disturbance effect, relation between fluid volume and temperature should be calculated and it is presented through the correction factor Kf. This is carried out using law of conservation of energy, which for this flow tank is expresed by equation tr+1=(Vrtr+Vdtd)/( Vr+Vd), where tr+1 – temperature of blend after influence of disturbance, tr – temperature of blend before influence of disturbance, td – temperature of added water, Vr – volume in flow tank, Vd – volume of added water. Now correction factor is Kf=[(tr+1  ̶  tr)/ tr]·100.
In this first case Kf=2,3. Simulations of four values of disturbance intensity, without gains 3 and 4 in Fig. 2, give level in flow tank in Fig. 3, while Fig. 4 contains enlarged view of temperature in this tank.
[image: image8.emf]0 200 400 600 800 1000 1200 1400

0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1

1.1

1.2

Time (s)

Level (m)

d1 d2 d3

d4


Fig. 3 Level in flow tank under influence of disturbance (h+,t+)
[image: image9.emf]0 200 400 600 800 1,000 1,200 1,400

25

27

29.5

30

31

Time (s)

Temperature (°C)

d1

d2

d3

d4


Fig. 4 Enlarged view of temperature in flow tank under influence of disturbance (h+,t+)
3.2 Second case - increasing of level and decreasing of temperature (h+,t-)
Equal volumes of mixed water and ice as in first case, but here on temperature of 0°C are adding into tank. Therefore, level is the same like in first case (Fig. 3) and temperature, obtained after simulations of four values of disturbance intensity, without gains 3 and 4 in Fig. 2, is shown in Fig. 5. In this case correction factor is Kf=-1.
[image: image10.emf]0 200 400 600 800 1,000 1,200 1,400

25

27

29.5

30

30.5

Time (s)

Temperature (°C)

d1

d2

d3

d4


Fig. 5 Enlarged view of temperature in flow tank under influence of disturbance (h+,t-)
3.3 Third case - decreasing of level and increasing of temperature (h-,t+)
This case describes drop flow through the valve 1, and because of that, at the initial moment, more water come from valve 2. Temperature of that water is 70°C and it increases temperature of blend tr. In this case correction factor is Kf=1,3. Simulations carried out according block diagram in Fig. 2 give level and temperature in flow tank shown in Fig. 6 and 7, respectively.
[image: image11.emf]0 200 400 600 800 1,000 1,200 1,400

0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1

1.1

1.2

Time (s)

Level (m)

d4

d3

d1

d2


Fig. 6 Level in flow tank under influence of disturbance (h-,t+)
[image: image12.emf]0 200 400 600 800 1,000 1,200 1,400

28

28.5

29

29.5

30

30.5

31

Time (s)

Temperature (°C)

d1

d2

d3 d4


Fig. 7 Enlarged view of temperature in flow tank under influence of disturbance (h-,t+)
3.4 Fourth case – decreasing of level and temperature (h-,t-)
Drop flow (equal as in third case) through the valve 2 was simulated here, and because of that, at the initial moment, more water come from valve 1. Temperature of that water is 15°C and it decreases temperature of blend tr. In this case correction factor is Kf=-0,5. Level is the same like in third case (Fig. 6) and temperature is shown in Fig. 8.
[image: image13.emf]0 200 400 600 800 1,000 1,200 1,400

29

29.5

30

30.5

Time (s)

Temperature (°C)

d1 d2

d3 d4


Fig. 8 Enlarged view of temperature in flow tank under influence of disturbance (h-,t-)
3.5 Discussion of results
As stated, limits within which response can be taken as good are ±10%. Thus, for level limits are (0,9÷1,1)m and for temperature (27÷33)°C. To determine settling time after influence of disturbance Ts, steady state error was defined εs=±2%. It is: for level εs=(0,98÷1,02)m and for temperature εs=(29,4÷30,6)°C. Taking into account these limits and simulated responses, it is noticeable that disturbance has larger influence to the level. Numerous values of disturbance intensity were varied and it was found that responses weren't overcome limits up to forth level of intensity, as it shown in Fig. 3-8. Another favorable result is that responses which overcome steady state error have very short settling time from the start of disturbance (highest in the level in first case Ts=39,5 s). Based on this, after mentioned scaling, the real values of water volume and its temperature, that can be added into flow tank as disturbance without undermining the good work of process, can be determined.
4. CONCLUSION
This research supports efforts in forming general model for determining range for certain kind of disturbance that can be compensated by the feedback control system. In this regard, general model of rising disturbance in square form that occur in equal intervals has been derived. Considering flow tank, rejection will be better with larger Q3max, because for higher disturbance intensities drainage flow rate should be higher, too. Regarding temperature, larger flexibility of control system can be enabled with valves which satisfy ratio Q3max=2·Q1max=2·Q2max.
REFERENCES
[1] Prodanović, S., Nedić, N. (2014). Non-conventional control of level and temperature in the flow tank. COMETa2014 Conference Proceedings, Jahorina, B&H, p. 421-428. (in Serbian)
[2] Skogestad, S. and Postlethwaite, I. (2005). Multivariable Feedback Control: Analy​sis and Design, 2nd ed. John Wiley & Sons, Chichester.
[3] Morilla, F., Garrido, J., Vázquez, F. (2013). Multivariable decoupling control. Re​vista Iberoamericana de Automática e Informática industrial, vol. 10, p. 3-17. (In Spanish)
[4] Prodanović, S. Lj., Nedić, N. N. and Brašić, V. S. (2014). Some Considerations of Mutual Coupling in Multivariable Processes, SAUM 2014 Conference Proceedings, Niš, Serbia, p. 257-260.
[5] Filipović V. Ž., Nedić N. N. (2008). PID Controllers, University of Kragujevac, Faculty of Mechanical Engineering, Kraljevo. (in Serbian).
[6] Menani, S. and Koivo, H. (2003). New approach on the automatic tuning of multivari​able PI controllers using relay feedback.  International Journal of Systems Science, vol. 34, no. 2, p. 93-110.

LOGO WILL BE HERE








� Mr Saša Prodanović, East Sarajevo, University of East Sarajevo, Faculty of Mechanical Engineering,


  sasa.prodanovic77@gmail.com


� Prof. dr Novak Nedić, Kraljevo, Faculty of Mechanical and Civil Engineering in Kraljevo,  


   nedic.n@mfkv.kg.ac.rs





6
5

_1493034833.unknown

_1493035000.unknown

_1493031657.unknown

