KRATAK  PREGLED TEHNIKA I VJEŠTINA ZA MINIMIZACIJU POTROŠNJE VODE U INDUSTRIJI
SUMMARY OF TECHNICS AND SKILLS FOR MINIMIZING WATER CONSUMPTION IN INDUSTRY

Božidarka Arsenović 

 „ Orao“ a.d., Bijeljina Republika Srpska

IZVOD
Voda je jedinstven i nezamjenjiv prirodni resurs ograničenih količina. Kako su svi oblici života i sve ljudske aktivnosti, više ili manje vezane za vodu, iz toga jasno proizlazi važnost odnosa prema vodi.  To se odražava i na cijenu vode koja je iz godine u godinu sve veća.  Kada su industrijske vode u pitanju, moguća su dva osnovna pravca djelovanja:

• smanjenje količine upotrijebljene vode u tehnološkom procesu (ponovnim iskorištavanjem, smanjenjem gubitaka u mreži i sl.)

• smanjenje troškova zahvatanja i raspodjele vode raznim tehničkim rješenjima (regulacijom dovoda,  sniženjem pritiska u mreži, automatizacijom rada i nadzora raspodjele vode, zamjenom pitke vode tehnološkom i sl.) Upravljanje vodom u industriji prerasta u svojevrsni pokret pod motom “svježe vode - nula”. Cilj je vodu koja jednom uđe u sistem stalno vraćati, uz odgovarajuću obradu, tako da se uzimanje svježe vode svede na minimum.  S obzirom da se voda u procesima koristi i kao sirovina i kao energent, te se pri tome zagađuje, jasno je da utiče na efikasan rad procesa. U radu je prikazan kratak pregled tehnika i vještina za minimizaciju potrošnje vode u industriji, kao i osvrt na pitanje koliko je naša industrija spremna za provođenje IPPC direktiva i BAT tehnika, kada su u pitanju vode u procesima.
ABSTRACT
Water is a unique and irreplaceable natural resource of limited quantity. Since all forms of life and all human activity are more or less related to water, it clearly shows how much it  is important to people. This is also reflected in the price of water which goes up every year.

 When the question of  industrial water is concerned, there are two basic lines of action:
• reducing the amount of water used in technological process (re-using, reducing water supply network losses, etc.)

• reducing the cost of water abstraction and distribution by using  various technical solutions (regulation of supply, by reducing the pressure in the network, by automation and surveillance of distribution of water, by substituting drinking water for process water, etc.). Water management in the industry turns into a kind of movement under the slogan "Fresh water - zero" . The aim is that once the water enters the system it must be sending back to system over and over again, with suitable processing, so that the intake of fresh water is minimized. Since the water in the processes is  used both as a raw material and as an energy source, and that it  is at the same time being polluted, it is clear that it affects the efficiency of the whole process. This paper presents a brief overview of the techniques and skills to minimize water consumption in the industry, and it also deals with  the question of how our industry is ready for the implementation of the IPPC directivse and the best available techniques, concerning water in the processes.
Ključne riječi: upravljanje vodom, procesi, ponovna upotreba vode 
Key words: water management, processes, reuse of water
