Употереба материјала на бази поливинил силоксана при одређивању међувиличних односа

Марко Милосављевић1, Душан Моравчић1, Недељка Ивковић2

1-Факултет Медицинских наука, Универзитет у Крагујевцу, drm.milosavljevic@yahoo.com

1-Факултет Медицинских наука,  Универзитет у Крагујевцу, dusanmoravcic@gmail.com

2-Медицински факултет Фоча, Универзитет Источно Сарајево, neda.ivkovic@yahoo.com

Увод:	Одређивање међувиличних односа је једна од најзначајнијих фаза у изради протетске надокнаде. Као последица неадекватног одређивања међувиличних односа могу настати  грубе грешке у оклузији финалних надокнада. Поливинил силоксан је материјал из групе адиционих силикона, његова формула омогућава већу прецизност при регистровању МВО и смањује нелагодност код пацијента. Овај материјал постиже адекватну тврдоћу за 60 секунди и не узрокује термичке надражаја као код методе са разгрејаним  воском. Циљ овог рада је приказ употребе поливинил силоксана у изради  мобилне надкнаде.

Приказ:	Пацијенткиња старосне доби 60 година долази на нашу клинику ради протетског збрињавања терминалне крезубости. Након спроведених дијагностичких процедура утврђена је индикација за израду доње парцијалне скелетиране протезе са ливеним кукицама. Након спроведених клиничких и лабораторијских поступака приступило се фази одређивања међувиличних односа. При одређивању међувиличних односа терапеут мора размотрити утицај фактора који утичу на стабилност положаја физиолошког мировања, прецизност одређивања положаја централне релације и потенцијални утицај резилијенце слузокоже. Резилијенца није једнака у свим регијама усне дупље те постоји могућност неравномерног угибања током фазе одређивања међувиличних. На седлима металног скелета израђен је воштани бедем. Са оклузалне површине бедема уклоњено је неколико милиметара воска како би се обезбедио простор за уношење масе на бази поливинил силоксана (Deli Bite ® HappiDen, Јужна Кореја). Након уношења пасте формирају се импресије у претходно одређеном положају централне релације.

Закључак: Овим поступком се превенира компресија слузокоже и евентуалне касније грешке у оклузији дефинитивне надокнаде. Економски разлози као и необученост зубних техничара могу представљати узроке због којих се ови материјали не примењују учесталије.

Kључне речи:поливинил сликоксан, међувилични односи, парцијална протеза

Application of polyvinyl siloxane materials for recording jaw relation

Marko Milosavljević1, Dušan Moravčić1, Nedeljka Ivković2

1-Faculty of Medical science, University of Kragujevac, drm.milosavljevic@yahoo.com

1-Faculty of Medical science, University of Kragujevac, dusanmoravcic@gmail.com

2-Medical faculty Foca, University of Istocno Sarajevo, neda.ivkovic@yahoo.com

Introduction:  Recording jaw relation is one of the most important phases during prosthodontics therapy. As a result of inadequate recording jaw relation, rough errors in occlusion of final restorations may occur. Polyvinyl siloxan is material from the group of addition silicons, and it is formulated to provide enhanced accuracy and reduce discomfort to the patient during  jaw relation recording. This material achieves an adequate hardness in 60 seconds, and doesn't cause thermal stimulus as it is a case with wax procedures. The aim of this paper is to present application of polyvinyl siloxan during production of  removable partial denture.

Case report:  A female patient, 60 years old, came to our clinic for prosthetic treatment. After diagnostic procedures were done, indication for lower removable partial denture was made. After several clinical and laboratorial phases had been done recording jaw relation was preformed. During the recording jaw relation clinician must consider the impact of factors affecting the stability of the physiological rest position, the accuracy of central relation position and the potential impact of resilience of the mucosa. Resilience of the mucosa is not the same in all regions of the jaws. Over the retentive part of framework wax tray was placed. From the occlusal part of the tray a few millimeters of wax was removed forming place for polyvinyl siloxane material (Deli Bite ® HappiDen, South Korea). After the material had been placed bite registration was preformed.

Conclusion:  This procedure prevents mucosa compression and occlusal errors of definitive restorations. Economic reasons and lack of training of dental technicians might be causes of rare usage of this material.

Key words: polyvinil siloxane, jaw relation, removable partial denture