Study of the Temperature Coefficients of Amorphous and Polycrystalline Silicon Photovoltaic Modules Under Real Operating Conditions,

author: Assoc. Prof. Dr. Plamen Tsankov, Technical University of Gabrovo, Bugarska

Abstract:

The article presents the results of study of the temperature coefficients of amorphous and polycrystalline silicon photovoltaic modules under real operating conditions in 10 kWp grid connected photovoltaic system in Technical University of Gabrovo, Bulgaria.

Computer processing and rearranging the monitoring data are carried out to separate the measurements into groups of approximately equal amounts of radiation in the plane of the modules from 100 to 1000 W/m2 with an interval of 100 W/m2. Graphical representation of the power, voltage and current as a function of the temperature at same level of solar radiation for the two types of modules are given. Change of power, voltage and current as a function of the temperature were obtained using linear regression functions. Operating temperature coefficients of amorphous and polycrystalline photovoltaic modules based on analytic functions are established.