DIFFERENTIAL SCANNING CALORIMETRY ANALYSIS OF

FROZEN PORK MEAT

Danica Savanović1*, Radoslav Grujić2, Sladjana Rakita3, Vesna Gojković2, Dragan Vujadinović2

1Faculty of Technology, University of Banja Luka

2Faculty of Technology, University of East Sarajevo

3Institute of Food Technology, University of Novi Sad

*The corresponding author: Danica Savanović, email: danicasavanovic@yahoo.com

Differential scanning calorimetry (DSC) is a thermal analysis technique used to study the thermal behaviors of different food systems. The aim of this work was to determine the freezing points (Tcon, Tc, Tcend), the melting points (Tmon, Tm, Tmend), enthalphy of crystallization (ΔHc) and enthalphy of melting (ΔHm) of pork meat, using the differential scanning calorimetry (DSC) method. Samples of pork meat were scanned at five rates (2, 5, 10, 15, 20 °C/min). The percent of freezable water (FW) was calculated using the area of the integrated endothermic peak at the range of 0 °C. It was observed that the crystallization peaks increased with an increasing scanning rate. The cooling rate affected the onset (Tcon), peak (Tc) and end temperatures (Tcend) of crystallization process of pork meat (p<0.05). However, the enthalpy of crystallization (ΔHc) did not change with a changing cooling rate (p>0.05). The influence of the heating rate on the enthalpy of melting (ΔHm), onset (Tmon), peak (Tm) and end temperatures (Tmend) of melting process was reported, as well as the contents of freezable and unfreezable water in pork meat, depending on the scanning rates. The width of the melting peaks decreased with a decreasing heating rate, which resulted in a significant (p<0.05) change of the melting enthalpy (ΔHm), from 213.60 J/g for the rate of 20 °C/min to 193.23 J/g for the rate of 2 °C/min. Analogously to the enthalpy of melting, the significant (p<0.05) increase in freezable water content was recorded in frozen pork meat, from 57.94% for the rate of 2 °C/min to 64.05% for the rate of 20 °C/min.

Key words: DSC; pork meat; crystallization; melting