Међународни научни скуп Савремени материјали –  Бања Лука.

International Scientific Conference Contemporary Materials – Banja Luka 

УТРОШАК ЕЛЕКТРИЧНЕ ЕНЕРГИЈЕ И ЕЛЕКТРОДНОГ МАТЕРИЈАЛА ПРИ ЕЛЕКТРОКОАГУЛАЦИЈИ ФОСФАТА ИЗ ОТПАДНЕ ВОДЕ
Борислав Н. Малиновић, Тијана Ђуричић, Александра Миловановић
[image: image1.emf]Универзитет у Бањој Луци, Технолошки факултет, Степе Степановића 73, 
78000 Бања Лука, borislav.malinovic@unibl.rs 
Сажетак: Овај рад се базира на испитивању утицаја густине струје и дужине трајања електролизе на ефикасност уклањања фосфата, потрошњу електричне енергије и електродног материјала, при електрокоагулацији отпадне воде оптерећене фосфатима. Испитивање је проведено у шаржном електрохемијском реактору на синтетички припремљеној отпадној води почетне концентрације (0=50 g/L (P-PO4). Експериментални подаци указују на вишу ефикасност алуминијумске електроде и мањи утрошак електричне енергије (Wsp=106,9 kWh/m3), у односу на жељезну електроду (Wsp=155,1 kWh/m3), при истим експерименталним условима. Потрошња електродног материјала рачуната је у складу са Фарадејевим законом и расте са са порастом густине струје.
Кључне ријечи: електрохемијски третман, анода, фосфат
CONSUMPTION OF ENERGY AND ELECTRODE MATERIAL AT ELECTROCOAGULATION PHOSPHATE FROM WASTEWATER
Abstract: This work is based on the examination of the efect of current density and electrolysis duration related to the phosphate removal efficiency, energy and electrode materials consumptions, in electrocoagulation wastewater loaded with phosphates. Research is conducted in a batch electrochemical reactor on synthetic prepared wastewater with initial phosphate concentration 50 mg/L. Experimental data indicate a higher efficacy of aluminum electrode and the lower power consumption (Wsp=106,9 kWh/m3), compared to the iron electrode (Wsp=155,1 kWh/m3), in the same experimental conditions. The consumption of electrode material is calculated in accordance with Faraday's law, and is increased with increasing current density and duration of electrolysis. 
Keywords: Electrochemical treatment, anode, phosphate

