Упутство за ауторе радова 

CONSUMPTION OF ENERGY AND ELECTRODE MATERIAL AT ELECTROCOAGULATION PHOSPHATE FROM WASTEWATER
УТРОШАК ЕЛЕКТРИЧНЕ ЕНЕРГИЈЕ И ЕЛЕКТРОДНОГ МАТЕРИЈАЛА ПРИ ЕЛЕКТРОКОАГУЛАЦИЈИ ФОСФАТА ИЗ ОТПАДНЕ ВОДЕ 
Borislav N. Malinovic, Tijana Djuricic, Aleksandra Milovanovic
University of Banja Luka, Faculty of Technology, 73 Stepe Stepanovica Street, 78000 Banja Luka, B&H,[image: image1.jpg]



borislav.malinovic@unibl.rs 

Abstract: This work is based on the examination of the efect of current density and electrolysis duration related to the phosphate removal efficiency, energy and electrode materials consumptions, in electrocoagulation wastewater loaded with phosphates. Research is conducted in a batch electrochemical reactor on synthetic prepared wastewater with initial phosphate concentration 50 mg/L. Experimental data indicate a higher efficacy of aluminum electrode and the lower power consumption (Wsp=106,9 kWh/m3), compared to the iron electrode (Wsp=155,1 kWh/m3), in the same experimental conditions. The consumption of electrode material is calculated in accordance with Faraday's law, and is increased with increasing current density and duration of electrolysis.
Сажетак: Овај рад се базира на испитивању утицаја густине струје и дужине трајања електролизе на ефикасност уклањања фосфата, потрошњу електричне енергије и електродног материјала, при електрокоагулацији отпадне воде оптерећене фосфатима. Испитивање је проведено у шаржном електрохемијском реактору на синтетички припремљеној отпадној води почетне концентрације (0=50 g/L (P-PO4). Експериментални подаци указују на вишу ефикасност алуминијумске електроде и мањи утрошак електричне енергије (Wsp=106,9 kWh/m3), у односу на жељезну електроду (Wsp=155,1 kWh/m3), при истим експерименталним условима. Потрошња електродног материјала рачуната је у складу са Фарадејевим законом и расте са са порастом густине струје.
Keywords: Electrochemical treatment, anode, phosphate
Kључне ријечи: електрохемијски третман, анода, фосфати 
INTRODUCTION
Phosphorus is a natural nutrient, unavoidable in surface water which appears almost always as a phosphate ion [1]. Phosphate ions could be in the form of the orthophosphates, condensed phosphates (pyro, meta and other polyphosphates) or organically bound phosphates. The origins of the phosphates are also diverse. Large quantities of phosphates can still be found in various detergents and cleaning products especially in less developed countries which lack appropriate legislative on this problematic. Phosphates are also used for water treatment in water heaters in industries and heating plants. Especially extensive is the application of the phosphates in the agriculture as the fertilizer, where, ifextensively used, they are carried toward surface  water by rain, snow melting or other precipitations, as well as by the irrigation water. However, although precious nutrient highly valuable for the agriculture, phosphate released in extensive quantities into the surface waters, causes euthrofication [2].

In Republic of Srpska phosphate levels are monitored as total phosphorus in wastewater under the relevant regulations, depending on whether it is a discharge of wastewater into surface waters [3] or sanitary sewer system [4]. Monitoring of rivers and lakes periodically conducted by the Ministry of Agriculture, Forestry and Water Management, through authorized laboratories. For confirmation of quality use the appropriate Regulation [5] which has somewhat stricter criteria, particularly for high-class water quality.
Removal of the phosphate from the drinking waters and also from the wastewater started to draw the attention of the scientists and professionals from the 1960s [6]. Classical techniques for phosphate removal from this period are classified as: physical, chemical and biological. Physical methods remain quite expensive, and most of them, particularly electro-dialysis or the reverse osmosis are very inefficient, with phosphate removal only up to approximately up to 10% [6]. Chemical methods, par contrary, were more often and more widely used especially coagulation by aluminum sulphate or iron chloride. However, they also are expensive for maintenance due to problems with sludge managements and effluent neutralisation. In the third group of methods, the biological ones, efficiency is around 30% which also demands additional treatments [6]. The adsorption methods as means of combined treatment with the biological ones, were long considered, and they still are. Nevertheless, they also seem to be too complicated with necessity for following the number of factors influencing the process, thus there are continues efforts to find new removal techniques [7].
As a perspective methods have proven electrochemical methods of wastewater treatment [8]. The electrochemical technologies have attracted a great deal of attention, because of their versatility, which makes the treatment of liquids, gases and solids possible and environmental compatibility. These methods are electrodialysis, electrooxidation, electroflocculation and electrocoagulation [9]. In recent years, investigations have been focused on the treatment of wastewaters using electrocoagulation owing to the increase  in environmental restrictions on wastewater [10].
Electrocoagulation process of wastewater, and consequently water containing phosphates, has become very attractive for research in the last two decades. Initially, the research was based on the research of feasibility and applicability of the process of electrocoagulation treatment of wastewater containing phosphates to the research of the basic parameters such as current density, electrolysis duration, temperature, initial phosphate concentration, the type and concentration of supporting electrolyte and their optimization [11-16].

After that was carried studies with different types of electrodes such as mild steel, stainless steel, aluminum ore, zinc, copper, etc. and was carried to compare them [6, 17-19]. Process performance was achieved as in the batch reactor [10], in a flow reactor with recirculation [8, 20], as well as in reactors which combine the electrocoagulation, electroflotation and the electrooxidation process [21].
Some studies have investigated reducing power consumption, which is one of the disadvantages of this method, so the electrodes are directly powered energy of photovoltaic solar cells [22]. Recent work went a little further, the scaling process and utilization of sludge generated in the treatment of industrial waste water into the respective purposes [23, 24].
Attour et al. in their research indicate that the phosphate removal efficiency from wastewater at Al electrode was 90% after 15 minutes of treatment [10]. After 16 minutes of tratment energy consumption was 14,37 kWh/m3 and the removal efficiency 94,4%, while for 25 minutes energy consumption was 22 kWh/m3, and the removal efficiency was 98,6%.
Behbahani et al. made a comparison between the phosphate removal efficiency by using Al and Fe electrodes [11]. At pH=3 are achieved maximum removal efficiency, which amounts to 100% for Al electrodes  and 84,7% for Fe electrodes. This highest removal efficiency at a pH=3 was obtained at a initial phosphate concentration of 400 mg/L and at a current density of 250 A/m2 for both types of electrodes. The turbidity of the solution is higher for Fe electrode. In the sludge was found a greater amount of PO43- for Al electrode, which  indicate higher removal efficiency [11].
This research is focused on the electrocoagulation treatment of wastewater loaded with phosphates, with emphasis on energy efficiency of the process. Electrocoagulation process includes the separation of solid particles from the solution, which is carried out with the formation of coagulants "in situ" by electrolytical dissolving the electrode of aluminum or iron. The method belongs to the group of electrochemical technologies, and recent decades increasingly gaining in importance because of its efficiency, simplicity and cost effectiveness.
2. EXPERIMENTAL 
Experimental part of the research is contained by the application of electrocoagulation proces for removing of phosphates from simulated wastewater. Experimental setup is shown on the Figure 1. The batch electrochemical reactor of 250 cm3 capacity made from polypropylene with constant mixing was used, combined with two electrodes of the same area surface. The dimensions of the electrodes are 40x40x1 mm. The total effective area of one electrode is 17,2 cm2, and the distance between 2 cm. Electrodes were connected to digital power source (Atten, APS3005SI; 30V, 5A) with the potentiostatic and galvanostatic operating options.
[image: image12.emf]
Figure 1. Schematic view of electrochemical reactor

1 – source of electric power; 2 – anode; 3 – cathode; 4 – magnetic stir bar; 5 – electrochemical cell; 

6 – magnetic stirrer)

All the experiments were performed at an initial temperature of sample t=20°C and initial volume synthetic wastewater of 200 cm3. Before each treatment was set the current density to a certain value. Aluminum electrodes were prepared as follows:
· Cleaning electrodes with detergent and water;

· Immersion in 1M NaOH;

· Rinse with water;

· Immersion in acetone and removing surface grease;

· Rinse with distilled water.
Iron electrodes were prepared as follows:
· Cleaning with HCl (1:1) for the removal of corrosion productes;

· Rinse with water;

· Cleaning with detergent;

·  Immersion in HCl (1:1);

·  Immersion in acetone and removing surface grease;

·  Rinse with distilled water.
2.1 Materials and chemicals
All the used chemicals are of p.a. purity. For prepairing solution in all experiments was used distilled water. In order to prepare synthetic wastewater of the particular concentration we used commercially available 99,3% potassium dihydrogen phosphate (KH2PO4), „Kemika“, Croatia. As supporting electrolyte was used 99,5% sodium chloride (NaCl), „Lachner“, Czech Republic.
The electrode materials are:
· aluminum (Al 99.5/EN AW-1050 A; max. 0,25% Si, max. 0,40% Fe, max. 0,05% Cu, max. 0,05% Mn, max. 0,05% Mg, max. 0,05% Ti, max. 0,07% Zn, min. 99,50% Al).
· steel (EN 10130-91; max. 0,08% C, max. 0,12% Cr, max. 0,45% Mn, max. 0,65% Si)
Before each experiment, in accorcdance to the literature data, was adjusted the optimum pH-value of the synthetic wastewater (pH=3) with  HCl [11, 25, 16].
Treated synthetic wastewater after each experiment was collected and filtered through filter paper „Filtres Fioroni“, France (Ref.:0015A00007; size:125 mm; qty.: 1000). Analysis of the treated synthetic wastewater was performed spectrophotometrically  (λmax=410 nm) in the UV-VIS spectrophotometer (Perkin-Elmer, LAMBDA 25) according to a standard method [26]. Prepared samples of synthetic wastewater before and after treatment were analyzed on the following parameters: phosphorus content (P-PO4), total dissolved substances (TDS ), pH, electrolyte resistivity (ρ) and conductivity (κ). TDS, ρ and κ are determined on the multimeter (Consort C861), and a phosphorus concentration by spectrophotometry, as already stated.
3. RESULTS AND DISCUSSION
Results for the phosphate removal by electrocoagulation are expressed by mass concentration (mg/L) and phosphate removal efficiency, Eu, in percent calculated by the followed equation:
	
[image: image2.wmf][

]

%

100

´

-

=

i

f

i

U

E

g

g

g


	(1)




There the γi and γf are the initial and the final concentration of the phosphate in mg/L. The phosphate removal efficiency is research depending on the current density as a function of electrolysis duration to determine the optimum process conditions.
Cost analysis electrochemical treatment of wastewater shows that the main cost are the investment costs and the costs of energy for electrolysis. To these costs were lower as compared to the designed capacity, it is necessary to achieve such conditions by which to achieve maximum removal of pollutants per unit time and per unit volume of the reactor, with minimal energy consumption. Therefore, the energy consumed to remove pollutants unit is one of the most important technological performance indicators of electrochemical reactor, because it affects the overall cost of treatment. Specific energy consumption (Wsp) is calculated by the following equation:
	
[image: image3.wmf]ú

ú

û

ù

ê

ê

ë

é

´

=

ò

ta

polu

r

sp

kg

kWh

m

dt

IE

W

tan

0

1000

3600

q


	(2)




This is very important due to the fact that the electrochemical treatments long been neglected because of high electricity consumption. However, the application of new reactor construction, the membrane and electrode material, and because of the stricter conditions for the release of pollutants, electrochemical treatment is in expansion.
Theoretical consumption of anode material is calculated in accordance with Faraday's law and expresed by the following equation:
	
[image: image4.wmf][

]

g

Q

q

m

´

=


	(3)


There the q- electrochemical equivalent (g/Ah), a Q- amount of electricity (Ah).
Figure 2 show the influence of the electrolysis duration (2,5; 5; 10; 30; 40 min) on the phosphate removal efficiency by using iron and aluminum electrodes, respectively. A current density used was j=1 mA/cm2 which, in accordance to the literature, was cited as the optimal current density [16]. Experiments were performed without the presence of supporting electrolyte and the initial concentration of phosphate γ0=50 mg/L. It can be seen that the aluminum electrode has a slightly greater removal efficiency (98,9%) compared to the iron electrode (93,5%), for 40 minutes of treatment.

[image: image5.png]E, (%)

100
90
80
70
60
50
40
30
20
10

t(min)




Figure 2. Eu in relation to the electrolysis duration for iron and aluminum electrodes 

(j=1 mA/cm2, t=40 min, γ0=50 mg/L, pH=3)
Influence of the current density (0,25; 0,5; 1,0; 2,0 mA/cm2) on removal efficiency is shown at Figure 3 (γ0=50 mg/L, γNaCl=0,25 g/L and t=10 min). Maximum efficiency is achieved at a current density of j=2 mA/cm2, for iron electrode is Eu=69,5% and for aluminum Eu=92,1%, while for lower values of the current density removal efficiency there is no significant difference.
[image: image6.png]Eu (%)

100
90
80
70
60
50
40
30
20
10

0,5

1
j(mA/cm?)

15

#Fe:Fe
WAI-Al




Figure 3. Efficiency at varying current densities ((0=50 mg/L, (NaCl=0,25 g/L)
Because of the low differences in the achieved efficacies and a significantly higher difference in specific energy consumption at high current densities, in further research is used current density of j=0,25 mA/cm2.
Figures 4 and 5 show the dependence of the specific energy consumption from the applied current density. At  j=0,25 mA/cm2 specific energy consumption was Wsp=2,15 kWh/m3 for iron electrode, and it was Wsp=4,72 kWh/m3 for aluminum electrode. For the maximum used current density of j=2 mA/cm2 specific energy consumption was Wsp=155,1 kWh/m3 (Fe) and Wsp=106,94 kWh/m3 (Al) , respectively.
[image: image7.png]Wsp (kWh/m?3)

120

100

80

60

40

20

y=59,761x-11,677
R?=0,9952

05

i(mA/ecm?2)




Figure 4. Specific energy consumption in relation to the current density using aluminum electrodes 
(γ0=50 mg/L,γNaCl=0,25 g/L) 
[image: image8.png]Wsp (kWh/m3)

160

140

120

100

80

60

40

20

y=89,814x- 30,21

j(mA/cm?)





Figure 5. Specific energy consumption in relation to the current density using iron electrodes 
(γ0=50 mg/L,γNaCl=0,25 g/L) 
In addition to the specific energy consumption, one of the most important parameter influencing the economic feasibility of electrocoagulation process is the consumption of anode material during the process. The following illustration provides an overview of the theoretical consumption of anode material calculated in accordance with Faraday's law. Figure 6 shows that during the electrocoagulation process the iron anode is more ''consumes'' than the aluminum anode. Figures 7 and 8 show the difference in the consumption of anode materials at different current densities. At a current density, j=0,25 mA/cm2 was consumed 0,004 g of the iron anode, and at  j=2 mA/cm2  to 0,031 g, for 40 minutes of treatment (Figure 7). At the same duration of the treatment consumes less aluminum anode (0,002 g) at j=0,25 mA/cm2, or 0,015 g for j=2 mA/cm2 (Figure 8).
[image: image9.png]0,004
0,003
=

0,002

0,001

*
*
|
* |
|
01 02 03 04 05 06

t(h)

0,7

o Fefe
HALAI




Figure 6. Theoretical consumption of anode material in relation to the electrolysis duration 
(j=0,25 mA/cm2, γ0=50 mg/L, γNaCl=0,25 g/L)
[image: image10.png]m(g)

0,035
0,03
0,025
0,02
0,015
0,01
0,005

0,25

itmA/em?)





Figure 7. The difference in the consumption of iron anode at different current densities
 (γ0=50 mg/L, γNaCl=0,25 g/L, t=40 min.)
[image: image11.png]0,016
0,014
0,012
0,01

% 0,008
0,006

0,004
0,002

0,25 2
i(mA/em?)





Figure 8. The difference in the consumption of aluminum anode at different current densities
 (γ0=50 mg/L, γNaCl=0,25 g/L, t=40 min.)
4. CONCLUSION
The study has shown that the electrocoagulation  is an efficient process for removing phosphates from wastewater, where the aluminum electrode shows slightly higher efficacy. Also, for the specific energy consumption and the electrode material, with aluminum electrode is achieved lower power consumption and anode material, as compared to the iron, under the same experimental conditions.
4. REFERENCES
[1] C. D. House, Standard methods for the examination of water and wastewater, Washington: American Public Health Association Publisher, 2012..

[2] R. M. Harrison,  Pollution: causes, effects and control, Royal Society of Chemistry, 2013.

[3] Službeni Glasnik Republike Srpske, Pravilnik o uslovima ispuštanja otpadnih voda u površinske vode, Sl. Gl. RS 44/01, Banja Luka: Službeni Glasnik republike Srpske, 2001.

[4] Službeni Glasnik Republike Srpske, Pravilnik o uslovima ispuštanja otpadnih voda u javnu kanalizaciju, Sl. Gl. RS 44/01, Banja Luka: Službeni Glasnik republike Srpske, 2001.

 [5] Službeni Glasnik Republike Srpske, Uredba o klasifikaciji voda i kategorizaciji vodotka, Sl. Gl. RS 42/01. Banja Luka: Službeni Glasnik republike Srpske, 2001..

[6] S. Vasudevan, et al., Studies on the removal of phosphate from drinking water by electrocoagulation process,  Industrial & Engineering Chemistry Research, Vol. 47 (2008) 2018-2023.

[7] N. Boujelben, et al., Phosphorus removal from aqueous solution using iron coated natural and engineered sorbents, Journal of Hazardous Materials , Vol. 151(1) (2008) 103-110.

[8] A.H. El-Shazly & M. A Daous, Kinetics and performance of phosphate removal from hot industrial effluents using a continuous flow electrocoagulation reactor, International Journal of Electrochemical Science, Vol. 8 (2013) 184-194. 
[9] M. B Miranzadeh, et al., Electrocoagulation process for removal of adenosine-5'-monophosphate and sodium hexamethaphosphate from synthetic wastewater, International Journal of Physical Science, Vol. 7(10) (2012) 1571-1577.
[10] A. Atour, et al., Influence of operating parameters on phosphate removal from water by electrocoagulation using aluminum electrodes, Separation and purification tehnology, (2014) 124-129.

[11] M. Behbahani, et al., A comparasion between aluminium and iron electrodes on removal of phosphate from aqueous solutions by electrocoagulation process, International Journal of Environmental Research, Vol. 5(2) (2010.) 403-412.

[12] A. Shalaby, et al., Phosphate removal from wastewater by electrocoagulation using aluminium electrode, American Journal of Environmental Engineering and Science, Vol. 1(5) (2014) 90-98.

[13] N.Bektas, et al., Removal of phosphate from aqueous solutions by electrocoagulation, Journal of Hazardous Materials, Vol 106B (2014) 101-105.

[14] S. Irdemez, et al., Optimization of phosphate from wastewater by electrocoagulation with aluminium plate electrodes, Separation and Purification Technology, Vol. 52(2) (2006) 394-401.

[15] S. Irdemez, et al., The effects of pH on phosphate removal from wastewater by electrocoagulation with iron plate electrodes, Journal of Hazardous Materials, Vol. 137(2) (2006) 1231-1235.

[16] S. Irdemez, et al., The effects of current density and phosphate concentration on phosphate removal from wastewater by electrocoagulation using aluminium and iron plate electrodes,  Separation and Purification Technology, Vol. 52 (2006) 218-223.

[17] S. Vasudevan, et al., Remediation of phosphate-contaminated water by electrocoagulation with aluminium, aluminium alloy and mild steel anodes, Journal of Hazardous Materials, Vol.  164 (2008) 1480-1486.

[18] S. Vasudevan, et al., Optimization of the process parameters for removal of phosphate from drinking water by electrocoagulation,  Desalination and Water Treatment, Vol. 12(1-3) (2009) 407-414.

[19] K. Hong, et al., Electrolytic removal of phosphorus in wastewater with noble electrode under the conditions of low current and constant voltage, International Journal of Electrochemical Science, Vol. 8 (2013) 8557-8571.

[20] E. Lacasa, et al., Electrochemical phosphates removal using iron and aluminium electrodes, Chemical Engineering Journal, Vol. 172(1) (2011) 137-143.

[21] M. H. El-Masry, et al., Purification of raw surface water using electro-coagulation method, Water, Air and Soil Pollution, Vol. 158(1) (2004) 373-385.

[22] S. Zhang, et al., Removal of phosphate from landscape water using and electrocoagulation process powered directly by photovolatic solar modules, Solar Energy Materals and Solar Cells, Vol. 117 (2013) 73-80.

[23] A. K. Golder, et al., Removal of phosphate from aqueous solutions using calcined metal hydroxides sludge waste generated from electrocoagulation, Separation and Purification Technology , Vol. 52(1) (2006) 102-109.

[24] V. Kuokkanen, et al., Removal of phosphate from wastewaters for further utilization using electrocoagulation with hybrid electrodes - Techno-economic studies, Journal of Water Process Engineering, Vol. 106 (2014).

[25] M. Kobya, et al., Treatment of rinse water from zinc phosphate coating by batch and continuous electrocoagulation processes,  Journal of Hazardous Materials, Vol. 173(1-3) (2010) 326-334.

[26] APHA,  Standard Methods for Examination of Water and Wastewater, American Public Health Association, (1999).
_1532170022.unknown

_1532178908.unknown

_1532170021.unknown

