OCJENA USAGLAŠENOSTI KVALITETA TEČNIH NAFTNIH GORIVA SA VAŽEĆIM SPECIFIKACIJAMA U BiH

Tatjana Botić1, Branka Kojić-Dugić2, Vasilije Hamović3, Pero Dugić1

1Tehnološki fakultet Univerziteta u Banjaluci, tatjana.botic@unibl.rs

2 Rafinerija ulja Modriča

3Institut za akreditovanje BiH

Sažetak

Ocjenjivanje usaglašenosti kvaliteta tečnih naftnih goriva je postupak utvrđivanja da li određeni proizvod iz ove grupa proizvoda ispunjava zahtjeve kvaliteta propisane Odlukom o kvalitetu tečnih naftnih goriva. Zahtjevi potrošača za tačnim informacijama o pouzdanosti upotrebe proizvoda, kako u zemljama EU, tako i u BiH, doveli su do uvođenja brojnih propisa koji definišu kvalitet i postupke ocjenjivanja usaglašenosti kvaliteta. S obzirom da potrošači, u većini slučajeva, nemaju neophodna znanja i druge resurse da samostalno ocijene kvalitet, oni svoje povjerenje ukazuju kompetentnim tijelima za ocjenjivanje usaglašenosti.

Kod ocjene kvaliteta tečnih naftnih goriva, odlukom je definisano da te aktivnosti provodi inspekcijsko tijelo akreditovano prema standardu BAS EN ISO/IEC 17020, Ocjenjivanje usaglašenosti – Zahtjev za rad različitih tipova tijela koja izvode inspekciju, na osnovu rezultata ispitivanja tečnih naftnih goriva u laboratoriji koja je akreditovana prema standardu BAS ISO/IEC 17025 – Opšti zahtjevi za kompetentnost ispitnih i kalibracionih laboratorija.

U radu je opisan značaj i prednosti akreditacije i standardizacije uopšte, kao i iskustva u donošenju i primjeni standarda kvaliteta proizvoda i metoda ispitivanja u oblasti tečnih naftnih goriva.

Ključne riječi: proces akreditacije, kontrola ispitivanja, standardi kvaliteta,

CONFORMITY ASSESSMENT OF LIQUID PETROLIUM FUELS QUALITY WITH CURRENT SPECIFICATIONS IN BOSNIA AND HERZEGOVINA

Tatjana Botić1, Branka Kojić-Dugić2, Vasilije Hamović3, Pero Dugić1

1Faculty of Technology University of Banjaluka, tatjana.botic@unibl.rs

2 Oil Refinery Modriča

3 Institute for accreditation of B&H

Abstract

Conformity assessment of liquid petroleum fuels quality is a method of determination whether certain product from this group of products fulfills quality demands stipulated by the Decision on quality of liquid petroleum fuels. Customers demands for accurate informations on reliability of products, both in EU countries and in Bosnia, led to the introduction of numerous regulations that define quality and means of conformity assessment. Considering the fact that consumers, in most cases, don’t have adequate knowledge and other resources to independently assess the quality, they give their confidence to competent conformity assessment bodies.

In evaluating the quality of liquid petroleum fuels, the decision also specifies that these activities must be carried out by accredited inspection body according to standard BAS EN ISO/IEC 17020, Conformity assessment - Requirements for the operation of various types of bodies performing inspection, based on liquid petroleum fuels test results in laboratory that is accredited according to standard BAS ISO/IEC 17025 - General requirements for the competence of testing and calibration laboratories.

The paper describes the importance and benefits of accreditation and standardization in general, as well as experience in the adoption and application of quality standards of products and testing methods in the areas of liquid petroleum fuels.

Keywords: accreditation process, testing control, level of quality, ISO/IEC 17025