Ivana Terzić, Vanja Šušteršič, Katarina Đonović
Comparative analysis of geothermal heat pumps

[image: image1.jpg]



COMPARATIVE ANALYSIS OF GEOTHERMAL HEAT PUMPS

Ivana Terzić
, Vanja Šušteršič
, Katarina Đonović

Summary: Geothermal Heat Pumps (GHP) belong to a class of modern sustainable technologies that use energy (heat) available underground for heating or cooling households and residential buildings, as well as commercial and industrial spaces. They are widely deployed across Europe and enable savings in primary energy sources, simultaneously cutting down the costs of heating/cooling.

This paper discusses advantages of GHPs, especially the pums of the type earth-water and provides a comparative analysis of different types of those pumps currently available on the market according to their coefficient of performance (COP), CO2 emission footprint, and power.

Based on the collected data from 309 different GHP models coming from 32 different manufacturers, we derive expressions for characterizing GHPs of the type earth-water, which can be useful in performing initial feasibility studies and system designs.

Key words: geothermal energy, heat pump, COP, heating, cooling

1. INTRODUCTION
Energy consumption poses a major environmental and energy problem, in terms of global warming and limitted availability of fossil fuels. The main advantage of using geothermal energy lies in the fact that this renewable source of energy is freely available as the earth heat or heat from groundwater (whit temperatures between 5°C and 30°C). Estimated installed capacity at world level amounts to nearly 12,000 MWt (thermal energy), so the annual energy need is about 72,000 TJ (20,000 GWh) [1,2].
Heat pumps are widely used because of their high efficiency compared to conventional heating and cooling systems. There are two basic types of heat pumps: those that use air as the heat source and those that use ground, known as geothermal heat pumps (GHP) and ground source heat pumps (GSHP), respectivly [3,4].
An estimated power of all existing geothermal wells in Serbia is about 160 MW, of which about 100 MW is currently used. Wiht the heat pumps, we can use as much (completely clean) energy from the ground as we need. For example, with installation of 20,000 heat pumps of 20 kW power each for heating residential facilities, the necessary amount of energy for a power plant that produces 300 MW can be taken from the ground.
Europe sets very high goals in terms of renewable energy and reducing greenhouse gas emissions. Geothermal energy is the most appropriate to achieve these objectives and the only one of all the renewable energy sources that has entered the legal obligation to be used in heating new buildings in several European countries. By joining the European Union, Serbia needs to follow those obligations regarding the use of renewable energy and reducing greenhouse gas emissions.
Energy Law (Article 31) regulates the issuance of authorizations for the construction and reconstruction of facilities that produce electricity and thermal energy. Currently licensing is defined by the Ordinance on detailed conditions for issuing the energy permit, content and procedure of issuing energy permits and the conditions for approval of energy facilities for which no energy permits are needed [5,6]. 
Total installed power in geothermal power plants in the world is presented in Table 1. This Table also shows the short-term forecast for 2020.

During the period of five years, between 2010 and 2015, an increase of 1.7 GW (16%) is achieved, which in the judgment of the linear trend is about 350 MW/year with an obvious increase in the average value of 200 MW/year in the period from 2000 to 2005.
Table 1. The total installed capacity of geothermal energy at the global level from 1995 until the end of 2015 and short-term forecast for 2020 
	Year
	Installed capacity [MWe]
	Production of electricity [GWh]

	1995
	6,832
	38,035

	2000
	7,972
	49,261

	2005
	8,933
	55,709

	2010
	10,897
	67,246

	2015
	12,635
	73,549

	2020
	21,443
	


Ruggero Bertani in his research showed that the total amount of electricity generated in 2015, in several countries on five continents, is about 12.6 GWh [7].
2. TECHNOLOGY OF GEOTHERMAL HEATING
The geothermal energy potential is huge. It is estimated that there is multiple times more geothermal energy than the total amount of energy sources based on fossil fuels (coal, oil and gas) around the world. Serbia, ranks among the richer countries on the geothermal potential although this is still an under-utilized resource. The use and exploitation of geothermal energy must become more intense because of a number of factors: a steady growth in the price of fossil fuel, worsening environmental situation, the increase in the cost of protecting the environment.
Heat pumps are devices that work on the thermodynamic principle of the heat exchange, i.e. the heat from the lower temperature place shifted to higher temperature place while consuming mechanical work, which is several times smaller than the energy transferred by left-turn circular process of an appropriate working fluid. The share of electrical energy consumption ranges from one-third to one-fifth of the resulting thermal energy, which means that the expenditure of 1 kWh of electricity can be transformed into 3 - 5 kWh of thermal energy.
Geothermal heat pumps use the ground or ground water as a heat source, whose temperature is mostly constant throughout the year. There are three different sources of heat - outside air, earth and groundwater. On this basis, there are three different systems of heat pumps: air - air, water - water and ground - water. The earth is a very good accumulator of solar heat because the temperature at a depth of 1.2 - 1.5 meters throughout the year is constant, ranging between 5 - 15°C. 

COP coefficient describes the efficiency of the heat pump, i.e. the ratio indicates how many times more thermal energy is obtained in relation to the electricity consumed by the compressor. The efficiency depends on the type of heat source (ground, water, air), thermal building insulation and heating systems. The most economical use of heat pump is in well insulated buildings with heat losses less than 50 W/m2 and a low-temperature heating system (floor/wall heating) with a primary flow temperature of 35°C. 

Selection of the working fluid used in the heat pump is carried out by considering a number of different aspects. Some of the working fluids which are intensively used in heat pumps have a serious impact on the environment. The working fluid must meet the appropriate set of conditions such as:

· chemical stability (stability of working fluid within the system);

· impact on the environment, health and safety;

· thermodynamic properties.

The CO2 emissions shall be determined by multiplying the annual primary energy for the operation of the facility, by source of energy, and the appropriate data for specific emissions of CO2.
Reduction of greenhouse gases emissions (GHG) in the geothermal heat pump is around 44% compared to air-cooled heat pump and even 72% compared to heating systems that use electricity [8,9,10,11].
2.1 Comparison of types, COP and power of heat pump earth - water beetween different manufacturers 
In the manufacturers brochures of heat pumps of the type earth – water, the following data is readily available: the coefficient of performance (COP) of heat pumps, the heating and cooling power as well as which medium is used for cooling. The price of heat pumps depends on several factors and it is not available from all the manufacturers.
Based on the available data, in this paper we present the values of COP, cooling and heating power obtained for 309 different models of geothermal heat pumps of the type earth - water (from 32 different manufacturers, [12,13,14]).
Figure 1 presents the dependence between the COP and heating and cooling power for several manufacturers. 
      [image: image2.png]Cooling power [kW]

50
45
40
35
30
25
20
15
10

Rehau heat pump - the COP dependence on the
cooling power

.
S
*
bd
3
.
.
.
; .
39 4 4.1 4.2 4.3 4.4 4.5

copP

Rz=0.356

+REHAU




          [image: image3.png]Heating power [kW]

Rehau heat pump - the COP dependence on the
heating power
40

R2=0.355
35 +
30 +
25 *
20 /
*
15 'y +REHAU
10 - *
.
5 3
0 T T T T T .
3.9 4 4.1 4.2 43 4.4 45

copP





[image: image4.png]Cooling power [kW]

50

Bosch Logatherm WPS heat pump - the COP
dependance on the cooling power

45

40

35
30

25
20

15

10

A 4
R2=0.540
- ‘
*
#Bosch Logatherm WPS
/ *-
T T T T 1
38 4 42 44 46 48

copP




             [image: image5.png]Heating power [kW]

35

Bosch Logatherm WPS heat pumpa - the COP
dependence on the heating power

30

25

20

15

10

*
R2=0.537
*
<
*
4 Bosch Logatherm WPS
*
£
3.8 4 42 44 46 48

copP





       [image: image6.png]Cooling power [kW]

600

500

400

300

Hidros heat pump - the COP dependence on

the cooling power

-
R? = 0.450
.
* +HIDROS
S :\‘
. — .
5.2 53 5.4 5.5 5.6 5.7 5.8




            [image: image7.png]Heating power [kW]

450
400
350
300

200
150
100

50

Hidros heat pump - the COP dependence on

the heating power

° R?= 0447
13
MY +HIDROS
¢ -
M ‘\0\
* o
5.2 5.3 5.4 5.5 5.6 5.7 5.8





Figure 1. The dependence of the COP of the geothermal heat pump type earth – water on the heat (left) and cooling power (right) 

Efficiency coefficients (COP) of processed heat pumps differ a little bit but, for the purposes of initial studies, the effectiveness of specific model for a given heating or cooling power can be determined based on the diagrams given in Figure 1.

Figure 2 presents the total dependence of the COP of heat pumps and heating and cooling power for all collected manufacturers.
        [image: image8.png]Heating power [kW]

The COP dependence on the heating power for the
collected data from 32 manufecturers of geothermal

heat pumps
R?=0.008
. .
* *
. *
e g %
* ot
v Hhe 2,
* ’0—,—0 4 32manufecurers
& % 76 o
$3; X3
*
B 0 ot &
1 2 3 4 5 6 7 8




         [image: image9.png]Cooling power [kW]

600

500

400

300

200

100

-100

The COP dependence on the cooling power for the
collected data from 32 manufecturers of geothermal

heat pumps
¢ R*=0.178
*
0‘ 432 manufecturers
%
T T T A
1 2 3 4 5 6 7

copP




    
Figure 2. Dependence of the COP of the geothermal heat pump type earth - water on the heating and cooling power for all manufacturers
The market offers a relatively large number of geothermal heat pumps of the type earth - water of different heating/cooling powers and the efficiency of heating/cooling, so that an appropriate model for almost any requirement of potential users can be found from above Figures.
3. CONCLUSION
This paper presents a total installed capacity [MW] and the total electricity production [GWh] in geothermal plants worldwide, as well as the short-term forecast for 2020.

The paper also shows 32 manufacturers (309 models) of geothermal heat pumps of the type earth - water. The prices of geothermal heat pumps are not presented because the relevant data was not available for all the heat pumps. Models of geothermal heat pumps that are discussed in this paper are available on the market and are suitable for use in family homes, apartment buildings, public buildings, hotels and small industrial plants.

Based on the analysis of the characteristics of geothermal heat pumps, the conclusion is that the use of geothermal energy reduces the need for primary energy sources by half, compared to traditional heating systems, and reduce emissions of greenhouse gases. In other words, heat pumps contribute to reducing the demand for energy from fossil fuels.

ACKNOWLEDGEMENTS

This work is a result of the research project "Research of Cogeneration Potential of Municipal and Industrial Energy Power Plant in Republic of Serbia and Opportunities for Rehabilitation of Existing and Construction of New Cogeneration Plants (III 42013)", which is funded by the Ministry of Education, Science and Technological Development of the Republic of Serbia.
REFERENCES
[1] Lund, B., Sanner, L., Rybach, R., Curtis, G., Hellström (2004). Geothermal (ground-source) heat pumps a world overview, GHC BULLETIN 
[2] Byuna JS., Jeonb CD., Jungc JH., Leea J.: The application of photocoupler for frost detecting in an air-source heat pump. International Journal of Refrigeration 2006;29:191–8.
[3] Barbier, E. (1997). Nature and technology of geothermal energy: a review. Renewable and Sustainable Energy Reviews; no1: p.1–69.
[4] Etemoglu, AB., Can, M. (2007). Classification of geothermal resources in Turkey by exergy analysis. Renewable and Sustainable Energy Reviews, vol. 11, Issue 7, p.1596–1606

[5] Janković V. (2009) Geotermalna energija: Kako iskoristiti skriveni potencijal Srbije, Jefferson institut, Beograd, http://www.jeffersoninst.org/sites/default/files/Geotermalna energija.pdf (accessed January 26, 2016.)
[6] Pravilnik o energetskoj efikasnosti zgrada, »Sl. Glasnik RS«, br. 61/2011

[7] Bertrani, R. (2015). Geothermal Power Generation in the World 2010-2014 Update Report, Proceedings World Geothermal Congress 2015 Melbourne, Australia
[8] http://www.poljoprivrednatehnika.org.rs(accessed December 17, 2016.)
[9] http://www.swissterm.rs/pumpe.html, (access December 20, 2016.)

[10] Šušteršič,V., Janković, N., Babić,M., Gordić D. (2011). Projektovanje grejanja plastenika korišćenjem toplotne pumpe, „Energija - ekonomija - ekologija“, br. 3/godina XIII/ mart 2011, pp. 174 -178, ISSN 0354-8651

[11] http://obukazaenergetskepreglede.yolasite.com/resources/Literatura_2011/Vusanovic Geotermalne toplotne pumpe 1h (PRINT).pdf (accessed February 16, 2017.)
[12] Rehau:http://plummediaserver.com/grejanje.com/rehau/teh_informacija_toplotne_pumpe_952002.pdf (accessed February 16, 2017.)
[13] Ferroli: http://pdf.archiexpo.com/pdf/ferroli/gn4-n/4825-34419.html (accessed 
February 16, 2017.)
[14] Hidros: http://www.buderus.si/pdf/hidros.pdf (accessed February 16, 2017.)

LOGO WILL BE HERE








� Ivana Terzić, PhD student, Faculty of Engineering, University of Kragujevac, Sestre Janjić 6, 34000 Kragujevac, Serbia, � HYPERLINK "mailto:ivana.terzic@vtmsts.edu.rs" �ivana.terzic@vtmsts.edu.rs�





� Vanja Šušteršič, Full Professor, Faculty of Engineering, University of Kragujevac, Sestre Janjić 6, 34000 Kragujevac, Serbia, � HYPERLINK "mailto:vanjas@kg.ac.rs" �vanjas@kg.ac.rs� 





� Katarina Đonovic, PhD student, Faculty of Engineering, University of Kragujevac, Sestre Janjić 6, 34000 Kragujevac, Serbia, � HYPERLINK "mailto:kaca.djonovic@gmail.com" �kaca.djonovic@gmail.com�








6
5

