Predrag Živković, Mladen Tomić, Dušan Petković, Ivan Ćirić...
Possibilities of wind energy usage in the ski center Kopaonik

[image: image1.jpg]



WIND ENERGY POTENTIALS OF THE NORTHERN BALKAN MOUNTAIN
Predrag Živković
, Mirjana Laković
, Dušan Petković
, Dragana Dimitrijević
, Milica Jović

Summary: Obtaining of all acceptable locations is one of the main tasks for siting of wind turbines. However, ecconomical factors are usually very limiting. One of the possibilities to increase the rentability of the wind farm is to reduce the transport loses, as well as the initial investment, by using produced energy as close to the production site as possible. This paper focuses on the possibilities of northern part of the Balkan mountain wind potentials usage in the nearby city of Zaječar. The estimations were obtained using the WAsP simulation software. The results are compared by means of the quality and quantity of the wind data and capacity factor. Finally, the economical analysis of the acceptabillity of the installing of wind turbines was done.

This paper is concerned by the National Program of Energy Efficiency, project number: TR33036, funded by the Government of Republic of Serbia.
Key words: wind power assessment; complex terrain; CFD.
1. INTRODUCTION
The most assesments of the classical fuel resources, mostly fossil, clearly marks the fact that their resources, especially for oil, are close to the end. From the other side, the global heating and pollution problem, mostly caused by large emissions of flue gasses from power plants and engines, arises constantly. Needs for energy constantly rises, so even the reachest states experience the energy problems (as the two-day California energy system collapse). All this facts points to the necessity of transition to the sustainable development, especially to the usage of renewable energy sources, among which the wind energy clearly takes its place, considering its large potentials, purity and availability. The present constrains are mostly of financial nature.

Having all that in mind, the most important task is the siting of wind turbines. For that purpose, the wind atlas method is developed, which became the best for use with the fast development of computers. The task itself is comparativelly simple when the terrain considered is flat. But, in terrains with complex orography, situation is much more complex. With change of wind turbine position of only few dozens of meters, their potentials for energy production can be drastically altered. It can be shown that simple, linear models (as the one used for WAsP) can’t estimate correctly the wind energy potentials in the terrain where the ruggedness index exceeds 0.3.

Terrains with complex orography can have larger potentials than flat terrains. This is caused with the speed-up effect, which also depends on the main wind directions. Considering all above mentioned, the necesity of using more complex, CFD software, which is solving the complete set of conservation equatios, is obvious. The present practice is that the change of wind turbine location is justified if the potentials increases at least for 1%.
2. MATHEMATICAL MODEL
Considering the need to obtain the results as soon as possible, the best micro models were extracted from the larger macro models (well known nesting technique) using the fast linear software WAsP [4]. As the difference in the obtained results for annual energy production of a wind farm is shown to be about 30% between the linear and CFD softwares, final results are decreased for 30%, while using only WAsP.
2.1 LINEAR MODEL
Linear model is expressed by:

continuity equation:

[image: image2.wmf](

)

0

=

r

¶

¶

i

i

U

x


logaritmic vertical wind profile:

[image: image3.wmf]÷

÷

ø

ö

ç

ç

è

æ

y

-

k

=

0

*

ln

z

z

U

U

z


Weibull distribution equations:

[image: image4.wmf](

)

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

-

÷

ø

ö

ç

è

æ

=

-

k

k

A

U

A

U

A

k

U

f

exp

1



[image: image5.wmf](

)

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

-

=

k

A

U

U

F

exp


Representative of the linear software packages is WAsP [1], [4]. It calculates the speed-up effects of the hills, taking into consideration the effect of redistribution of energy in the flow from the component in the flow direction into the vertical component.

3. NORTHERN BALKAN MOUNTAIN WIND POTENTIALS

Scope of this paper is the northern part of the Balkan mountain (also known as Stara planina – Old mountain) region, which is situated in the central easthern part of Serbia. Vrška Čuka is the northernmost part of the Balkan mountain, on the border with Republic of Bulgaria, about 10km from the City of Zaječar. Highest peaks are Vrška Čuka (692m) i Babin Nos (1.108m). Unlike the central Balkan mountain, this region ranges into the medium height mountains, while the entire Balkan mountain forms the natural border between Republic of Serbia and Republic of Bulgaria, being the highest mountain in the Republic of Serbia.
The northeast border of the City of Zaječar belongs to the Carpatian mountains, making its location even more interesting for the wind energy estimation. Near the city is the confluence of the two major rivers of the East Serbia – White Timok and Black Timok, forming the Big Timok river. The city population is about 60.000, with developed agriculture, food processing industry and metallyrgy. It is obvious that the city itself is in the need of large quantities of energy, making it easy to consume the stochastical production of the wind farm, without main disturbances to the electrical network.
Chosen wind turbine type is Enercon E-82, with unit power of 2MW. Considered micro model was choosen by former simulation on the bigger model, from which, using the nesting technique, named model is obtained.

For the turbine siting the method of wake loss minimization and maximal annual energy production was used. Also, the recommendations about distance between wind turbines for the siting were as follows: in the wind direction minimally 7D (D – rotor diameter) and in the normal direction 4D.
[image: image6.png]Vrska Cuka - WASP version 8.3 - [Spaf

[l e ember L=/ Reports Toos Window telp

T IR e )
Te——— 1 EXE R =]

22 rska Cuks’ WasP workspace
= (83 Vrska Cuks’ WAsP project

RETES

Resarce gid ¥ Resource g
=5 8w st 1 i sties
8P i h 111 et stabion
1, i Observed i dinate
s ko100 Yector map
£ Enercon £62 wind turine generstor

= i farm i form
& Tutine se 3 e sk

e fes (9 )
(31vind turbine generators (75 files)

stal




     [image: image7.png]Sector: Al
A4S
k206

U 40mfs
P71 Wjma

50.0

o]

250

u [mfs]




Fig. 1 Macro model with wind rose (left) and Weibull distribution (right)
After the simulations were done, using the nesting technique, the micro model is obtained, and the field of annual energy production (AEP) is presented on the following figure:
[image: image8.png]Viska Cuka - WASP version 8.3

B Ele Member Lo Reports Tools Window Help

2R E F-w-e 3 SEiEE

22 rska Cukal WP workspace

= @Vrska Cuka' WisP project
B Resource grid 1" Resource grid

= E0wind atlss 1" Wind atlas

=16 Cri ¥th 1-11 Met, station
. i vtk Observed wind clnate.

ska Cukal00' Vector map
£ Enercon £82" Wind turbine generator

= i farm i form
5 Tutine se 3 e sk

Sor
(31vind turbine generators (75 files)

Settings {Seat view | seaistics |

[k Q| < Egg wermm

T
ey

s [

7satan0

750

7eodan 7ot 7eatnn

7eatann




     [image: image9.png]B Ele Member Lo Reports Tools Window Help

=l5]x]

BE -G H| i

28 rska Cuka miro’ WhsP workspace
=1 @8Vrska Cuka' WhSP project
B Resource grid 1" Resource grid
= E0wind atlss 1" Wind atlas
=16 Cri ¥th 1-11 Met, station
. i vtk Observed wind clmate
rska Cuka100" Vector map
£ Enercon £82' Wind turbine generator
-4 ind Farm 1 Wind Farm
“Turbine site 1 Turbine site
“Turbine site 2 Turbine site
“Turbine site 3 Turbine site
“Turbine site 4 Turbine site
“Turbine site 5 Turbine site
“Turbine site § Turbine site
“Turbine site 7 Turbine site
“Turbine site 8 Turbine site
“Turbine site 3 Turbine site
“Turbine ste 10 Turbine ste

Suirary foders
(315ample Files (3 files)
Win turtine generators (75 fies)

Settings St view | seaistcs |

[k Q| & B8gg aermm

a0

a0

a0

a0

a0

165
00

I )

[}

7erdan0

Y1)

Tas

o0





Fig. 2 Macro (left) and micro model AEP field with 10 turbine wind farm (right)
From the figure 2, one can notice that only the best locations are considered, as there are possibility for more locations to choose.
Table 1 AEP data for the 15 turbine wind farm Vrška Čuka
	Parameter
	Total
	Average
	Min
	Max

	Gross AEP
[GWh]
	63,470
	6.314
	5.955
	6.904

	Net AEP
[GWh]
	63,144
	6.347
	5.981
	6.960

	Wake loss
[%]
	0,51
	-
	-
	-


Table 2 Estimated and realistic wind farm AEP
	Annual
	AEP estimated
	AEP realistic

	Gross AEP
[GWh]
	63.470
	37.600

	Net AEP
[GWh]
	63.144
	37.407


Stable wind data were obtained from the main meteorological station Zaječar. As the turbine acceptable wind speed is in the range of 2÷25m/s, only 84,63% of the wind data are in the acceptable range. Considering this, as well as the overestimation by the used software, the capacity factor (ratio between possible AEP and max AEP) is calculated to be CP=0.235. It is considered that the ecconomicaly acceptable locations are with CP=0.25 or larger.
4. ECONOMICAL ANALYSIS 

Economical analysis is one of the most important parts of every project. Renewable energy, including wind energy, is not an exeption. Having in mind current prices of wind turbines, state of the global and local financial markets, and the fact that the local infrastructure is not very developped, preliminary financial analysis was done. The initial assumptions are: the farm will operate for 25 years; initial investment is 30 million EUR; subventions will be 10%; annual discout rate will be 10%; annual inflation will be 4%; increase of the electricity price will be 4% per annum. Expected electricity price is 0.104EUR. The estimated financial indicators are shown in the following table.

Table 3 Financial indicators
	FINANCIAL INDICATORS

	Rate of income (year 01)
	ROI
	8.00
	[%]

	Simple payback time
	SPB
	7.95
	[year]

	Net present value
	NPV
	17455393
	[EUR]

	Internal rentability rate
	IRR
	22.92
	[%]

	Dynamic payback time
	DPB
	6.96
	[year]

	Benefit/cost ratio
	B/C
	4.33
	[-]

	Lifelong cost savings
	LCS
	1923027
	[EUR/ year]


Using above mentioned financial indicators, it was calculated that annual income of the wind farm Kopaonik could be about 3.91 million EUR. It shows that the project payback time is about 8 years, which gives hope that such a project could be realized, as this is borderline for such projects.

5. CONCLUSION

Wind energy is one of the fastest growing renewable energy resources. Most of the EU members are using it widely. Yet, the available usable locations are not limitless. This gives opportunity to the less developed countries to use the available funds, in the scope of 20% of energy in Europe to be produced by renewable sources.

Balkan mountain region is relatively far from the power sources. Installing wind turbines could significantly improve the quality of the energy supply in this area, which is very desirable, having in mind the number of people living in this area, which is constantly being reduced.
6. ACKNOWLEDGEMENTS
This paper is part of the work within the National Program of Energy Efficiency, project number: TR33036, funded by the Government of Republic of Serbia.
REFERENCES (BOLD)

[1] Schaffner B., Tonsberg, N., (2003). Wind Modeling in Mountains: Intercomparison and Validation of Models, study for METEOTEST, Bern, Switzerland and VECTOR AS, Norway.
[2] Stevanović, M. Ž. (2008). Numerički aspekti turbulentnog prenošenja impulsa i toplote. Univerzitet u Nišu, Mašinski fakultet, Niš.
[3] Živković, M. P. (2006). Procena energije vetra na terenima kompleksne orografije – uporedna analiza metodologija. Univerzitet u Nišu, Mašinski fakultet, Niš.
[4] Živković, M. P. et all, (2013). Wind energy potentials of Vlasina region. DEMI 2013 Conference Proceedings, p. 809-814.
LOGO WILL BE HERE








� Dr., Predrag Živković, Niš, Serbia, University of Niš, Faculty of Mechanical Engineering, (pzivkovic@masfak.ni.ac.rs)


� Dr., Mirjana Laković, Niš, Serbia, University of Niš, Faculty of Mechanical Engineering, (lmirjana@masfak.ni.ac.rs)


� Dr., Dušan Petković, Niš, Serbia, University of Niš, Faculty of Mechanical Engineering, (dulep@masfak.ni.ac.rs)


� Dipl. Ing., Dragana Dimitrijević, Niš, Serbia, University of Niš, Faculty of Mechanical Engineering, (dragana.dimitrijevic@masfak.ni.ac.rs)


� Dipl. Ing., Milica Jović, Niš, Serbia, University of Niš, Faculty of Mechanical Engineering, (milica.jovic@masfak.ni.ac.rs)





4
5

_1410760318.unknown

_1410760532.unknown

_1410760558.unknown

_1410760047.unknown

