Milica Jović, Mirjana Laković
Carbon footprint method-a case study for thermal power plants in Republic of Serbia

[image: image1.jpg]



CARBON FOOTPRINT METHOD-A CASE STUDY FOR THERMAL POWER PLANTS IN REPUBLIC OF SERBIA

Milica Jović
, Mirjana Laković

Rezime: Postoje mnoge metode za analizu negativnog uticaja rada termoelektrana na životnu okolinu. U ovom radu predstavićemo metod Ugljenični otisak (Carbon footprint). Ugljenični otisak nastao je iz Ekološkog otiska i samostalno se razvijao. Ovaj metod spada u novije metode čijim utvrđivanjem želi da se probudi svest građana o zagađenosti zemlje. Ovaj metod moguće je primenjivati i u drugim oblastima, ne samo kada su u pitanju termoelektrane. Ugljenični otisak se zasniva na definisanju gasova sa efektom staklene bašte  preko ekvivalentnog ugljen dioksida. Otuda i ime ove metode. U ovom radu urađeno je istraživanje kako rad termoelektrana koje kao gorivo koriste ugalj utiče na emisiji štetnih gasova. Analiziran je rad termoelektrana koje sagorevaju fosilno gorivo zato što se na prostoru Republike Srbije najviše električna energija upravo dobija iz tih elektrana. 

Ključne reči: carbon footprint, ugljen dioksid, ugalj, termoelektrane, emisioni faktor 

Summary: There are many methods for the analysis of the negative impact of thermal power plants on the environment. In this paper will be presented a method Carbon footprint. Carbon footprint originated from the Ecological Footprint and independently developed. This method is one of the newer methods. By defining this method the goal is to raise the awareness of citizens about pollution. This method can be applied in other areas, not only in terms of the power plant. Carbon footprint is based on the definition of greenhouse gasses through carbon dioxide equivalent. From there the name of this method Carbon footprint. In this paper, is done research how the work of thermal power plants that use coal as fuel affect emissions. Was analyzed the operation of thermal power plants that use fossil fuels because in the Republic of Serbia the most electricity is obtained from these plants.
Keywords: carbon footprint, carbon dioxide, coal, thermal power plants, emission factor
INTRODUCTION

The tendency of increasing emissions of greenhouse gasses leads to the long-term goal of establishing control of environmental impacts caused by climate change. The carbon footprint has become a widely used concept in emissions assessments [1]. The term carbon footprint is used for greenhouse gas emissions and is generally expressed as CO2 equivalents (CO2e), which consists of emissions of CO2, CH4 and N2O. These gasses are translated into the amount of CO2 (this is called the equivalent amount of CO2). It is a measure of the total amount of carbon dioxide in the atmosphere in a given time frame which is directly or indirectly transmitted. Carbon footprint helps us to determine the amount of emissions from various sectors, which is useful for quantifying the impact of human activities on the environment and global warming. In the postindustrial era, the concentration of carbon dioxide in the atmosphere is increasing alarmingly.
It is necessary to strive to reduce CO2 emissions from all sectors but with special emphasis on the reduction of CO2 emissions from the power plant sector. Approximate values of CO2 emissions along with few major greenhouse gasses are referred as Carbon Footprint. Carbon Footprint is a concept which is yet in developing stage. Carbon footprint as an indicator of the environment is used. Carbon footprint quantifies the main sources of emissions and represents an effective tool for environmental protection and energy management. 


In the case of thermal power plants the equation to calculate the carbon footprint is [2]:

Carbon footprint (tons CO2/year) = Yearly electricity consumption of the plant (MWh/year) × Emission factor (tons CO2/MWh).
It is necessary to strive to reduce CO2 emissions from all sectors but with special emphasis on the reduction of CO2 emissions from the power plant sector. Approximate values of CO2 emissions along with few major greenhouse gasses are referred as Carbon Footprint. Carbon Footprint is a concept which is yet in developing stage. Carbon footprint as an indicator of the environment is used. Carbon footprint quantifies the main sources of emissions and represents an effective tool for environmental protection and energy management. 
ANALYSIS OF CARBON FOOTPRINT FROM THE THERMAL POWER PLANTS IN REPUBLIC OF SERBIA
In the Republic of Serbia, the installed power capacity for electricity production is  8 359 MW [3]. Eight power plants with 25 blocks that use lignite as a fuel and the installed capacity of 5.171MW, two of these power plants are located in Kosovo and Metohija. Cogeneration plant with a total installed capacity of 425MW of electricity generation, 505MW for the production of thermal energy. From 1 June 1999, the Electric Power Industry of Serbia does not manage its capacity in Kosovo and Metohija. 


The energy sector in Serbia has some characteristic weaknesses that contribute to high energy consumption and high emissions of CO2. These disadvantages are low efficiency due to outdated technology in the sectors of production and consumption, high losses in electricity distribution. In order to reduce CO2 emissions is necessary to implement a project that will examine what is possible to improve the thermal power plants to reduce emissions of CO2 and then put into practice these tests. Any minimal reduction of this gas would bring great benefits to air quality. Table 1. shows the production of electricity for 2014 by months. 

Table 1. Produced electricity by month for the 2014 year from the power plant Nikola Tesla A and B, Kolubara, Morava and Kostolac [3]
	The produced electricity in GWh for the 2014 year

	Month
	Nikola Tesla A
	Nikola Tesla B
	Kolubara
	Morava
	Kostolac

	January
	1028
	847
	109
	47
	

	February
	968
	750
	95
	48
	

	March
	1005
	859
	87
	53
	

	April
	931
	639
	65
	52
	

	May
	368
	335
	17
	56
	

	June
	440
	364
	3
	18
	

	July
	537
	418
	11
	65
	

	August
	459
	415
	0
	31
	

	September
	510
	645
	0
	0
	

	October
	549
	749
	23
	22
	

	November
	504
	757
	19
	62
	

	December
	550
	745
	30
	35
	

	In total
	7849
	7523
	459
	488
	4132


On the basis of the Report on operations for 2014 was obtained data on the total quantity of electricity in thermal power plant Kostolac and it amounts to 4132 GWh. In addition, to calculate the amount of carbon footprint from thermal power plants,  it is necessary to know the value of the emission factor. The emission factor is different for each thermal power plant.
Based on the research that has been shown in [4] values for carbon dioxide emission factor for thermal power plants Nikola Tesla A and Nikola Tesla B were used and that values are shown in Table 2. 
Table 2. Carbon dioxide emission factor

	Power plant
	The mean value of CO2 emission factor [kg CO2/kWh]

	Nikola Tesla A
	1,16

	Nikola Tesla B
	1,09


Due to lack of data on the mean value of CO2 emission factor for others power plants in the Republic of Serbia, a value 1.15 [kg CO2 / kWh] was used. Based on the known production of electricity and the value of CO2 emission factor can be calculated the carbon footprint of power plants whose values are shown in Table 3 and Fig. 1.
Table 3. Carbon footprint from thermal power plants for the 2014 year
	Termoelektrana
	Carbon footprint [t CO2/year]

	Nikola Tesla A
	9 104 840

	Nikola Tesla B
	8 200 070

	Kolubara
	527 850

	Morava
	561 200

	Kostolac
	4 751 800

	Ukupno
	23 145 760


[image: image2.png]Carbon footprint [t CO2/year]

10000000

8000000

6000000

4000000

2000000

M Nikola Tesla A
M Nikola Tesla B
i Kolubara

H Morava

™ Kostolac





Fig. 1 Carbon footprint from thermal power plants for the 2014 year

From the table above, and the Fig. 1 can be concluded that the thermal power plants Nikola Tesla A and B produce the greatest amount of CO2 e. The reason is that these plants are the biggest producers of electricity in the Republic of Serbia. It is necessary to improve individual systems in these thermal power plants in order to reduce the overall pollution which they produce. These thermal power plants constantly improve their systems and have environmental protection projects. Projects that are currently open in thermal power plants Nikola Tesla are [5]:

-Reconstruction of electrostatic precipitator

-Improvement of the system for transport and disposal of ash and slag

-Construction of desulphurization and reduction of NOx primary measures

-Continuous measurement of emissions of hazardous and harmful substances in the blocks

-Eliminating the negative impact of waste on land and water

-Reduction of the impact of ash on the environment

In addition to these projects carried out within the thermal power plant Nikola Tesla with the goal of reducing greenhouse gas emissions and reduce the impact on global warming from the energy sector is necessary to implement and renewable energy sources for electricity production.
CONCLUSION
Fossil fuels are closely related to environmental pollution. It pollutes environmental on the direct or indirect way by using fossil fuels in the exploitation, processing, or their consumption. The threat of global warming requires more efficient technologies for the use of fossil fuels and other sources of energy that do not produce carbon dioxide. The environment can be protected using various measures and methods. In this paper a method Carbon Footprint is presented. Carbon footprint has appeared as a strong and popular indicator of greenhouse gasses with special emphasis on carbon dioxide.  This method confirms that the power plants are big polluters and that the work of thermal power plants using fossil fuel impacts negatively on global warming.
Discussed the specific case of the Republic of Serbia because there most of the electricity is produced from fossil fuels. This study found that in the near future must be more intensive work on the modernization and improvement of electrostatic precipitators and systems for gas emissions in order to reduce the negative impact.
As shown methods Carbon footprint is directly related to the production of electricity. People are becoming more dependent on electricity, which will cause the increase in capacity for the production of electricity and with that increase, if we continue with this trend, there will be an increase in carbon dioxide emissions. It is necessary to consider the application of alternative energy sources. In order to maintain climatic conditions, it is necessary to continue to invest in energy-efficient systems that make better use of energy.
REFERENCES

[1] Andri et al. “Environmental performance assessment of retrofitting existing coal fired power plants to co-firing with biomass: carbon footprint and emergy approach “,  Journal of Cleaner Production 103 (2015) 13-27

[2] Chrysi Laspidou et al., Carbon Footprint Calculation Of Desalination Units In Greece, Fresenius Environmental Bulletin, Volume 21, No. 8b, January 2012

[3] www.eps.rs , accessed on 2017-03-25.
[4] Marković   et al.,“ Determination of the Specific Carbon Dioxide Emission Factor from Thermal Power Plants Nikola Tesla A and B”, Full Papers Proceeding of International Conference "Power Plants 2014", 28-31.October, 2014, Zlatibor Serbia, ISBN 978-86-7877-024-1
[5] www.tent.rs, accessed on 2017-03-26
LOGO WILL BE HERE








� MSc, Milica Jović, Niš, Serbia, University of Niš, Faculty of Mechanical Engineering, (milica.jovic@masfak.ni.ac.rs)


� PhD, Mirjana Laković, Niš, Serbia, University of Niš, Faculty of Mechanical Engineering, (lmirjana@masfak.ni.ac.rs)





4
5

