- Plenarno, Prof. dr.sc. Ljubomir Majdandžić, dipl. ing.  ljubomir.majdandzic@zg.t-com.hr>

ljubomir.majdandzic@fzoeu.hr

Fond za zaštitu okoliša i energetsku učinkovitost

Environmental Protection and Energy Efficiency Fund

Radnička cesta 80
10 000 Zagreb

Hrvatska stručna udruga za Sunčevu energiju

Savremeni materijali i oprema u modernom graditeljstvu

Sažetak:

Obzirom da bi se gotovo nulta odnosno vrlo niska potrošnja energijekod zgrada gotovo nulte energije (nZEB) trebala osigurati uglavnom energijom iz obnovljivih izvora koja se proizvodi unutar zgrade ili u neposrednoj blizini od iznimnog značaja je izbor tehničkog rješenja sustava ili sinergije više sustava u dobivanju električne, toplinske i rashladne energije da bi se dobio što bolji tehno-ekonomski optimum ulaganja i dobiti. Svi materijali i oprema trebali bi biti u skladu s načelima čistije proizvodnje i proizvodima koji kao sirovinu koriste reciklirane materijale. Kao pogodna metoda za usporedbu ovakvih proizvoda i proizvoda koji isključivo koriste nove prirodne resurse pokazala se metoda Procjene životnog ciklusa – LCA (Life CycleAssessement).Metoda Analiza tokova tvari(MFA - Materialflowanalysis) smatra se temeljnom metodom industrijske ekologije ili antropogenog, urbanog, društvenog i industrijskog metabolizma. Ona se upotrebljava za proučavanje materijala, tvari ili tokova proizvoda u različitim industrijskim sektorima ili unutar ekosustava. Jedno od tehničkih optimalnih rješenja izračuna gotovo nulte energije zgrada s vlastitom proizvodnjom električne energije na obnovljive izvore je mjerenje električne energije preko istog obračunskog mjernog mjesta preko kojeg zgrada i kupuje električnu energiju od opskrbljivača ali uz ugradnju dvosmjernog brojila i obračuna na godišnjoj razini (tzv. netmetering).

Ključne riječi:

zgrada gotovo nulte energije, procjene životnog ciklusa, analiza tokova tvari

Contemporary  materials and equipment in modern building

Abstract:

Considering that nearly zero-energy, i.e. very low consumption of energy in nearly zero-energy buildings (nZEB) should be provided mainly from renewable energy sources (RES) and generated in the building itself or in its immediate vicinity, the chosen technical solution for the system or synergy of several systems forgenerating electricity, heating and cooling, is of the utmost importance in order to obtain the best possible technological and economic optimum of return on investment. All materials and equipment should comply with the principles of cleaner production and the products should use recyclates as raw material. The Life Cycle Assessment(LCA) proved to be a suitable method for the comparison of such products and the products made exclusively from new natural resources. Material flow analysis(MFA) is considered to be the essential method of industrial ecology, and anthropogenic, urban, social, and industrial metabolism. It is used to study the materials, substances or flows of products in different sectors or within ecosystems. One of the optimal technical solutions for computing nearly zero-energy of buildings with own RES power generation systemsis to measure electricity on the same metering point through which the building buys electrical power from the supplier, but with the installed two-way utilitymeterand billing at annual level (the so-called net metering).

Keywords:

Nearly Zero-Energy Buildings (nZEB), Life Cycle Assessment (LCA), Material flow analysis (MFA)