TECHNICAL AND ECONOMIC DEVELOPMENT OF THE PHOTOVOLTAIC ELECTRICITY IN BULGARIA
Plamen Tsankov1, Milko Yovchev1
1 Technical University of Gabrovo, Faculty of Electrical Engineering and Electronics,
Hadji Dimitar 4, 5300 Gabrovo, Bulgaria

Summary: The paper presents technical and economic data on the development of photovoltaic electricity in Bulgaria during the last 10 years. The mix of different types of conventional and renewable energy sources in the country's electricity system is shown. The changes in the installed photovoltaic capacities and the price of electricity from them for the studied period are shown in tabular and graphical form. The number of photovoltaic power plants and their distribution by groups of individual powers are given. Brief technical and economic data for some of the largest photovoltaic power plants in Bulgaria are provided. The analysis of the data shows the short period of rapid development of the construction of high-capacity photovoltaic power plants after the introduction of high feed-in tariff for the purchase of photovoltaic electricity, as well as the influence of the installed photovoltaic capacities on the market change of the feed-in tariff in time. There is a strong decrease in the cost of the feed-in tariff with an increase in the volume of installed photovoltaic capacity and even its removal for larger-capacity photovoltaic power plants. Examples are given of the economic profitability of a grid-connected and autonomous photovoltaic systems in Bulgaria. The analysis and conclusions of the paper could be useful in determining new government policies and setting new market conditions to promote the development of renewable energy sources in Bulgaria and other countries. 

Keywords: photovoltaic electricity; electricity market; feed-in tariff; economic profitability; Bulgaria.
1.  INTRODUCTION
In recent years the price of electricity from photovoltaic systems continuously decreasing and they occupy a growing share of electricity generation worldwide. The specific share and timing of a country's photovoltaic electricity development depend on its energy policy and economic market conditions. Studies of these processes are important for the future development of photovoltaic energy worldwide. [1,2,3]
The present study provides an example of the development of photovoltaic electricity in Bulgaria, which covers a time period before, during the relatively short period of construction of the main photovoltaic power plants with a total power exceeding 1 GW with the introduction of Feed-in Tariff (FiT), a motivating approach used in many other countries [4,5,6], and the subsequent period of reduction of the new installed capacities due to market changes in the value of the FiT.
2. POTENTIAL AND CURRENT SHARE OF RENEWABLE ENERGY SOURCES IN BULGARIA 
Bulgaria has taken an active role in the international efforts to help prevent climate change by supporting the concerted actions of the European Union and the wide-ranging package of measures in the energy sector. These measures give a new impetus to Europe’s energy security and support the EU’s ’20-20-20’ targets. The widespread use of renewable energy sources (RES) and the implementation of energy efficiency measures are among the priorities of the national energy policy and are in conformity with the objectives of the new energy policy for Europe. [7]
The National Renewable Energy Action Plan (NREAP) of Bulgaria is the main instrument developed to ensure the achievement of the national renewable energy targets. The plan has been drawn up in accordance with the requirements of Directive 2009/28/EC with the template adopted by Commission Decision of 30 June 2009. Under Directive 2009/28/EC, Bulgaria’s mandatory national target for 2020 is a 16 % share of energy from renewable sources in the gross final consumption of energy, including a 10 % share of energy from renewable sources in the consumption of energy in the transport sector.

The use of energy from renewable sources, in line with the requirements of Directive 2009/28/EC, is analysed, promoted and reported separately along three lines:

· consumption of electricity – from wind, solar and geothermal energy, hydropower and biomass;

· consumption of energy for heating and cooling – solar and geothermal energy and biomass;

· consumption of energy from renewable sources in transport – biofuels and electricity produced from renewable sources.

The long-term implementation of the renewable energy policy is ensured by the national legislation which reflects and fully implements the requirements laid down by the European Parliament and the Council with regard to energy generation from renewable sources.

The national policy on the promotion of energy generated from renewable sources has the following objectives: promotion of the development and use of technologies for the production and consumption of energy obtained from renewable and alternative energy sources; promotion of the development and use of technologies for the production and consumption of biofuels and other renewable transport fuels; diversification of the energy supply; environmental protection; creation of conditions for sustainable development at local and regional level.

The total technical potential of energy production from renewable energy sources in Bulgaria is about 4500 ktoe annually. The contribution of different sources is uneven (Table 1), the biggest share being hydropower (~ 31%) and biomass (~ 36%). Bulgaria's geographical location explains the relatively marginal role of wind energy (~ 7.5%), tidal energy and sea wave energy. However, the country has significant forestry resources and a developed agricultural sector as sources of solid biomass and raw material for biogas and liquid fuels. By 2008, Bulgaria chiefly exploited the potential of hydroelectric energy, as well as that of solid biomass, which is used primarily to heat households and public buildings. The production of electricity from wind and solar power plants is under rapid development, as is the use of solar energy for households‘ hot water needs. [8]
Table 1. Estimate potential of the renewable energy sources in Bulgaria as per an updated assessment of 2009.

	Renewable source according to Regulation 1099/2008 for the energy statistics
	Technically available potential, ktoe

	Hydro-power
	1 290

	Geothermal energy
	18 (331 with use of reinjection technologies.)

	Solar energy
	389

	Tidal energy
	Unspecified

	Wind energy 
	315

	Solid biomass 
	1 524

	Biogas 
	280

	Liquid fuels 
	366

	Total 
	4 495


Table 2 presents data from the energy enterprises connected to the transmission network provided by Electricity System Operator of Bulgaria (ESO) for the installed capacity and the net generated electricity, and their shares by power plant type in 2017 (Table 2 and Fig. 1).
Table 2. Installed capacity and net generated electricity in Bulgaria for 2017 [9]

	Power Plant type
	Installed capacity
	Net electricity generated

	
	MW
	Share, %
	MWh
	Share, %

	1. Nuclear
	2 000
	16.6
	14 718 368
	36.2

	2. Thermal - Lignite coal 
	4 119
	34.1
	17 605 902
	43.3

	3. Thermal - Black and brown coal
	362
	3.0
	246 111
	0.6

	4. Thermal - Gas 
	563
	4.7
	1 609 514
	4.0

	5. Hydro, including:
	3 204
	26.5
	3 395 131
	8.4

	   5.1. Pumped Storage generation
	1 399
	11.6
	899 639
	2.2

	   5.2. Pumped Storage pumps
	933
	7.7
	647 485
	1.6

	6. Renewable Energy including:
	1 822
	15.1
	3 054 993
	7.5

	   6.1. Wind
	701
	5.8
	1 414 564
	3.5

	   6.2. Photovoltaic
	1 043
	8.6
	1 325 472
	3.3

	   6.3. Biomass
	78
	0.6
	314 956
	0.8

	Total
	12 070
	 
	40 630 018
	 


[image: image1.png]Thermal - Gas Hydro

9 26.5%
Thermal - 41%
Black and
brown coal
3.0% Wind
5.8%
RES
15.1%
Photovoltaic
8.6%
Biomass
0.6%

Nuclear
16.6%




Fig. 1. Installed capacity shares by power plant type in Bulgaria for 2017

Information about the real-time change of the generated electric power by type of the power plants and the electric load of Bulgaria's electricity system can be viewed on the ESO website: www.eso.bg, in menu “Dispatching » Operational Data » EPS real time generation and load” – Figure 2.

[image: image2.png]() EPS real time generation and load for 14.08.2019 13:12:54

NPP 2082 M 38.52%

Condensing TPPs 1764 | | 32.64%

Local TPPs 200 3.70%
Factory TPPs 130 2.41%
HPP. 354 6.55%
Small HPPs 128 2.37%
WPPs (Windfarms) 57 1.05%
PVs 666  12.32%
Bio CHP 24 0.44%

Published data are operational.
This chart does not reflect trade exchanges, as well as energy exchanges under ENTSO-E.





Fig. 2. Real-time generation shares by power plant type and electricity system load in Bulgaria [10]
The connection of renewable energy plants to the grid is subject to the provisions of the general legislation on energy. The use of renewable energy for heating and cooling is promoted through a subsidy from the European Regional Development Fund, several loan schemes and through an exemption for building owners from property tax. In Bulgaria, the main support scheme for renewable energy sources used in transport is a quota system. This scheme obliges companies importing or producing petrol or diesel to ensure that biofuels make up a defined percentage of their annual fuel sales. Furthermore, biofuels are supported through a fiscal regulation mechanism. The policies on Electricity, Heating and Cooling, and Transport aim at promoting the development, installation and usage of RES-installations in Bulgaria. There is a professional training programme for RES-installers as wells as a building obligation for the use of renewable heating and for the exemplary role of public authorities. [11]

In Bulgaria, electricity from renewable sources is mainly promoted through a feed-in tariff. The Act on Renewable Energy Sources (ERSA) is the statutory basis for the feed-in tariff, which is the main element of the Bulgarian support system. The ERSA also establishes an obligation to purchase and dispatch electricity from renewable sources. Plant operators are contractually entitled against the grid operator to the purchase and transmission of all electricity from renewable sources supplied (art. 18 par. 1 item 2 ERSA). The amount of tariff is determined annually by the Energy and Water Regulatory Commission (art. 32 par. 1 ERSA). The FiT and the purchase obligation apply to power purchase agreements (PPAs) signed for projects implemented before the achievement by the Republic of Bulgaria of the RES end consumption mandatory targets under the National Renewable Energy Action Plan. The Energy and Water Regulatory Commission (EWRC) regulates the electricity selling price at the wholesale market and the FiT at which the RES producers sell electricity to suppliers. [11]

Measures to encourage the use of RES to produce electricity have led to a 2-fold increase in its share of total electricity generation over the past 10 years, which is already approaching about 20% – Figure 3.
[image: image3.png]4o aaa N
WONMOO®O

oON O

Share of renewable energy in electricity generation in
Bulgaria, %
(Source: Eurostat)

18 18 10
16
0 " 12 12
| | | I | I I

2005 2006 2007 2008 2009 2010 2011 2012 2013 2014 2015 2016

19





Fig. 3. Change in the annual share of electricity produced from RES in Bulgaria

Bulgaria ranks 11-th in the European Union by specific installed photovoltaic power per capita with 144.8 W/inhabitant and 1390 GWh electricity production from solar photovoltaic power in 2017. [12]

3. ANALYSIS OF THE DEVELOPMENT OF THE PHOTOVOLTAIC ELECTRICITY IN BULGARIA. 
The real accelerated development of the photovoltaic electricity in Bulgaria begins with the introduction of the FiT in 2008. EWRC updates the FiT in the middle of each year, based on photovoltaic electricity purchased in the previous year and the current market conditions – Table 3 and Figure 4. When introduced in 2008, FiT was about five times higher than the average price of electricity for households and industry, for all types of photovoltaic power plants – Tables 3 and 4. This high price has led to significant investments being made to design and build a large number of photovoltaic power plants in a short time period. For only 2 years between 2011 and 2013, about 1 GWp of photovoltaic power was put into operation (Fig. 5), significantly increasing the share of electricity production from RES. This in turn has led to an increase in the price of electricity as the necessary funding to cover FiT is obtained by increasing the RES penetration in the cost of electricity for the household and the industry. Finally, this resulted in a strong reduction of FiT and its separation according to the type of photovoltaic power plant – Table 3 and Figure 4. 
Table 3. Change in the years of the feed-in tariff for electricity produced by photovoltaics in Bulgaria, BGN*/MWh [13]
	Installed power and type of photovoltaic power plants (PPP)
	Date

	
	31.3.

2008
	30.3.

2009
	31.3.

2010
	30.3.

2011
	20.6.

2011
	28.6.

2012
	29.8.

2012
	28.6.

2013
	01.7.

2014
	30.6.

2015
	30.6.

2016
	01.7.

2017
	01.7.

2018
	01.7.2019

	Ground based PPP
	Up to 5 kWp
	782
	823
	793
	760
	576.5
	268.7
	193.4
	195.4
	152.2
	-
	-
	-
	-
	-

	
	Over 5 kWp
	718
	755
	728
	699
	
	
	
	
	
	
	
	
	
	

	
	Up to 30 kWp
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	Over 30 kWp to 200 kWp
	
	
	
	
	567.4
	260.8
	188.1
	191.1
	143.4
	-
	-
	-
	-
	-

	
	Over 200 kWp to 10000 kWp
	
	
	
	
	485.6
	237.1
	171.4
	176.3
	134.0
	-
	-
	-
	-
	-

	
	Over 10000 kWp
	
	
	
	
	
	236.3
	169.9
	160.2
	131.4
	-
	-
	-
	-
	-

	PPP on roofs and facades
	up to 5 kWp
	
	
	
	
	605.2
	400.7
	381.2
	354.0
	211.8
	228.0
	255.4
	271.7
	242.1
	250.6

	
	5 kWp to 30 kWp
	
	
	
	
	
	
	290.0
	284.2
	204.0
	211.7
	213.9
	231.2
	206.0
	208.7

	
	30 kWp to 200 kWp
	
	
	
	
	596.5
	369.1
	226.9
	211.4
	169.1
	-
	-
	-
	-
	-

	
	200 kWp to 1000 kWp
	
	
	
	
	583.8
	316.1
	206.3
	196.6
	144.7
	-
	-
	-
	-
	-


*Bulgaria uses a fixed exchange rate to the euro: 1 BGN = 0.511292 EUR
The shape of the trend of change in the FiT in Bulgaria (Fig. 4) is analogous to that in Germany [14], but the period for decreasing and establishing the FiT to a lower value is much shorter – about 3 years only.
Table 4. Change in the years of the average electricity price in Bulgaria, BGN*/MWh [15]
	Year
	2008
	2009
	2010
	2011
	2012
	2013
	2014
	2015
	2016
	2017

	Industry
	108.940
	124.978
	124.980
	124.783
	133.780
	157.054
	143.950
	133.389
	194.020
	147.275

	Households
	139.061
	160.966
	160.970
	161.550
	165.460
	180.720
	162.730
	184.240
	186.980
	186.790


*Bulgaria uses a fixed exchange rate to the euro: 1 BGN = 0.511292 EUR

[image: image4.emf]0

100

200

300

400

500

600

700

800

900

1.2008 1.2009 1.2010 1.2011 1.2012 1.2013 1.2014 1.2015 1.2016 1.2017 1.2018 1.2019

Ground based PPP Up to 5 kWp Ground based PPP Over 5 kWp

Ground based PPP Up to 30 kWp Ground based PPP Over 30 kWp to 200 kWp

Ground based PPP Over 200 kWp to 10000 kWp Ground based PPP Over 10000 kWp

PPP on roofs and facades up to 5 kWp PPP on roofs and facades 5 kWp to 30 kWp

PPP on roofs and facades 30 kWp to 200 kWp PPP on roofs and facades 200 kWp to 1000 kWp

Industry users price Households users price


Fig. 4. Comparison of the trends of the change of the FiT for different type of PPP and the average electricity price in Bulgaria for the last 10 year period, BGN/MWh

[image: image5.png]Cumulative installed photovoltaic capacity in Bulgaria,
MWp

1200
1019.2 1020.4 1029 1041 1043

1000 933.2
80
60
40
2122
20
141 57 323 I
0 PR — | |

2008 2009 2010 2011 2012 2013 2014 2015 2016 2017
Year

o

o

o

o





Fig. 5. Amendment during the years of the cumulative installed photovoltaic capacity in Bulgaria, MWp

Covering the necessary financial resources of the obliged to buy the photovoltaic energy electricity supply companies is done by adding the “Green energy supplement” to the annual renewal of the electricity prices for the end users. This “Green energy supplement” was visible in monthly bills for payment of electricity of the end users, reaching 11.1 BGN / MWh in 2013. The increase in this supplement has given the Bulgarian citizens the impression of a reason for the increase in the price of electricity. This reduced public approval for the development of photovoltaic energy and caused public discontent at the beginning of 2013 against rising electricity and other kind government controlled energy prices, which finally led to a review of the size and the scope of the FiT implementation in the next years. 
In 2014, the FiT dropped out for all ground based photovoltaic power plants and installed on roofs with power over 30 kWp, and FiT currently exists only for small roof and facade photovoltaic systems – Table 3 and Figure 4. This explains the comparatively small new installed capacities of photovoltaic systems in Bulgaria in the next years – Figure 5.

Another significant reason for the decrease in the rate of installation of new photovoltaic capacities in Bulgaria is their relatively large share of the total operating capacities of the Bulgarian electricity system. Reducing electricity consumption to below 3 GW in the months preceding summer, combined with the high performance during this period of the available 1 GWp photovoltaic systems and 0.7 GW wind power plants, may cause instability in the state's electricity system, due to the inability of the central dispatcher to reduce the power of the large nuclear and thermal power plants. Such a problem occurred in May 2013, which was successfully mastered, but then an obligation was imposed on the operators of large photovoltaic power plants to limit the instantaneous power of the photovoltaic power plant when ordered by the central national energy dispatcher. The implementation of this technique has been successful in the coming years, but it provokes discontent among the owners of the controlled large photovoltaic power plants due to the inability to sell part of the electricity produced by their power plants. This shortcoming in the use of the unstable during the day photovoltaic and wind power plants electricity production is eliminated by the more flexible use of the over 900 MW water pumping power plants available in Bulgaria or the future construction of new energy storage systems.
4. TECHNICAL AND ECONOMIC DATA ABOUT THE PHOTOVOLTAIC SYSTEMS BUILT IN BULGARIA. 

According to the official register of the Agency for Sustainable Energy Development (SEDA) at the Ministry of Energy of the sites for production of energy from renewable energy sources, 1363 photovoltaic power plants are registered in Bulgaria. [16] An analysis of their number distribution by groups of different installed capacity sizes is shown in Table 5 and Figure 6.

Table 5. Distribution by number and single installed power of photovoltaic power plants in Bulgaria

	Single installed power, MWp
	Number
	Total power, MWp

	≤ 0.03 
	367
	8.2

	0.03÷0.20
	661
	69.8

	0.2÷1
	102
	64.3

	1÷10
	226
	683.1

	>10
	7
	204.8


[image: image6.emf]367

661

102

226

7

8.2

69.8

64.3

683.1

204.8

0

100

200

300

400

500

600

700

≤ 0.03 MWp

0.03÷0.20 MWp 0.2÷1 MWp 1÷10 MWp >10 MWp

Number Total power, MWp

 
Fig. 6. Comparison of the number and total capacity of the various sized photovoltaic power plants in Bulgaria

The largest photovoltaic power plant has a power of 60.4 MWp, and the smallest officially registered one with a power of 1 kWp.

4.1. Largest photovoltaic power plants in Bulgaria

Karadzhalovo Solar Park (Fig. 7) is the largest in Bulgaria with its installed power of 60.4 MWp. It has 214 000 polycrystalline photovoltaic panels, and cost 350 million Bulgarian levs (181.4 million EUR). It has been completed in March 2012 after 4 month of construction. [17]

Pobeda photovoltaic power plant (Fig. 8), with a total installed capacity of 50 MWp, is the second largest in Bulgaria. It has 217 632 polycrystalline photovoltaic modules type NA C-Class 3bb with a single power of 225 Wp to 240 Wp connected to 86 inverters type PVS800-57-0500kW-A. The total area of the Pobeda photovoltaic plant is 1 016.814 acres. The value of the investment is 118.76 million EUR. It was put into operation in June 2012. [18]
Cherganovo photovoltaic power plant (Fig. 9) initially is planned to be with total installed capacity of 25 MWp, now registered as 29.3 MWp, is the third largest in Bulgaria. It has 124 896 HAREON polycrystalline modules with a single power of 230 Wp to 240 Wp connected to 50 inverters type PVS800-57-0500kW-A. The total area of the photovoltaic plant is 600.144 acres. The value of the investment is 61.285 million EUR. It was put into operation in June 2012. [19]
	[image: image7.jpg]RO





	[image: image8.png]



	[image: image9.png]




	Fig. 7. The biggest photovoltaic power plant in Bulgaria – Karadzhalovo. [20]
	Fig. 8. The second largest photovoltaic power plant in Bulgaria – Pobeda. [21]
	Fig. 9. The third largest photovoltaic power plant in Bulgaria – Cherganovo. [21]


4.2. Examples of roof and facade photovoltaic power plants in Bulgaria

Figure 10 shows 132 kWp roof-mounted solar power plant in the industrial enterprise ZITA in Rousse. The main components of the DC section of the power plant are mono-crystalline PV modules Sinski PV SPV180M-24, with nominal power of 180 Wp. The power plant consists of 840 modules, forming 2 plates, as follows: 1 plate with 520 modules with inclination of 5° and 1 plate with 320 modules with inclination of 11.2°, at Azimuth -10.4°. Module surface area is 1072 m2. The generated electricity is fed to 12 inverters Sunny Mini Central SMA SMC 11000 TL model and to each inverter are connected 5 strings, consisting of 14 serially-connected modules. The central monitoring and control device is Sunny Web Box. The 132 kWp roof-mounted solar power plant in industrial enterprise Zita Rousse is in operation since 10.05.2011. [22]

Three grid-connected photovoltaic roof-mounted systems for kindergartens (Fig. 11) with capacities of 23.76 kWp, 21.96 kWp and 20.88 kWp with monocrystalline PV modules, as well as systems with solar collectors for hot water, have been built in Gabrovo. They are equipped with monitoring systems containing SMA Sunny WebBox (including Ethernet interface), RS485 Module, SMA Sunny Sensor Box (including module temp sensor), PT100 Ambient Temperature Sensor and Wind Sensor.
	[image: image10.png]/
~

'}





	[image: image11.jpg]




	Fig. 10. Satellite photo (Google) of 132 kWp roof-mounted solar power plant in the industrial enterprise ZITA. [23]
	Fig. 11. 23.76 kWp grid connected PV system on the roof of the kindergarten „First June“ in Gabrovo


The first public building in Bulgaria with photovoltaic facade is in Gabrovo – Figure 12. A 416 thin film photovoltaic panels Schuco MPE 85 AL 01 are mounted on the east, south and west facades of the building. The total installed power of the photovoltaic system is 35.19 kWp. The modules are grouped and connected to five single-phase inverters. To assure the autonomy of certain users in the building and to store the unused electrical energy produced by the photovoltaic plant, the inverters are connected to a common three-phase network electric board with a group of three inverters with a built-in charger (bi-directional off-grid inverter/charger). All reserved users are connected to this board. The off-grid inverters group is connected to a valve-regulated lead-acid (VRLA) battery array with an installed capacity of 57600 Wh. A data monitoring and storage system is also implemented, which includes Data Logger with RS485 interface for connection to inverters and LAN port for local or remote access to data via built-in WEB interface. [24]

Figure 13 shows photos of the photovoltaic facade power plant on the farm building in Pazardzhik. The photovoltaic facade power plant with a capacity of 24 kWp is built up by the relatively low popular in Bulgarian practice solar modules of copper-indium-gallium disellenide (CIGS) with 20% efficiency. The photovoltaic system is designed so that it is able to fully cover the energy needs of the farm machinery with a total output of 18 kW during the day. [25]

	[image: image12.jpg]T
N I

. =]




	[image: image13.jpg]



[image: image14.jpg]




	Fig. 12. First public building in Bulgaria with facade photovoltaic power plant
	Fig. 13. A 24 kWp CIGS photovoltaic facade power plant on the farm building [25]


4.3. Solar photovoltaic outdoor lighting in Bulgaria

The first solar lighting systems in Bulgaria are installed about 20 years ago in some of university solar energy research centers in Bulgaria. Significant entry into practice of solar lighting systems occurs simultaneously with the boom of the installation of the biggest photovoltaic power plants in Bulgaria in 2012-2013. During this period, with funding from European programs, autonomous solar street lighting systems were built in several smaller Bulgarian municipalities and settlements: Municipality of Nikolaevo - 506 pillars, Kaynardja Municipality – 486 (Investment of 2 million BGN - Fig. 14), Municipality of Straldja – 220, municipalities of Antonovo, Balchik, Sozopol, Pavlikeni and others.

[image: image15.jpg]



[image: image16.jpg]



Fig. 14.  Solar photovoltaic lighting in villages in Kaynardja municipality [26]
Figure 15 shows photos of the photovoltaic lighting system in park in the town of Kardzhali. The pole systems consist of a photovoltaic panel, three light-emitting diode (LED) luminaires with a total power of 18 W, and a panel for battery and control unit. The control system allows remote adjustment of operating time, start and end time of switching on, depending on the length of day. It is also possible to adjust the light output at different hours of the night. [27]
[image: image17.jpg]


 [image: image18.jpg]



Fig. 15. PV-LED lighting of a park in the city of Kardzhali [27]

5. ECONOMIC PROFITABILITY OF THE PHOTOVOLTAIC SYSTEMS IN BULGARIA
5.1. Economic profitability of the grid-connected photovoltaic power plants
In the years since the beginning of the development of photovoltaic electricity in Bulgaria, the economic profitability of the grid-connected photovoltaic power plants is guaranteed by the FiT for different kind and single installed power of the plant (Table 3 and Fig. 4). The FiT determination by EWRC, takes into account the following technical and economic parameters for roof and facade systems for 2018 [13,28]:

 - Investment costs per kWp of: 2 609 BGN / kWp for systems with power up to 5 kWp and 2 284 BGN / kWp for power from 5 kWp to 30 kWp;

- Operating costs - costs for environmental protection, materials, etc. costs related to the production process: BGN 68.92 / MWh for systems with power up to 5 kWp and BGN 53.63 / MWh at power from 5 kWp to 30 kWp;

- Useful life of the assets - 20 years;

- Operating cost inflation - 2%;
- The average annual plant working time is 1 302 hours, which equals 1 302 kWh / kWp net specific production;

- Weighted average rate of return - 7%.
With the decreasing of the prices for the construction of photovoltaic power plants in last years and, at the same time, the large increase in the price of electricity for the industry in Bulgaria, there is a new trend - to build PV power plants in industrial enterprises for their own needs without signing contracts for the use of FiT. This trend shows that in Bulgaria comes the moment when the construction of photovoltaic power plants becomes a profitable investment without the need of FiT support, and this is a motivation for the beginning of a new period of increase in the use of photovoltaic systems.
In support of the mentioned above trend, variants of a real project for a 15 kWp photovoltaic power plant on the roof of an industrial building is shown below. The PPP has the following component prices:

- SMA Sunny Tripower 15000TL 2 inverter - 9 020 BGN;
- Photovoltaic Panels Canadian Solar Inc. CS6X-260P 260W - 114 pieces - 32 580 BGN;
- Constructions, installation and cabling - 3 400 BGN.
The total cost of the photovoltaic system is BGN 45 000.

For comparison, two variants are considered - a photovoltaic plant using FiT and a plant for own needs of the enterprise. The data for the input and for the calculated technical and economic parameters for the two project variants are shown in Table 6. The analysis of the results shows that, despite the higher cost of the FiT compared to the price of electricity for industrial consumers, due to the additional costs and fees for a contracted FIT connection to the grid, the industrial enterprise's own use variant is more financially profitable in this case.
Table 6. Economic comparison of the variants of a roof-mounted photovoltaic power plant using FiT and a plant for own needs of an industrial enterprise
	Parameter
	Variant using FiT
	Variant for own needs

	Estimated annual electricity production, MWh / year
	37 505
	37 505

	Price of electricity, BGN / MWh
	205
	180

	Cost of construction of the PPP, BGN
	45 000
	45 000

	Cost of joining to the grid, BGN
	1 000
	-

	5% Security Fund, BGN / year
	384.4
	-

	Electricity meter fee, BGN / year
	114
	-

	Transfer and access fee, BGN / year
	840
	-

	Balancing fee, BGN / year
	240
	-

	Total annual income, BGN / year
	6 110.1
	6 750.9

	Payback period, years
	8
	7

	Profit for 20 years – Net Present Value, BGN
	76 067.67
	89 869.62


5.2. Economic profitability of the stand-alone photovoltaic systems

The period 2012-2013 of installation of relatively small number of solar street lighting systems (see section 4.3.) has been short, since, after the removal of additional grant funding, these systems are financially unprofitable in Bulgarian market conditions, due to the low cost and the availability of electricity in all settlements, as well as the disadvantages of the rechargeable batteries used. For example, the following calculations can be made from the operation of the similar PV-LED system for external lighting at the Technical University of Gabrovo (Fig. 16): from the solar power supply of a 20W LED luminaire for 1 year are saved 20 W x 4100 hours = 82 kWh x 0.2 BGN/kWh = 16.40 BGN/year. For the entire 5 years battery life are saved 5 x 16.40 = 82 BGN, which is not enough to buy a new battery, which is priced at 400 BGN, or five times higher than savings. The example shows that under current price conditions in Bulgaria, autonomous photovoltaic systems for street lighting using batteries are not economically profitable. In addition to the relatively low cost of electricity, the main reason for this is the high cost and the low life of the battery technology used.
[image: image19.jpg]



Fig. 16. PV-LED system for external lighting at Technical University of Gabrovo
Due to the reasons described, stand-alone solar lighting systems have been installed in Bulgaria in last years mainly in places where the power supply would be too complicated or expensive – Figures 17 and 18, or in a places where the lighting is used mainly during the daytime – schools [29], kindergartens etc. 
[image: image20.jpg]



[image: image21.jpg]



                 [image: image22.jpg]


 
Fig. 17. PV-LED systems for additional illumination of road signs and pedestrian walkways

[image: image23.jpg]



Fig. 18. Autonomous PV system for power supply of high-altitude mountain information center Tazha hut in National Park „Central Balkan“ [30]
In recent years Bulgarian researchers have had interesting research on the big potential of photovoltaic lighting projects for road tunnels [31,32,33], for which the time with maximum necessary adaptation luminance of the lighting system and corresponding electric power needed matches with the maximum solar radiation at noon and the maximum power of the photovoltaic modules respectively.
6. CONCLUSIONS


Based on the research and analysis done in the paper, the following main conclusions can be drawn. 

Measures to encourage the use of RES to produce electricity in Bulgaria by introducing the FiT have led to a 2-fold increase in its share of total electricity generation over the past 10 years, which is already approaching about 20%.
The analysis of the data on the development over the years of the photovoltaic electricity in Bulgaria shows the short 2-year period of rapid build of high-capacity photovoltaic power plants after the introduction of the FiT for the purchase of photovoltaic electricity, which is 5-times higher than the average electricity price for end users. Studies show a strong decrease in the FiT with an increase in the volume of installed photovoltaic capacity and even its removal for all ground based photovoltaic power plants and installed on roofs with a power over 30 kWp, and FiT currently exists only for small roof and facade photovoltaic systems. This dropping out of the FiT explains the comparatively small new installed capacities of photovoltaic systems in Bulgaria after 2013. Another reason for the decrease in the rate of installation of new photovoltaic capacities is their relatively large share together with the wind power plants, in the total operating capacities of the Bulgarian electricity system, which may cause problems in its stability during the months preceding summer with low electric load at relatively large capacities of more difficult to be fast regulated nuclear and large thermal power plants.
The period 2012-2013 of installation of relatively small number of solar street lighting systems has been short, since, after the removal of the additional grant funding, these systems are financially unprofitable in Bulgarian market conditions, due to the low cost and the availability of electricity in all settlements, as well as the disadvantages of the rechargeable batteries used. New stand-alone solar lighting systems have been installed in Bulgaria mainly in places where the power supply would be too complicated or expensive, or in a places where the lighting is used mainly during the daytime – schools, kindergartens etc.
With the decreasing of the prices for the construction of photovoltaic power plants in recent years and, at the same time, the large increase in the price of electricity for the industry in Bulgaria, there is a new trend for building photovoltaic power plants in industrial enterprises for their own needs without signing contracts for use of FiT. This trend shows that in Bulgaria comes the moment when the construction of photovoltaic power plants becomes a profitable investment without the need of FiT support, and this is a motivation for the beginning of a new period of increase in the use of photovoltaic systems.
The analysis and conclusions of the paper could be useful in determining new government policies and setting new market conditions to promote the development of renewable energy sources in Bulgaria and other countries.
7. ACKNOWLEDGEMENT

This work was supported by the European Regional Development Fund within the OP “Science and Education for Smart Growth 2014 - 2020”, Project CoC “Smart Mechatronic, Eco- And Energy Saving Systems And Technologies“, № BG05M2OP001-1.002-0023.
8. REFERENCES


[1] B. Azzopardi, Green Energy and Technology: Choosing Among Alternatives in J. Hossain and A. Mahmud (eds.), Renewable Energy Integration - Challenges and Solutions, Springer Science+Business Media, Green Energy and Technology, Singapore, 2014.

[2] K.H. Solangi, M.R. Islam, R. Saidur, N.A. Rahim, H. Fayaz, A review on global solar energy policy, Elsevier, Renewable and Sustainable Energy Reviews 15, 2011, 2149–2163.
[3] Sufang Zhang, Yongxiu He, Analysis on the development and policy of solar PV power in China, Elsevier, Renewable and Sustainable Energy Reviews 21, 2013, 393–401
[4] en.wikipedia.org/wiki/Feed-in_tariff. 

[5] J. Hoppmann, J. Huenteler, B. Girod, Compulsive policy-making - The evolution of the German feed-in tariff for solar photovoltaic power, Research Policy, 43(8), 2014, 1422-1441.
[6] Candelise, C., Technical and regulatory developments needed to foster gridconnected photovoltaic (PV) within the UK electricity sector, Imperial College London, London, 2009. 
[7] National Renewable Energy Action Plan, Ministry of Economy, Energy and Tourism, Republic of Bulgaria, 2011.

[8] Forecast Document In Accordance With Directive 2009/28/EC.
[9] Annual Report to the European Commission, Commission for Energy and Water Regulation, Republic of Bulgaria, 2018.

[10] www.eso.bg.

[11] www.res-legal.eu/search-by-country/bulgaria.

[12] Photovoltaic Barometer, EurObserv’ER, 2018.

[13] www.dker.bg/bg/resheniya.

[14] Harry Wirth, Recent Facts about Photovoltaics in Germany, Fraunhofer ISE, www.pv-fakten.de, version of February 1, 2019.

[15] www.nsi.bg, National Statistical Institute of Republic of Bulgaria, 2019.

[16] www.seea.government.bg/bg/registers.

[17] en.wikipedia.org/wiki/Karadzhalovo_Solar_Park.

[18] old.dker.bg/KAPDOCS/rep_Helios_12.pdf.
[19] old.dker.bg/KAPDOCS/rep-BCI-Cherganovo.pdf. 

[20] sienit.com/wp-content/uploads/2017/12/ecoenrg-14.jpg.

[21] solar-benefit.com/en/content/solar-benefit-projects. 

[22] solar.sts.bg/en/reference/223. 

[23] www.google.com/maps. 

[24] kab-sofia.bg/novini/2979-parvata-obshtestvena-sgrada-v-balgariya-s-fotovoltaichna-fasada-e-v-gabrovo.

[25] bultimes.com/unikalna-za-balgariya-cigs-fotovoltaichna-fasada-zahranva-ferma-v-pazardzhik 
[26] www.briagnews.bg/solarnite-lampi-na-kainardja-osvetiha-i-evrostolicata-bryuksel, photos by Aleksey Minev.
[27] led-lighting-from-bulgaria.blogspot.com/2013/02/fotovoltaichno-svetodiodno-osvetlenie-kardjali. 

[28] Decision No C-9 / 01.07.2018, Commission for Energy and Water Regulation, Republic of Bulgaria, 2018.

[29] A. Pachamanov, S. Petrov, K. Kasev, B. Boychev, D. Ivanov, Lighting of Premises in Schools with Energy from Photovoltaic Stations, Conference Lighting’2016, Sofia, 2016, 138-141. (in Bulgarian)
[30] visitcentralbalkan.net. 
[31] A. Pachamanov, S.Zhelev, D. Pavlov, D. Ivanov, Powering the Vittinja tunnel lighting systems from photovoltaic systems on both sides of the tunnel, Conference Lighting 2017, Varna, 2017, 82-84. (in Bulgarian)
[32] К. Velinov, R. Stefanov, Potential for energy saving lighting in road tunnels in the republic of Bulgaria, ANNUAL of the University of Mining and Geology “St. Ivan Rilski”, Vol. 58, Part ІІІ, Mechanization, electrification and automation in mines, 2015, 96-98. (in Bulgarian)
[33] H. Vassilev, G. Ganchev, P. Manoilov, A. Sgurev, Power supply system and tunnel lighting, XV Conference BulLight 2014, Sozopol, 2014, 100-108. (in Bulgarian)
