Performanse PV modula tokom grejne sezone u urbanim sredinama

ivana.radonjic-mitic@pmf.edu.rs

Proizvodnja bezbedne, pouzdane, priuštive, dostupne i čiste energije predstavlja glavni cilj u energetskom sektoru u celom svetu.

Zagađenje vazduha u istočnoj Evropi i zemljama Balkana je obično veće u poređenju sa zapadnom Evropom, uglavnom zbog široke upotrebe elektrana koje koriste fosilna goriva, grejanja i kuvanja na čvrsta goriva, i slabije politike za smanjenje zagađenja vazduha. Takođe, kriza sa gorivom i rast cene električne energije dodatno su istakli korišćenje obnovljivih izvora energije. Među njima, fotonaponske (PV) tehnologije predstavljaju dobro rešenje ne samo zbog proizvodnje čiste energije, već i zbog obezbeđivanja sopstvene proizvodnje i sopstvene potrošnje, kao i smanjene zavisnosti od elektrodistributivne mreže.

Faktori koji mogu izazvati nepovoljne efekte na performanse PV modula, kao što je njihova zaprljanost, se sve više ispituju. Zaprljanost PV modula predstavlja stepen zaprljanosti površine modula, tj. nakupljanja kontaminanata (čestica) bilo mineralnog ili organskog porekla na površinama PV modula. Zaprljanost smanjuje intenzitet sunčevog zračenja koje dospeva do solarnih ćelija i transmisiju sunčevog zračenja kroz prednji pokrivač PV modula, što dovodi do smanjenja performansi PV modula.

Zaprljanost PV modula zavisi od geografske lokacije i vremena. Susedne lokacije mogu imati različitu zaprljanost PV modula zato što određena mesta sadrže specifične antropogene izvore čestica (fabrike, elektrane na fosilna goriva, toplane, puteve, aerodrome, itd.). Lokalno taloženje zaprljanosti može imati sezonske varijacije, uglavnom zbog razlika u količini padavina. Neke lokacije u svetu imaju konstantu zaprljanost tokom godine, a kod nekih postoje sezonske razlike u zaprljanosti PV modula.

PV sistemi na krovovima i integrisani fotonaponski sistemi u urbanim sredinama su pogođeni zaprljanošću koja je uglavnom izazvana blizinom prometnih ulica, fabrika, elektrana na fosilna goriva, itd., a tokom grejne sezone dodatno i korišćenjem toplana, kotlarnica i individualnih stambenih sistema za grejanje koji obično koriste fosilna goriva.

PV module u Srbiji uglavnom očiste padavine i vetar, ali ponekad oni nisu dovoljni da bi se postigla efikasnost PV modula specificirana od strane proizvođača, naročito kada su moduli postavljeni blizu antropogenih izvora emisije čestica (npr. u blizini dimnjaka). Ispitivanje uticaja zaprljanosti PV modula vršeno je na Prirodno-matematičkom fakultetu u Nišu. Tokom tri grejne sezone u Nišu, smanjenje snage horizontalno postavljenog PV modula bilo je u intervalu 7,2-87,2%, a optimalno postavljenog modula u intervalu 7,2-30,6%, pri čemu je zaključeno da zaprljanost PV modula ne može da se zanemari.

U cilju postizanja što manje zaprljanosti PV modula i izbegavanja njihovog čišćenja, važno je razmotriri pozicioniranje PV modula pre instaliranja, i podstaći naprednije inovacije u dizajnu i proizvodnji integrisanih fotonaponskih sistema i PV modula.

Ključne reči: PV modul, zaprljanost, performanse PV modula, grejna sezona, urbane sredine

PV modules performances during heating season in urban areas

ivana.radonjic-mitic@pmf.edu.rs

Production of safe, reliable, affordable, available, and clean energy is the main goal in the energy sector worldwide.

Air pollution in Eastern Europe and Balkan countries is typically higher compared to Western Europe, mainly because of wide use of fossil fuels power plants, solid fuel heating and cooking, and fewer air pollution reduction policies. Also, fuel crisis and electricity prices rise have additionally highlighted renewable energy sources utilization. Among them, photovoltaic (PV) technologies represent a good solution not only due to production of clean energy, but also due to providing self-production and self-consumption, and lower dependence on the electrical grid.

Factors that can cause unfavorable effects on the PV modules’ performances, like soiling, are being increasingly examined. PV modules soiling represents the degree of modules surface dirtiness, i.e., the accumulation of contaminants (particles) either from mineral or organic origin on PV modules surfaces. Soiling reduces solar radiation intensity reaching solar cells and decreases solar radiation transmittance through the PV modules front cover, causing a reduction of the PV modules output.

PV modules soiling is geographical and time-dependent. Adjacent locations can have various PV modules soiling because specific places have particular anthropogenic particle sources (factories, fossil fuels power plants, heating plants, roads, airports, etc). Local soiling accumulation may show seasonal variances, mainly due to precipitation differences. Some locations in the world have consistent soiling throughout the year, but some of them have seasonal differences in PV modules soiling.

Rooftop and building integrated PV systems in urban areas are affected by soiling mostly initiated by the vicinity of streets with frequent traffic, factories, fossil fuels power plants, etc, and during heating season additionally by the utilization of heating plants, boiler rooms and individual residential heating systems usually using fossil fuels.

PV modules in Serbia are mainly cleaned by precipitation and wind, but sometimes they are not enough to reach PV modules efficiency specified by manufacturers, especially in the cases of vicinity of anthropogenic particle emission sources (e.g., close to the chimneys). PV modules soiling research was conducted at the Faculty of Sciences and Mathematics in Niš. Throughout the three heating seasons in Niš, PV modules power decrease for horizontally installed module was in the interval 7.2-87.2%, and for optimally inclined module in the interval 7.2-30.6%, thus it was concluded that PV modules soiling cannot be neglected.

In order to achieve as low as possible PV modules soiling and to avoid cleaning, it is important to consider PV modules positioning before their installation, and to encourage further design and production innovations of PV integrated systems and PV modules.

Keywords: PV module, soiling, PV modules performances, heating season, urban areas