ANALIZA SPEKTRALNOG ODZIVA LED BAZIRANOG SOLARNOG SIMULATORA

Darko Divnić1, Dragoljub Mirjanić1, Esad Jakupović1, Zoran Ž. Avramović2, Tomislav Pavlović3, Ivana Mitic Radonjić3

1Academy of Sciences and Arts of the Republic of Srpska, Bana Lazarevića 1, 78000 Banja Luka, Republic of Srpska, divnic@gmail.com, mirjanicd@gmail.com, esadjakupovic50@gmail.com

2University of Belgrade, Faculty of Transport and Traffic Engineering, Vojvode Stepe 305 11000 Belgrade, Republic of Serbia, zoran.avramovic@sf.bg.ac.rs

3University of Niš, Faculty of Sciences and Mathematics, Department of Physics, Višegradska 33, 18000 Niš, Republic of Serbia, pavlovic@pmf.ni.ac.rs, ivana.radonjic-mitic@pmf.edu.rs

Apstrakt: Solarna energija se smatra jednim od najperspektivnijih obnovljivih izvora energije dostupnog u modernom dobu. Zbog ogromne ekspanzije proizvodnje solarnih ćelija i modula za konverziju sunčevog zračenja, veoma je važno obezbijediti odgovarajuće okruženje (opremu i softver) za testiranje efikasnosti istih u standardnim uslovima. Solarni simulator obezbjeđuje kontrolisano zatvoreno postrojenje za testiranje solarnih ćelija i fotonaponskih modula pod laboratorijskim uslovima, emitovanjem zračenja koje je približno prirodnoj sunčevoj svjetlosti. Izvori svjetlosti predstavljaju najvažniju komponentu solarnih simulatora koji se koriste u istraživanju fotonaponskih uređaja. LED diode su danas postale popularne kao izvor osvjetljenja solarnog simulatora zbog svojih prednosti (kompaktnost, niska potrošnja energije, niska cijena, dug vijek trajanja, itd.) u odnosu na konvencionalne izvore svjetlosti. Ovaj rad se fokusira na mjerenje, analizu i usklađivanje izlaznog odziva spektra LED solarnog simulatora sa referentnom spektralnom distribucijom sunčeve svjetlosti u vidljivom spektralnom rasponu na AM1,5 uz pomoć spektrometra, a prema zvaničnim svjetskim standardima. Eksperimentalna mjerenja su vršena u Laboratoriji za solarnu energetiku Akademije nauka i umjetnosti Republike Srpske u Banja Luci.

Ključne riječi: Solarna energija, solarni simulator, diode koje emituju svjetlost, fotonaponski efekat, simulacija, spektrometar.

ANALYSIS OF SPECTRAL RESPONSE OF LED BASED SOLAR SIMULATOR

Darko Divnić1, Dragoljub Mirjanić1, Esad Jakupović1, Zoran Ž. Avramović2, Tomislav Pavlović3, Ivana Mitic Radonjić3

1Academy of Sciences and Arts of the Republic of Srpska, Bana Lazarevića 1, 78000 Banja Luka, Republic of Srpska, mirjanicd@gmail.com, divnic@gmail.com, mirjanicd@gmail.com, esadjakupovic50@gmail.com

2University of Belgrade, Faculty of Transport and Traffic Engineering, Vojvode Stepe 305 11000 Belgrade, Republic of Serbia, zoran.avramovic@sf.bg.ac.rs

3University of Niš, Faculty of Sciences and Mathematics, Department of Physics, Višegradska 33, 18000 Niš, Republic of Serbia, pavlovic@pmf.ni.ac.rs, ivana.radonjic-mitic@pmf.edu.rs

Abstract: Solar energy becomes one of the most promising renewable energy sources available in the modern age. Due to the enormous expansion of the production of solar cells and solar radiation conversion modules, it is very important to provide an appropriate environment (equipment and software) for testing their efficiency under standard conditions. The solar simulator provides a controlled closed facility for testing solar cells and photovoltaic modules under laboratory conditions, emitting radiation that approximates natural sunlight. Light sources represent the most important component of solar simulators used in the research of photovoltaic devices. Today, LEDs have become popular as a solar simulator lighting source due to their advantages (compactness, low energy consumption, low cost, long lifetime, etc.) over conventional light sources. This work focuses on measuring, analyzing and matching the output spectrum response of the LED solar simulator with the reference spectral distribution of sunlight in the visible spectral range at AM1.5 with the help of a spectrometer, according to official world standards. Experimental measurements were performed in the Solar Energy Laboratory of the Academy of Sciences and Arts of the Republic of Srpska in Banja Luka.

Keywords: Solar energy, solar simulator, light-emitting diodes, photovoltaic effect, simulation, spectrometer.