Међународни научни скуп Савремени материјали –  Бања Лука
International Scientific Conference Contemporary Materials – Banja Luka

[image: image1.emf]
COMPARISON OF IMAGE-BASED THREE-DIMENSIONAL TREATMENT PLANNING USING ACUROSTM BV AND TG-43 ALGORITHM FOR INTRACAVITARY BRACHYTHERAPY OF CARCINOMA CERVIX
Bojan Pavičar¹, Andrej Milosavljević¹, Milomir Milaković¹, Tatjana Ignjić¹, Petar Janjić¹, Mihajlo Tovilović¹, Goran Kolarević², Dragoljub Mirjanić3 
1Center for Radiation Therapy, International Medical Centers, Affidea, Banja Luka, Bosnia and Herzegovina, bojan.pavicar@affidea.com, andrej.milosavljevic@affidea.com, milomir.milakovic@affidea.com, tatjana.ignjic@affidea.com, petar.janjic@affidea.com, mihajlo.tovilovic@affidea.com
2Faculty of Medicine, University of Banja Luka, 78000 Banja Luka, The Republic of Srpska, Bosnia and Herzegovina, goran.kolarevic@med.unibl.org
3Akademija nauka i umjetnosti Republike Srpske, Republic of Srpska, Bosnia and Herzegovina, mirjanicd@gmail.com
Abstract: This study compares the dosimetric effects of the American Association of Physicists in Medicine (AAPM) TG-43 dose formalism and the Acuros BV (grid-based Boltzmann solver, GBBS) formalism on high-dose-rate (HDR) brachytherapy planning for cervical cancer patients treated with a tandem and ring applicator. Ten cervical cancer patients were included in the study. The high-risk clinical target volume (HR-CTV) and organs at risk (OARs) were delineated using computed tomography (CT) imaging and manual contouring methods. The doses to HR-CTV were assessed using D50%, D90%, and D98% metrics, while for OARs, D2cc doses were compared.

For HR-CTV, the dose differences between TG-43 and Acuros BV were as follows: D50% (1.9%), D90% (2.6%), and D98% (3.4%). For OARs, the D2cc dose differences were: bladder (3.0%), rectum (2.6%), small bowel (2.8%), and sigmoid colon (2.9%).

Overall, the study demonstrates that while both TG-43 and Acuros BV formalisms provide comparable dosimetric outcomes for HDR brachytherapy of cervical cancer, Acuros BV offers slight dose reductions across HR-CTV and OARs. The differences in dosimetric parameters between TG-43 and Acuros BV are statistically significant (p=0.05), but their clinical significance has yet to be examined.
Keywords: HDR Brachytherapy, Cervical Cancer, TG-43 Algorithm, Acuros BV, Dosimetry




