Collagen-based biomaterials and their application in reproductive medicine

Jelena Djordjevic1,2, Strahinja Milenkovic1, Nenad Grujovic1, Fatima Zivic1

1Faculty of Engineering, University of Kragujevac, Sestre Janjic 6, 34000 Kragujevac, Serbia

2 Department of Nuclear Medicine, Faculty of Medical Sciences, University of Kragujevac, Svetozara Markovica 69, 34000 Kragujevac, Serbia

email: jeladj997@gmail.com; strahinja.milenkovic@fink.rs; gruja@kg.ac.rs; zivic@kg.ac.rs

# Abstract

Collagen, as the most abundant protein in mammals and the main component of the extracellular matrix (ECM), is widely used in the preparation of biomaterials and the treatment of various diseases. High biocompatibility makes collagen the perfect biomaterial for implantable medical products and scaffolds. In recent years, the application of collagen-based biomaterials in reproductive medicine has attracted increasing attention, providing innovative approaches in the treatment and regeneration of reproductive organs. Furthermore, collagen-based biomaterials such as collagen hydrogels, decellularized extracellular matrix (dECM), and bioengineering techniques, including collagen-based three-dimensional (3D) bioprinting, facilitate reproductive tissue engineering. Taking all this into account, the aim of this review was to highlight the recent progress and possibilities of collagen-based biomaterials for reproductive tissue engineering as well as their application in reproductive medicine. The integration of collagen-based biomaterials in reproductive medicine is promising, opening the way to more effective treatments, reducing complications and improving the quality of life of reproductive health patients.

Key words: collagen, collagen-based biomaterials, reproductive medicine.

Биоматеријали на бази колагена и њихова примена у репродуктивној медицини

Јелена Ђорђевић1,2, Страхиња Миленковић1, Ненад Грујовић1, Фатима Живић1

1Факултет инжењерских наука, Универзитет у Крагујевцу, Сестре Јањић 6, 34000 Крагујевац, Србија

2 Катедра за нуклеарну медицину, Факултет медицинских наука, Универзитет у Крагујевцу, Светозара Марковића 69, 34000 Крагујевац, Србија

email: jeladj997@gmail.com; strahinja.milenkovic@fink.rs; gruja@kg.ac.rs; zivic@kg.ac.rs

# Сажетак

Колаген, као најзаступљенији протеин код сисара и главна компонента екстрацелуларног матрикса (ECM), има широку примену у припреми биоматеријала и лечењу различитих болести. Висока биокомпатибилност чини колаген савршеним биоматеријалом за медицинске имплантате и скеле. Последњих година све већу пажњу привлачи примена биоматеријала на бази колагена у репродуктивној медицини, пружајући иновативне приступе у лечењу и регенерацији репродуктивних органа. Штавише, биоматеријали засновани на колагену као што су колаген хидрогелови, децелуларизовани екстрацелуларни матрикс (dECM) и технике биоинжењеринга, укључујући тродимензионално (3D) биоштампање засновано на колагену, олакшавају инжењеринг репродуктивног ткива. Узимајући све ово у обзир, циљ овог прегледа био је да се укаже на недавни напредак и могућности биоматеријала на бази колагена за инжењеринг репродуктивног ткива као и њихову примену у репродуктивној медицини. Интеграција биоматеријала на бази колагена у репродуктивну медицину је обећавајућа, отварајући пут ефикаснијим третманима, смањујући компликације и побољшавајући квалитет живота пацијената.

Кључне речи: колаген, биоматеријали на бази колагена, репродуктивна медицина.