SAVREMENI MATERIJALI I OBNOVLJIVI IZVORI ENERGIJE
Predrag Pravdić1, Violeta Dorđević2, Jelena Erić-Obućina2, Vladan Obućina3
1 Akademija strukovnih studija, odsek u Kruševcu, Kruševac (Srbija), e-mail: thepera81@gmail.com
2 Akademija strukovnih studija Šumadija (ASSŠ), odsek u Trsteniku, Trstenik (Srbija), 

e-mail: vm1728mm1212@gmail.com,  jecaeric79@yahoo.com
3 Vojska Srbije, Kraljevo (Srbija), e-mail: obucina_vladan@yahoo.com
Apstrakt: Kako energetska tranzicija dobija na zamahu, pažnja se okreće sa obnovljivih izvora energije na materijale od kojih su napravljeni kao način da se pojačaju napori za dekarbonizaciju. Uključivanje održivih materijala u rešenja za čistu energiju pomaže u smanjenju njihovog uticaja na životnu sredinu i potencijalno može poboljšati njihov učinak ili efikasnost. U današnjem tehnološki naprednom društvu, više ne postoji oblast stvarnog sveta u kojoj se predviđanja pouzdanosti ne koriste za postizanje neophodne bezbednosti sistema. Značaj analize pouzdanosti i praćenja svojstava delimične pouzdanosti sve više raste, te se stoga postavljaju sve veći zahtevi za analize pouzdanosti. Ovo se naročito odnosi na sisteme za obnovljive izvore energije. U radu je prikazan pregled savremenih materijala za razvoj sistema za obnovljive izvore energije, kao i analiza pouzdanosti tih sistema.
Ključne reči: materijali, obnovljivih izvora energije (RES), pouzdanost, bezbednost sistema.
MODERN MATERIALS AND RENEWABLE ENERGY SOURCES
Predrag Pravdić, Violeta Dorđević, Jelena Erić-Obućina, Vladan Obućina

Abstract: As the energy transition gains momentum, attention is turning from renewable energy sources (RES) to the materials from which they are made as a way to boost decarbonization efforts. Incorporating sustainable materials into clean energy solutions helps reduce their environmental impact and can potentially improve their performance or efficiency. In today's technologically advanced society, there is no longer an area of the real world where reliability predictions are not used to achieve the necessary system security. The importance of reliability analysis and the monitoring of partial reliability properties is increasing, and therefore the requirements for reliability analyzes are increasing. This particularly applies to systems for renewable energy sources (RES). The paper presents an overview of modern materials for the development of systems for renewable energy sources (RES), as well as an analysis of the reliability of those systems.
Keywords: materials, renewable energy sources (RES), reliability, security system.
