MONITORING FENOLA U POVRŠINSKIM I PODZEMNIM VODAMA SRBIJE
Radmila Lišanin1, Mitar Lutovac2
1 Institut za nuklearne nauke ”Vinča”, 11000 Beograd (Srbija),
E-mail: radmila.lisanin@vin.bg.ac.rs
2 Univerzitet ”Union - Nikola Tesla”, Fakultet za menadžment (FAM), Sremski Karlovci (Srbija), 
e-mail: gsmmitar@gmail.com
Apstrakt: Fenol je prioritetni zagađivač zbog svoje visoke toksičnosti, postojanosti i potencijala da negativno utiče na vodene ekosisteme i ljudsko zdravlje čak i pri niskim koncentracijama. Zagađenje površinskih i podzemnih voda fenolom u Srbiji prvenstveno potiče od industrijskih aktivnosti kao što su prerada nafte, petrohemijska proizvodnja, prerada drveta i farmaceutska industrija. Uprkos regulatornim okvirima koji su usklađeni sa Okvirnom direktivom o vodama EU i nacionalnim standardima prakse monitoringa se često suočavaju sa izazovima, uključujući nedovoljnu učestalost uzorkovanja i odsustvo sistema kontinuiranog praćenja. Ovaj rad daje pregled aktuelnih metoda za detekciju fenola u vodi u Srbiji, uključujući spektrofotometrijske, hromatografske i biosenzorske tehnike, i naglašava njihovu osetljivost i ograničenja. Dostupni podaci monitoringa pokazuju da nivoi fenola u nekoliko industrijskih zona periodično prelaze dozvoljene vrednosti, što predstavlja rizik za vodosnabdevanje i bezbednost životne sredine. Mere kontrole, kao što su poboljšane tehnologije za prečišćavanje otpadnih voda, strožija primena standarda emisija i praćenje u realnom vremenu, razmatraju se kao suštinske strategije za smanjenje zagađenja fenolom. Studija naglašava potrebu za usaglašenim protokolima za praćenje, integracijom naprednih analitičkih metoda i jačom saradnjom između industrije, istraživačkih institucija i Agencije za zaštitu životne sredine. Takav pristup je od ključnog značaja za obezbeđivanje bezbednih vodnih resursa, zaštitu javnog zdravlja i postizanje usklađenosti sa standardima životne sredine EU.
Ključne reči: fenol, kvalitet vode, monitoring, kontrola zagađenja, zaštita životne sredine.
MONITORING OF PHENOL IN SURFACE AND GROUNDWATER OF SERBIA
Radmila Lišanin1, Mitar Lutovac2
1 Institute of Nuclear Sciences ”Vinča”, 11000 Belgrade (Serbia),
E-mail: radmila.lisanin@vin.bg.ac.rs
2 University of ”Union - Nikola Tesla”, Faculty of Management (FAM), Sremski Karlovci (Serbia), 

e-mail: gsmmitar@gmail.com
Abstract:  Phenol is a priority pollutant due to its high toxicity, persistence and potential to adversely affect aquatic ecosystems and human health even at low concentrations. Phenol pollution of surface and underground water in Serbia primarily originates from industrial activities such as oil refining, petrochemical production, wood processing and the pharmaceutical industry. Despite regulatory frameworks aligned with the EU Water Framework Directive and national standards, monitoring practices often face challenges, including insufficient sampling frequency and absence of continuous monitoring systems. This paper provides an overview of current methods for the detection of phenols in water in Serbia, including spectrophotometric, chromatographic and biosensor techniques, and highlights their sensitivity and limitations. Available monitoring data show that phenol levels in several industrial zones periodically exceed the permitted values, which poses a risk for water supply and environmental safety. Control measures such as improved wastewater treatment technologies, stricter enforcement of emission standards, and real-time monitoring are considered essential strategies to reduce phenol pollution. The study highlights the need for harmonized monitoring protocols, integration of advanced analytical methods and stronger collaboration between industry, research institutions and the Environmental Protection Agency. Such an approach is crucial for ensuring safe water resources, protecting public health and achieving compliance with EU environmental standards.
Keywords: phenol, water quality, monitoring, pollution control, environmental protection.
